## Sub-Group
UtilityID | Region | PlantIDName | GroupIDName | SubGroupID | SubGroupName | ISOID | Country | NearCity | State | Latitude | Longitude | Elevation | WRegime | AAWS | SCADAMfr | SCADAMdl | CommYear | TotInstCapacity | RsrvCapacity | TurbineCount | SystemMW | MaxTurbineCap | TurbineMfr | TurbineMdl | TurbineMdlVer | RotorHeight | RotorDiam | CutinSpd | LowCutoutSpd | HighCutoutSpd | TurbIntensity | AvgWindSpd | WindShear | ReferenceAnemom | MinOpTemp | MaxOpTemp | SubGrpOwnStatus | StatusEffDate | TransfertoUtility
| TRE | GADS Wind Plant | Northern Group |  | Section 1 |  | US | Austin | TX | 30.267 | -97.7505 | 100 | 2 | 13 | PRO | 1 | 2015 | 100 | 35 | 40 | 2.5 | 2.8 | CL | 1 | 2 | 27 | 55 | 9 | 8 | 30 | 4 | 12 | 4 | 22 | 4 | 141 | ID

## Reference
Attribute |  | Excel | Dropdown lists used in templates - do not edit
Utility ID | Alpha‐Numeric ‐ 10 | UtilityID
Region | Alpha-Numeric - 6 | Region | SubGrpOwnStatus | Country | State/Province | Wind Regime | SCADAMfr | TurbineMfr | TurbIntensity | WindShear | Region
Plant ID/ Name | Alpha‐Numeric ‐ 45 | PlantIDName | AV-Active | US | United States: | 1-Seashore | EN | AAER | 1-Low (<0.10) | 1-Smooth (<0.10) | FRCC
Group ID/ Name | Alpha‐Numeric ‐ 45 | GroupIDName | DV-Deactivated | SA | AK | 2-Plain | ES | AC | 2-Mild (>=0.10<0.15) | 2-Moderately Rough (>=0.10<0.20) | MRO
Sub‐Group ID | Alpha‐Numeric ‐ 10 | SubGroupID | ID-New Sub-Group ID | OT | AL | 3-Plateau | FEN | ALST | 3-Moderate (>=0.15<0.20) | 3-Rough (>=0.20<0.30) | NPCC
Sub Group Name | Alpha‐Numeric ‐ 45 | SubGroupName | RT-Retired | MX | AR | 4-Hills | GAM | AOC | 4-Strong (>=0.20<0.25) | 4-Very Rough (>=0.30) | RF
ISO Resource ID | Alpha‐Numeric ‐ 30 | ISOID | RV-Reactivate | EU | AS | 5-Mountain | GE | BON | 5-Severe (>=0.25) |  | SERC
Country | Alpha‐Numeric ‐ 2 | Country | TR-Transfer | CA | AZ | 6-Ridge | GH | CCWE |  |  | SPP
Nearest City | Alpha‐Numeric ‐ 40 | NearCity |  |  | CA | 7-Off Shore | HON | CL |  |  | TRE
State/Province | Alpha‐Numeric ‐ 2 | State |  |  | CO |  | MHI | DEW |  |  | WECC
Location Latitude | Numeric ‐ 4 + 4 decimals | Latitude |  |  | CT |  | MTK | DT |  |  | OTHER
Location Longitude | Numeric ‐ 4 + 4 decimals | Longitude |  |  | DC |  | NOR | DW
Elevation | Numeric ‐ 8 + 2 decimals | Elevation |  |  | DE |  | OT | EC
Wind Regime (topography) | Numeric ‐ 3 | WRegime |  |  | FL |  | PRO | ENT
Annual Average Wind Speed (AAWS) | Numeric - 3 + 2 decimals | AAWS |  |  | GA |  | SC | ENTWS
SCADA Manufacturer | Alpha‐Numeric ‐ 5 | SCADAMfr |  |  | GU |  | SCB | EWP
SCADA Model | Alpha‐Numeric ‐ 10 | SCADAMdl |  |  | HI |  | SIE | EWT
Commissioning Year | Numeric ‐ 4 | CommYear |  |  | IA |  | VES | FHUR
Total Installed Capacity | Numeric ‐ 8 + 3 decimals | TotInstCapacity |  |  | ID |  |  | GE
Reserve Capacity | Numeric ‐ 8 + 3 decimals | RsrvCapacity |  |  | IL |  |  | GET
Total Number of Turbines | Numeric ‐ 7 | TurbineCount |  |  | IN |  |  | GM
Turbine Nameplate MW | Numeric ‐ 8 + 3 decimals | Nameplate |  |  | KS |  |  | GUP
Max Turbine Capacity MW | Numeric ‐ 8 + 3 decimals | MaxTurbineCap |  |  | KY |  |  | GW
Turbine Manufacturer | Alpha‐Numeric ‐ 5 | TurbineMfr |  |  | LA |  |  | HYUN
Turbine Model | Alpha‐Numeric ‐ 20 | TurbineMdl |  |  | MA |  |  | KE
Turbine Version | Alpha‐Numeric ‐ 20 | TurbineMdlVer |  |  | MD |  |  | KSYS
Rotor Height (meters) | Numeric ‐ 7 + 2 decimals | RotorHeight |  |  | ME |  |  | LTW
Rotor Diameter (meters) | Numeric ‐ 7 + 2 decimals | RotorDiam |  |  | MI |  |  | MHI
Cut‐in Wind Speed (meters/second) | Numeric ‐ 7 + 2 decimals | CutinSpd |  |  | MN |  |  | MI
Low Cut‐out Wind Speed (meters/second) | Numeric ‐ 7 + 2 decimals | LowCutoutSpd |  |  | MO |  |  | MITS
High Cut‐out Wind Speed (meters/second) | Numeric ‐ 7 + 2 decimals | HighCutoutSpd |  |  | MS |  |  | MNORD
Turbulence Intensity | Numeric ‐ 3 | TurbIntensity |  |  | MT |  |  | NEDW
Average Wind Speed | Numeric – 3 +2 decimal | AvgWindSpd |  |  | NC |  |  | NEGMI
Wind Shear (Optional) | Numeric ‐ 3 | WindShear |  |  | ND |  |  | NPWR
Reference Anemometer Height (meters) (Optional) | Numeric ‐ 3 | ReferenceAnemom |  |  | NE |  |  | NX
Minimal Operating Temperature (Celsius) | Numeric ‐ 3 | MinOpTemp |  |  | NH |  |  | OTHER
Maximum Operating Temperature (Celsius) | Numeric ‐ 3 | MaxOpTemp |  |  | NJ |  |  | PW
Sub-Group Ownership Status | Alpha‐Numeric ‐ 1 or 2 | SubGrpOwnStatus |  |  | NM |  |  | REP
Effective date | Date (mm-dd-yyyy) | StatusEffDate |  |  | NV |  |  | SAMS
[5 empty] | NY |  |  | SANY
[5 empty] | OH |  |  | SC
[5 empty] | OK |  |  | SE
[5 empty] | OR |  |  | SENV
[5 empty] | PA |  |  | SINO
[5 empty] | PR |  |  | SUZ
[5 empty] | RI |  |  | SWWP
[5 empty] | SC |  |  | UGE
[5 empty] | SD |  |  | UNI
[5 empty] | TN |  |  | VEN
[5 empty] | TX |  |  | VES
[5 empty] | UT |  |  | WES
[5 empty] | VA |  |  | WW
[5 empty] | VI |  |  | ZD
VT
WA
WI
WV
WY
Canada:
AB
BC
MB
NB
NF
NS
ON
PE
QC
SK
Mexico:
AG
BJ
BS
CP
CH
CI
CU
CL
DF
DG
GJ
GR
HG
JA
EM
MH
MR
NA
NL
OA
PU
QA
QR
SL
SI
SO
TA
TM
TL
VZ
YC
ZT