{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["United States - Inactive Standa"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"United States - Inactive Standa","index":0,"n_rows":451,"n_cols":11,"rows_kept":451,"cut":false,"hidden":false,"merged":[[0,1,0,9]]}
[null,"United States - Inactive Standards"]
[null,null,"Family","Standard Version","Title","Effective Date of Standard","Phased-In Compliance","Inactive Date of Standard","Implementation Plan","Project Page","Public Notes"]
[null,null,"BAL","BAL-001-0.1a","Real Power Balancing Control Performance","2009-05-13",null,"2014-03-31"]
[null,null,"BAL","BAL-001-0","Real Power Balancing Control Performance","2007-06-18",null,"2008-08-26",null,null,"Replaced with BAL-001-0a (WECC Request for Interpretation of BAL-001-0, Requirement 1)"]
[null,null,"BAL","BAL-001-0a","Real Power Balancing Control Performance","2008-08-27",null,"2009-05-12",null,null,"Replaced with BAL-001-0.1a (WECC Request for Interpretation of BAL-001-0, Requirement 1 and Errata change)"]
[null,null,"BAL","BAL-001-1","Real Power Balancing Control Performance","2014-04-01",null,"2016-06-30",null,"Project 2010-14.1"]
[null,null,"BAL","BAL-002-0","Disturbance Control Performance","2007-06-18",null,"2012-03-31",null,null,"Replaced with BAL-002-1"]
[null,null,"BAL","BAL-002-WECC-1","Contingency Reserves",null,null,"2010-11-26",null,null,"Remanded by FERC in an October 21, 2010 Order, effective November 26, 2010."]
[null,null,"BAL","BAL-002-1a","Disturbance Control Performance",null,null,"2017-02-17","Implementation Plan","Project 2010-12","BAL-002-1a was never approved or amended by FERC; notice of withdrawal filed 2/2/2017 following FERC approval of BAL-002-2."]
[null,null,"BAL","BAL-002-1","Disturbance Control Performance","2012-04-01",null,"2017-12-31","Implementation Plan","Project 2010-12","Replaced by BAL-002-2"]
[null,null,"BAL","BAL-002-2(i)","Disturbance Control Standard – Contingency Reserve for Recovery from a Balancing Contingency Event","2018-01-01",null,"2019-03-31","Implementation Plan"]
[null,null,"BAL","BAL-002-2","Disturbance Control Standard – Contingency Reserve for Recovery from a Balancing Contingency Event",null,null,"2017-12-31","Implementation Plan","Project 2010-14.1","Replaces BAL-002-1"]
[null,null,"BAL","BAL-002-WECC-2","Contingency Reserve","2014-10-01",null,"2017-01-23","Implementation Plan","WECC"]
[null,null,"BAL","BAL-003-0","Frequency Response and Bias","2007-06-18",null,"2008-08-26",null,null,"Replaced with BAL-003-0a (Interpretation of BAL-003-0, Requirement 3)"]
[null,null,"BAL","BAL-003-0.1a","Frequency Response and Bias","2009-05-13",null,"2009-06-28",null,null,"Replaced with BAL-003-0.1b"]
[null,null,"BAL","BAL-003-0a","Frequency Response and Bias","2008-08-27",null,"2009-05-12",null,null,"Replaced with BAL-003-0.1a (Errata)"]
[null,null,"BAL","BAL-003-0b","Frequency Response and Bias",null,null,"2009-06-28",null,null,"Replaced with BAL-003-0.1b"]
[null,null,"BAL","BAL-003-0.1b","Frequency Response and Bias","2009-06-29",null,"2015-03-31"]
[null,null,"BAL","BAL-003-1","Frequency Response and Frequency Bias Setting","2015-04-01",null,"2015-11-12","Implementation Plan",null,"See the implementation plan for guidance on phased-in enforcement dates. Requirement R1 will never become enforceable.. Disregard the dates for R1 it is non enforceable."]
[null,null,"BAL","BAL-004-1","Time Error Correction",null,null,"2012-08-16",null,null,"The NERC BOT withdrew its approval of this standard at its meeting on August 16, 2012."]
[null,null,"BAL","BAL-004-0","Time Error Correction","2007-06-18",null,"2017-04-01","Implementation Plan","Time Error Correction","The retirement of BAL-004-0 is contingent upon the retirement of NAESB WEQ-006 Manual Time Error Correction Business Practice Standard."]
[null,null,"BAL","BAL-004-WECC-01","Automatic Time Error Correction","2009-07-01",null,"2014-03-31",null,"WECC"]
[null,null,"BAL","BAL-004-WECC-02","Automatic Time Error Correction (ATEC)","2014-04-01",null,"2018-09-30",null,"WECC","Replaces BAL-004-WECC-01"]
[null,null,"BAL","BAL-005-0.1b","Automatic Generation Control","2009-05-13",null,"2012-09-12",null,null,"Replaced by BAL-005-0.2b (Errata)"]
[null,null,"BAL","BAL-005-0.2b","Automatic Generation Control","2012-09-13",null,"2018-12-31","Implementation Plan","Project 2007-25","Replaces BAL-005-0.1b"]
[null,null,"BAL","BAL-005-0a","Automatic Generation Control",null,null,"2008-04-15",null,null,"Withdrawn"]
[null,null,"BAL","BAL-005-0","Automatic Generation Control","2007-06-18",null,"2008-08-26",null,null,"Replaced with BAL-005-0b (R.W. Beck Request for Interpretation of BAL-005-0, Requirement 17)"]
[null,null,"BAL","BAL-005-0b","Automatic Generation Control","2008-08-27",null,"2009-05-12",null,null,"Replaced with BAL-005-0.1b (Errata)"]
[null,null,"BAL","BAL-006-0","Inadvertent Interchange",null,null,"2006-05-01",null,null,"Replaced with BAL-006-1 (BAL-006-0 was never enforceable)"]
[null,null,"BAL","BAL-006-1.1","Inadvertent Interchange","2009-05-13",null,"2011-03-31",null,null,"Replaced with BAL-006-2"]
[null,null,"BAL","BAL-006-1","Inadvertent Interchange","2007-06-18",null,"2009-05-12",null,null,"Replaced with BAL-006-1.1 (Errata)"]
[null,null,"BAL","BAL-006-2","Inadvertent Interchange","2011-04-01",null,"2018-12-31","Implementation Plan","Project 2009-18","Replaces BAL-006-1.1"]
[null,null,"BAL","BAL-502-RFC-02","Planning Resource Adequacy Analysis, Assessment and Documentation","2011-05-23",null,"2017-12-31","Implementation Plan"]
[null,null,"BAL","BAL-STD-002-0","Operating Reserves (WECC)","2007-06-18",null,"2014-09-30"]
[null,null,"CIP","CIP-001-0","Sabotage Reporting",null,null,"2007-01-01",null,null,"Replaced with CIP-001-1 (CIP-001-0 was never enforceable)"]
[null,null,"CIP","CIP-001-1a","Sabotage Reporting","2011-02-02",null,"2011-09-30",null,null,"Replaced with CIP-001-2a"]
[null,null,"CIP","CIP-001-1","Sabotage Reporting","2007-06-18",null,"2011-02-01",null,null,"Replaced with CIP-001-1a (Interpretation of R2)"]
[null,null,"CIP","CIP-001-2a","Sabotage Reporting","2011-10-01",null,"2013-12-31",null,"Project 2009-09","Replaced with EOP-004-2"]
[null,null,"CIP","CIP-002-1","Cyber Security — Critical Cyber Asset Identification","2008-07-01",null,"2010-03-31",null,null,"Replaced with CIP-002-2"]
[null,null,"CIP","CIP-002-2","Cyber Security — Critical Cyber Asset Identification","2010-04-01",null,"2010-09-30",null,null,"Replaced with CIP-002-3"]
[null,null,"CIP","CIP-002-3a","Cyber Security — Critical Cyber Asset Identification",null,null,"2013-03-21",null,null,"FERC remanded the interpretation of R3 in an order issued on 3/21/13"]
[null,null,"CIP","CIP-002-4a","Cyber Security — Critical Cyber Asset Identification",null,null,"2013-03-21","Implementation Plan","Project 2008-06","FERC remanded the interpretation of R3 in an order issued on 3/21/13"]
[null,null,"CIP","CIP-002-5","Cyber Security — BES Cyber System Categorization",null,null,"2014-02-03","Implementation Plan","Project 2008-06","Replaced with CIP-002-5.1 (Errata)"]
[null,null,"CIP","CIP-002-3b","Cyber Security — Critical Cyber Asset Identification",null,null,"2016-06-30","Implementation Plan","Project 2009-21"]
[null,null,"CIP","CIP-002-3(i)b","Cyber Security — Critical Cyber Asset Identification",null,null,"2014-11-13","Implementation Plan","Project 2010-05.2","Version developed but never filed for approval."]
[null,null,"CIP","CIP-002-3(i)","Cyber Security — Critical Cyber Asset Identification",null,null,"2014-11-13","Implementation Plan","Project 2010-05.2","Version developed but never filed for approval."]
[null,null,"CIP","CIP-002-3","Cyber Security — Critical Cyber Asset Identification","2010-10-01",null,"2016-06-30","Implementation Plan","Project 2009-21"]
[null,null,"CIP","CIP-002-4","Cyber Security — Critical Cyber Asset Identification","2014-10-01",null,"2014-02-03","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-002-5.1","Cyber Security — BES Cyber System Categorization","2016-07-01",null,"2016-12-26","Implementation Plan","Project 2008-06","Errata approved by the SC on 9/27/2013"]
[null,null,"CIP","CIP-003-1","Cyber Security — Security Management Controls","2008-07-01",null,"2010-03-31",null,null,"Replaced with CIP-003-2"]
[null,null,"CIP","CIP-003-2","Cyber Security — Security Management Controls","2010-04-01",null,"2010-09-30",null,null,"Replaced with CIP-003-3"]
[null,null,"CIP","CIP-003-3a","Cyber Security — Security Management Controls",null,null,"2016-06-30",null,"Project 2012-06"]
[null,null,"CIP","CIP-003-3","Cyber Security — Security Management Controls","2010-10-01",null,"2016-06-30",null,"Project 2009-21"]
[null,null,"CIP","CIP-003-4a","Cyber Security — Security Management Controls",null,null,"2014-02-03","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-003-4","Cyber Security — Security Management Controls","2014-10-01",null,"2014-02-03","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-003-5","Cyber Security — Security Management Controls",null,null,"2016-06-30","Implementation Plan","Project 2008-06","CIP-003-5 will be superseded by CIP-003-6."]
[null,null,"CIP","CIP-003-6","Cyber Security — Security Management Controls","2016-07-01",null,"2019-12-31","Implementation Plan","Project 2014-02","With the approval of CIP-003-7 and its associated Implementation Plan, entities will not be required to implement CIP-003-6, Requirement R2, Attachment 1, Sections 2 and 3. Instead, entities will implement CIP-003-7, Requirement R"]
[null,null,"CIP","CIP-004-1","Cyber Security — Personnel & Training","2008-07-01",null,"2010-03-31",null,null,"Replaced with CIP-004-2"]
[null,null,"CIP","CIP-004-2","Cyber Security — Personnel & Training","2010-04-01",null,"2010-09-30",null,null,"Replaced with CIP-004-3"]
[null,null,"CIP","CIP-004-3","Cyber Security — Personnel & Training","2010-10-01",null,"2012-12-11","Implementation Plan","Project 2010-09","Replaced with CIP-004-3a (Interpretation)"]
[null,null,"CIP","CIP-004-4","Cyber Security — Personnel & Training",null,null,"2012-12-11","Implementation Plan","Project 2008-06","Replaced with CIP-004-4a (Interpretation)"]
[null,null,"CIP","CIP-004-5","Cyber Security — Personnel & Training",null,null,"2013-09-30",null,null,"Replaced with CIP-004-5.1 (Errata)"]
[null,null,"CIP","CIP-004-3a","Cyber Security — Personnel & Training","2012-12-12",null,"2016-06-30","Implementation Plan","Project 2009-26"]
[null,null,"CIP","CIP-004-4a","Cyber Security — Personnel & Training","2014-10-01",null,"2014-02-03","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-004-5.1","Cyber Security — Personnel & Training",null,null,"2016-06-30","Implementation Plan","Project 2008-06","CIP-004-5.1 will be superseded by CIP-004-6."]
[null,null,"CIP","CIP-005-1a","Cyber Security — Electronic Security Perimeter(s)",null,null,"2011-02-01",null,null,"Replaced with CIP-005-3a"]
[null,null,"CIP","CIP-005-1","Cyber Security — Electronic Security Perimeter(s)","2008-07-01",null,"2010-03-31",null,null,"Replaced with CIP-005-2"]
[null,null,"CIP","CIP-005-2a","Cyber Security — Electronic Security Perimeter(s)",null,null,"2011-02-01",null,null,"Replaced with CIP-005-3a"]
[null,null,"CIP","CIP-005-2","Cyber Security — Electronic Security Perimeter(s)","2010-04-01",null,"2010-09-30",null,null,"Replaced with CIP-005-3"]
[null,null,"CIP","CIP-005-3","Cyber Security — Electronic Security Perimeter(s)","2010-10-01",null,"2011-02-01",null,null,"Replaced with CIP-005-3a (Interpretation of CIP-005-3, Section 4.2.2 and Requirement 1.3)"]
[null,null,"CIP","CIP-005-3a","Cyber Security — Electronic Security Perimeter(s)","2011-02-02",null,"2016-06-30","Implementation Plan","Project 2009-12"]
[null,null,"CIP","CIP-005-4a","Cyber Security — Electronic Security Perimeter(s)","2014-10-01",null,"2014-02-03","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-006-1c","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2010-04-20","Implementation Plan",null,"Replaced with CIP-006-2c (filed as CIP-006-2c because CIP-006-1 was inactive as of the filing date and the interpretation equally applied to CIP-006-2; inactive as of the date CIP-006-2c was filed)"]
[null,null,"CIP","CIP-006-1","Cyber Security — Physical Security of Critical Cyber Assets","2008-07-01",null,"2010-03-31","Implementation Plan",null,"Replaced with CIP-006-2"]
[null,null,"CIP","CIP-006-2a","Cyber Security — Physical Security of Critical Cyber Assets","2010-07-15",null,"2010-09-30","Implementation Plan",null,"Replaced with CIP-006-3a"]
[null,null,"CIP","CIP-006-2b","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2010-07-14","Implementation Plan",null,"Replaced with CIP-006-2c"]
[null,null,"CIP","CIP-006-2c","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2010-09-30","Implementation Plan",null,"Replaced with CIP-006-3c"]
[null,null,"CIP","CIP-006-2","Cyber Security — Physical Security of Critical Cyber Assets","2010-04-01",null,"2010-07-14","Implementation Plan",null,"Replaced with CIP-006-2c"]
[null,null,"CIP","CIP-006-3a","Cyber Security — Physical Security of Critical Cyber Assets","2010-10-01",null,"2011-05-18","Implementation Plan",null,"Replaced with CIP-006-3c"]
[null,null,"CIP","CIP-006-3d","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2013-03-21","Implementation Plan","Project 2009-21","FERC remanded the interpretation of R1.1 in an order issued on 3/21/13"]
[null,null,"CIP","CIP-006-3","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2010-09-30","Implementation Plan",null,"Replaced with CIP-006-3c"]
[null,null,"CIP","CIP-006-4d","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2013-03-21","Implementation Plan","Project 2008-06","FERC remanded the interpretation of R1.1 in an order issued on 3/21/13"]
[null,null,"CIP","CIP-006-1a","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2009-12-22","Implementation Plan",null,"Replaced with CIP-006-1b and included as part of CIP-006-2b filing; inactive as of the date CIP-006-2b was filed"]
[null,null,"CIP","CIP-006-1b","Cyber Security — Physical Security of Critical Cyber Assets",null,null,"2009-12-22","Implementation Plan",null,"Replaced with CIP-006-2b and included as part of CIP-006-2b filing; inactive as of the date CIP-006-2b was filed"]
[null,null,"CIP","CIP-006-3c","Cyber Security — Physical Security of Critical Cyber Assets","2011-05-19",null,"2016-06-30","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-006-4c","Cyber Security — Physical Security of Critical Cyber Assets","2014-10-01",null,"2014-02-03","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-006-5","Cyber Security — Physical Security of BES Cyber Systems",null,null,"2016-06-30","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-007-1","Cyber Security — Systems Security Management","2008-07-01",null,"2010-03-31",null,null,"Replaced with CIP-007-2"]
[null,null,"CIP","CIP-007-2a","Cyber Security — Systems Security Management","2010-04-01",null,"2010-09-30",null,null,"Replaced with CIP-007-3a"]
[null,null,"CIP","CIP-007-2","Cyber Security — Systems Security Management",null,null,"2010-03-31",null,null,"Replaced with CIP-007-2a (Interpretation of a term used in R2)"]
[null,null,"CIP","CIP-007-3a","Cyber Security — Systems Security Management","2010-10-01",null,"2016-06-30","Implementation Plan","Project 2009-21","The version number was updated from CIP-007-3 to CIP-007-3a to incorporate the approved interpretation that should have previously been appended."]
[null,null,"CIP","CIP-007-3b","Cyber Security — Systems Security Management",null,null,"2016-06-30","Implementation Plan","Project 2009-21"]
[null,null,"CIP","CIP-007-4a","Cyber Security — Systems Security Management","2014-10-01",null,"2014-02-03","Implementation Plan","Project 2008-06","The version number was updated from CIP-007-4 to CIP-007-4a to incorporate the approved interpretation that should have previously been appended."]
[null,null,"CIP","CIP-007-4b","Cyber Security — Systems Security Management",null,null,"2014-02-03","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-007-5","Cyber Security — System Security Management",null,null,"2016-06-30","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-008-1","Cyber Security — Incident Reporting and Response Planning","2008-07-01",null,"2010-03-31",null,null,"Replaced with CIP-008-2"]
[null,null,"CIP","CIP-008-2","Cyber Security — Incident Reporting and Response Planning","2010-04-01",null,"2010-09-30",null,null,"Replaced with CIP-008-3"]
[null,null,"CIP","CIP-008-3","Cyber Security — Incident Reporting and Response Planning","2010-10-01",null,"2016-06-30","Implementation Plan","Project 2009-21"]
[null,null,"CIP","CIP-008-4","Cyber Security — Incident Reporting and Response Planning","2014-10-01",null,"2014-02-03"]
[null,null,"CIP","CIP-009-1","Cyber Security — Recovery Plans for Critical Cyber Assets","2008-07-01",null,"2010-03-31",null,null,"Replaced with CIP-009-2"]
[null,null,"CIP","CIP-009-2","Cyber Security — Recovery Plans for Critical Cyber Assets","2010-04-01",null,"2010-09-30",null,null,"Replaced with CIP-009-3"]
[null,null,"CIP","CIP-009-3","Cyber Security — Recovery Plans for Critical Cyber Assets","2010-10-01",null,"2016-06-30","Implementation Plan","Project 2009-21"]
[null,null,"CIP","CIP-009-4","Cyber Security — Recovery Plans for Critical Cyber Assets","2014-10-01",null,"2014-02-03"]
[null,null,"CIP","CIP-009-5","Cyber Security — Recovery Plans for BES Cyber Systems",null,null,"2016-06-30","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-010-1","Cyber Security — Configuration Change Management and Vulnerability Assessments",null,null,"2016-06-30","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-011-1","Cyber Security — Information Protection",null,null,"2016-06-30","Implementation Plan","Project 2008-06"]
[null,null,"CIP","CIP-014-1","Physical Security","2015-10-01",null,"2015-10-01","Implementation Plan","Project 2014-04","Please see the standard for specific requirement effective dates."]
[null,null,"COM","COM-001-1.1","Telecommunications","2009-05-13",null,"2015-09-30",null,null,"Requirement R4 becomes inactive 6/30/2016"]
[null,null,"COM","COM-001-2","Communications","2015-10-01",null,"2015-11-12","Implementation Plan","Project 2006-06"]
[null,null,"COM","COM-001-1","Telecommunications","2007-06-18",null,"2009-05-12",null,null,"Replaced with COM-001-1.1 (Errata)"]
[null,null,"COM","COM-001-0","Telecommunications",null,null,"2007-01-01",null,null,"Replaced with COM-001-1 (COM-001-0 was never enforceable)"]
[null,null,"COM","COM-001-2.1","Communications","2015-11-13",null,"2017-09-30","Implementation Plan","Project 2006-06","Replaces COM-001-2"]
[null,null,"COM","COM-002-0","Communication and Coordination",null,null,"2006-11-01",null,null,"Replaced with COM-002-1 (COM-002-0 was never enforceable)"]
[null,null,"COM","COM-002-1","Communication and Coordination",null,null,"2007-01-01",null,null,"Replaced with COM-002-2 (COM-002-1 was never enforceable)"]
[null,null,"COM","COM-002-2a","Communications and Coordination",null,null,"2016-06-30",null,"Project 2009-22"]
[null,null,"COM","COM-002-2","Communications and Coordination","2007-06-18",null,"2016-06-30",null,"Project 2006-06"]
[null,null,"COM","COM-002-3","Communication and Coordination",null,null,"2016-06-30","Implementation Plan"]
[null,null,"EOP","EOP-001-0.1b","Emergency Operations Planning","2012-09-13",null,"2013-06-30",null,null,"Replaced with EOP-001-2.1b"]
[null,null,"EOP","EOP-001-0b","Emergency Operations Planning","2011-12-15",null,"2012-09-12",null,null,"Replaced by EOP-001-0.1b (Errata)"]
[null,null,"EOP","EOP-001-0","Emergency Operations Planning","2007-06-18",null,"2011-12-14",null,null,"Replaced with EOP-001-0b (Interpretation of R1 and R3.2)"]
[null,null,"EOP","EOP-001-1","Emergency Operations Planning",null,null,"2011-05-23",null,"Project 2009-28_EOP-001-1-2","Replaced with EOP-001-2 (EOP-001-1 was not enforceable)"]
[null,null,"EOP","EOP-001-2.1b","Emergency Operations Planning","2013-07-01",null,"2017-03-31",null,null,"EOP-011-1 consolidates the requirements in three existing Reliability Standards: EOP-001-2.1b, EOP-002-3.1 and EOP-003-2 into a single Reliability Standard."]
[null,null,"EOP","EOP-001-2b","Emergency Operations Planning",null,null,"2012-09-12",null,null,"Replaced by EOP-001-2.1b (Errata)"]
[null,null,"EOP","EOP-001-2","Emergency Operations Planning",null,null,"2011-12-14",null,"Project 2006-03 System_Restoration_Blackstart","Replaced with EOP-001-2b (Interpretation of R1 and R2.2)--(EOP-001-2 was not enforceable)"]
[null,null,"EOP","EOP-002-0","Capacity and Energy Emergencies",null,null,"2006-11-01",null,null,"Replaced with EOP-002-1 (EOP-002-0 was never enforceable)"]
[null,null,"EOP","EOP-002-1","Capacity and Energy Emergencies",null,null,"2007-01-01",null,null,"Replaced with EOP-002-2 (EOP-002-1 was never enforceable)"]
[null,null,"EOP","EOP-002-2.1","Capacity and Energy Emergencies","2009-05-13",null,"2011-09-30",null,null,"Replaced with EOP-002-3"]
[null,null,"EOP","EOP-002-3","Capacity and Energy Emergencies","2011-10-01",null,"2012-09-12",null,null,"Replaced by EOP-002-3.1 (Errata)"]
[null,null,"EOP","EOP-002-2","Capacity and Energy Emergencies","2007-06-18",null,"2009-05-12",null,null,"Replaced with EOP-002-2.1 (Errata)"]
[null,null,"EOP","EOP-002-3.1","Capacity and Energy Emergencies","2012-09-13",null,"2017-03-31","Implementation Plan","Project 2010-12","EOP-011-1 consolidates the requirements in three existing Reliability Standards: EOP-001-2.1b, EOP-002-3.1 and EOP-003-2 into a single Reliability Standard."]
[null,null,"EOP","EOP-003-0","Load Shedding Plans",null,null,"2007-01-01",null,null,"Replaced with EOP-003-1 (EOP-003-0 was never enforceable)"]
[null,null,"EOP","EOP-003-1","Load Shedding Plans","2007-06-18",null,"2013-09-30",null,"Project Page","Replaced with EOP-003-2"]
[null,null,"EOP","EOP-003-2","Load Shedding Plans","2013-10-01",null,"2017-03-31","Implementation Plan","Project 2007-01","EOP-011-1 consolidates the requirements in three existing Reliability Standards: EOP-001-2.1b, EOP-002-3.1 and EOP-003-2 into a single Reliability Standard."]
[null,null,"EOP","EOP-004-1","Disturbance Reporting","2007-06-18",null,"2013-12-31",null,"https://www.nerc.com/pa/Stand/Pages/Project 2009-01_Disturbance_Sabotage_Reporting","Replaced with EOP-004-2"]
[null,null,"EOP","EOP-004-2","Event Reporting","2014-01-01",null,"2017-03-31",null,"Project 2009-01"]
[null,null,"EOP","EOP-004-3","Event Reporting","2017-04-01",null,"2019-03-31","Implementation Plan","Project 2010-05.2","Entities with newly classified “Remedial Action Scheme” (RAS) resulting from the application of the revised definition must be fully compliant with all Reliability Standards applicable RAS twenty-four (24) months from the Effectiv"]
[null,null,"EOP","EOP-005-0","System Restoration Plans",null,null,"2007-05-02",null,null,"Replaced with EOP-005-1 (EOP-005-0 was never enforceable)"]
[null,null,"EOP","EOP-005-1","System Restoration Plans","2007-06-18",null,"2013-06-30",null,"Project Page - Phase-III-IV_Archive","Replaced with EOP-005-2 and EOP-006-2"]
[null,null,"EOP","EOP-005-2","System Restoration from Blackstart Resources","2013-07-01",null,"2019-03-31","Implementation Plan","Project 2006-03","Replaces EOP-005-1"]
[null,null,"EOP","EOP-006-0","Reliability Coordination – System Restoration",null,null,"2007-01-01",null,null,"Replaced with EOP-006-1 (EOP-006-0 was never enforceable)"]
[null,null,"EOP","EOP-006-1","Reliability Coordination – System Restoration","2007-06-18",null,"2013-06-30",null,null,"Replaced with EOP-005-2 and EOP-006-2"]
[null,null,"EOP","EOP-006-2","System Restoration Coordination","2013-07-01",null,"2019-03-31","Implementation Plan","Project 2006-03","Replaces EOP-006-1"]
[null,null,"EOP","EOP-007-0","Establish, Maintain, and Document a Regional Blackstart Capability Plan",null,null,"2011-05-23",null,null,"FERC approved withdrawal of standard"]
[null,null,"EOP","EOP-008-0","Plans for Loss of Control Center Functionality","2007-06-18",null,"2013-06-30",null,"Version-0.Standards Project Page","Replaced with EOP-008-1"]
[null,null,"EOP","EOP-008-1","Loss of Control Center Functionality","2013-07-01",null,"2019-03-31","Implementation Plan","Project-2006-04-Back-up-Facilities"]
[null,null,"EOP","EOP-009-0","Documentation of Blackstart Generating Unit Test Results","2007-06-18",null,"2013-06-30",null,"Version-0 Reliability Standards Project Page","Replaced with EOP-005-2 and EOP-006-2"]
[null,null,"FAC","FAC-001-0","Facility Connection Requirements","2007-06-18",null,"2013-11-24",null,"000 - Version-0","Replaced with FAC-001-1"]
[null,null,"FAC","FAC-001-1","Facility Connection Requirements","2013-11-25",null,"2015-12-31","Implementation Plan","Project 2010-07","A FERC order was issued on September 19, 2013, approving FAC-001-1. This standard becomes enforceable on November 25, 2013 for Transmission Owners. For Generator Owners, the standard becomes enforceable on January 1, 2015."]
[null,null,"FAC","FAC-001-2","Facility Interconnection Requirements","2016-01-01",null,"2018-12-31","Implementation Plan","Project 2010-02","Replaces FAC-001-1"]
[null,null,"FAC","FAC-002-0","Coordination of Plans For New Generation, Transmission, and End-User Facilities","2007-06-18",null,"2011-09-30",null,null,"Replaced with FAC-002-1"]
[null,null,"FAC","FAC-002-1","Coordination of Plans For New Generation, Transmission, and End-User Facilities","2011-10-01",null,"2015-12-31","Implementation Plan","Project 2010-12"]
[null,null,"FAC","FAC-003-0","Vegetation Management Program",null,null,"2006-04-07",null,null,"Replaced with FAC-003-1 (FAC-003-0 was never enforceable)"]
[null,null,"FAC","FAC-003-1","Transmission Vegetation Management Program","2007-06-18",null,"2014-06-30",null,"Project 2007-07","Replaced with FAC-003-2"]
[null,null,"FAC","FAC-003-2","Transmission Vegetation Management","2014-07-01",null,"2013-11-25","Implementation Plan","Project 2007-07","FAC-003-2 is superseded by the approval of FAC-003-3 and became inactive on 11/25/13; therefore, FAC-003-2 will never become enforceable in the United States."]
[null,null,"FAC","FAC-003-3","Transmission Vegetation Management","2014-07-01",null,"2016-09-30","Implementation Plan","Project 2010-07","A FERC order was issued on September 19, 2013, approving FAC-003-3. This standard becomes enforceable on July 1, 2014 for Transmission Owners. For Generator Owners, R3 becomes enforceable on January 1, 2015 and all other requireme"]
[null,null,"FAC","FAC-004-0","Methodologies for Determining Electrical Facility Ratings",null,null,"2006-08-01",null,null,"Replaced with FAC-008-1 and FAC-009-1 (FAC-004-0 was never enforceable)"]
[null,null,"FAC","FAC-005-0","Electrical Facility Ratings for System Modeling",null,null,"2006-10-07",null,null,"Replaced with FAC-008-1 and FAC-009-1 (FAC-005-0 was never enforceable)"]
[null,null,"FAC","FAC-008-2","Facility Ratings",null,null,"2011-05-24",null,null,"Replaced by FAC-008-3 (FAC-008-2 was not enforceable in any jurisdiction)"]
[null,null,"FAC","FAC-008-1","Facility Ratings Methodology","2007-06-18",null,"2012-12-31",null,null,"Replaced by FAC-008-3"]
[null,null,"FAC","FAC-009-1","Establish and Communicate Facility Ratings","2007-06-18",null,"2012-12-31",null,null,"Replaced by FAC-008-3"]
[null,null,"FAC","FAC-010-2","System Operating Limits Methodology for the Planning Horizon","2009-04-29",null,"2010-04-18",null,null,"Replaced with FAC-010-2.1 (Errata)"]
[null,null,"FAC","FAC-010-1","System Operating Limits Methodology for the Planning Horizon","2008-07-01",null,"2009-04-28",null,null,"Replaced with FAC-010-2"]
[null,null,"FAC","FAC-010-2.1","System Operating Limits Methodology for the Planning Horizon","2010-04-19",null,"2017-03-31","Implementation Plan","Project 2013-02"]
[null,null,"FAC","FAC-011-1","System Operating Limits Methodology for the Operations Horizon","2008-10-01",null,"2009-04-28",null,null,"Replaced with FAC-011-2"]
[null,null,"FAC","FAC-011-2","System Operating Limits Methodology for the Operations Horizon","2009-04-29",null,"2017-03-31","Implementation Plan","Project 2008-04"]
[null,null,"FAC","FAC-012-1","Transfer Capability Methodology",null,null,"2013-03-31",null,null,"Replaced with FAC-013-2 (FAC-012-1 was not enforceable in any jurisdiction). This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"FAC","FAC-013-1","Establish and Communicate Transfer Capabilities","2007-06-18",null,"2013-03-31",null,null,"Replaced with FAC-013-2"]
[null,null,"FAC","FAC-014-1","Establish and Communicate System Operating Limits","2009-01-01",null,"2009-04-28",null,null,"Replaced with FAC-014-2"]
[null,null,"FAC","FAC-501-WECC-1","Transmission Maintenance","2011-07-01",null,"2018-06-30",null,"WECC"]
[null,null,"INT","INT-001-0","Interchange Transaction Tagging",null,null,"2007-01-01",null,null,"Replaced with INT-001-1 (INT-001-0 was never enforceable)"]
[null,null,"INT","INT-001-1","Interchange Information",null,null,"2006-11-01",null,null,"Replaced with INT-001-2 (INT-001-1 was never enforceable)"]
[null,null,"INT","INT-001-2","Interchange Transaction Tagging","2007-06-18",null,"2008-08-26",null,null,"Replace with INT-002-3 (Removed WECC Waivers)"]
[null,null,"INT","INT-001-3","Interchange Information","2008-08-27",null,"2014-09-30"]
[null,null,"INT","INT-002-0","Interchange Transaction Tag Communication and Reliability Assessment",null,null,"2007-01-01",null,null,"This standard was never enforceable"]
[null,null,"INT","INT-003-0","Interchange Transaction Implementation",null,null,"2007-01-01",null,null,"Replaced with INT-003-1 (INT-003-0 was never enforceable)"]
[null,null,"INT","INT-003-1","Interchange Transaction Implementation",null,null,"2007-01-01",null,null,"Replaced with INT-003-2 (INT-003-1 was never enforceable)"]
[null,null,"INT","INT-003-2","Interchange Transaction Implementation","2007-06-18",null,"2011-03-31",null,null,"Replaced with INT-003-3 (Removed MISO Scheduling Agent Waiver and MISO Enhanced Scheduling Agent Waiver)"]
[null,null,"INT","INT-003-3","Interchange Transaction Implementation","2011-04-01",null,"2014-09-30"]
[null,null,"INT","INT-004-0","Interchange Transaction Modifications",null,null,"2007-01-01",null,null,"Replaced with INT-003-1 (INT-004-0 was never enforceable)"]
[null,null,"INT","INT-004-1","Dynamic Interchange Transaction Modifications","2007-06-18",null,"2008-08-26",null,null,"Replaced with INT-004-2 (Removed WECC Waivers)"]
[null,null,"INT","INT-004-2","Dynamic Interchange Transaction Modifications","2008-08-27",null,"2014-09-30"]
[null,null,"INT","INT-004-3","Dynamic Transfers","2014-10-01",null,"2014-11-25",null,null,"Requirement R3 will become effective on the first calendar day two calendar quarters after the NAESB Electric Industry Registry is able to accept Pseudo-Tie registrations. All existing and future Pseudo-Ties are to be registered i"]
[null,null,"INT","INT-005-1","Interchange Authority Distributes Arranged Interchange","2007-06-18",null,"2008-08-26",null,null,"Replaced with INT-005-2 (Adjust reliability assessment time frames for proposed transactions within WECC.)"]
[null,null,"INT","INT-005-2","Interchange Authority Distributes Arranged Interchange","2008-08-27",null,"2010-06-30",null,null,"Replaced with INT-005-3"]
[null,null,"INT","INT-005-3","Interchange Authority Distributes Arranged Interchange","2010-07-01",null,"2014-09-30"]
[null,null,"INT","INT-006-1","Response to Interchange Authority","2007-06-18",null,"2008-08-26",null,null,"Replaced with INT-006-2 (Adjust reliability assessment time frames for proposed transactions within WECC.)"]
[null,null,"INT","INT-006-2","Response to Interchange Authority","2008-08-27",null,"2010-06-30",null,null,"Replaced with INT-006-3"]
[null,null,"INT","INT-006-3","Response to Interchange Authority","2010-07-01",null,"2014-09-30"]
[null,null,"INT","INT-007-1","Interchange Confirmation","2007-06-18",null,"2014-09-30",null,null,"0"]
[null,null,"INT","INT-008-1","Interchange Authority Distributes Status","2007-06-18",null,"2008-08-26",null,null,"Replaced with INT-008-2 (Adjust reliability assessment time frames for proposed transactions within WECC.)"]
[null,null,"INT","INT-008-2","Interchange Authority Distributes Status","2008-08-27",null,"2010-06-30",null,null,"Replaced with INT-008-3"]
[null,null,"INT","INT-008-3","Interchange Authority Distributes Status","2010-07-01",null,"2014-09-30"]
[null,null,"INT","INT-009-1","Implementation of Interchange","2007-06-18",null,"2014-09-30"]
[null,null,"INT","INT-009-2","Implementation of Interchange","2014-10-01",null,"2014-11-25",null,null,"Note: the effective date is October 1, 2014 for INT-004-3, INT-006-4, INT-009-2, INT-010-2 and INT-011-1. The filing to FERC indicated that the standards were to be effective consistent with the implementation plan."]
[null,null,"INT","INT-010-1","Interchange Coordination Exemptions","2007-06-18",null,"2014-09-30"]
[null,null,"INT","INT-010-2","Interchange Initiation and Modification for Reliability","2014-10-01",null,"2014-11-25",null,null,"Note: the effective date is October 1, 2014 for INT-004-3, INT-006-4, INT-009-2, INT-010-2 and INT-011-1. The filing to FERC indicated that the standards were to be effective consistent with the implementation plan."]
[null,null,"INT","INT-011-1.1","Intra-Balancing Authority Transaction Identification","2014-11-26",null,"2015-10-15",null,"Project 2008-12","Replaced INT-011-1. The retirement date for INT-011-1 and the enforcement date for INT-011-1.1 have been coordinated to ensure seamless transition from the original to the errata Reliability Standard on the date of Commission appr"]
[null,null,"INT","INT-011-1","Intra-Balancing Authority Transaction Identification","2014-10-01",null,"2014-11-25",null,null,"Note: the effective date is October 1, 2014 for INT-004-3, INT-006-4, INT-009-2, INT-010-2 and INT-011-1. The filing to FERC indicated that the standards were to be effective consistent with the implementation plan."]
[null,null,"IRO","IRO-001-0","Reliability Coordination – Responsibilities and Authorities",null,null,"2007-01-01",null,null,"Replaced with IRO-001-1 (IRO-001-0 was never enforceable)"]
[null,null,"IRO","IRO-001-2","Reliability Coordination — Responsibilities and Authorities",null,null,"2012-08-16",null,null,"Replaced after BOT adoption of IRO-001-3 (IRO-001-2 never became enforceable in the United States)."]
[null,null,"IRO","IRO-001-1","Reliability Coordination — Responsibilities and Authorities","2007-06-18",null,"2009-05-12",null,null,"Replaced with IRO-001-1.1 (Errata)"]
[null,null,"IRO","IRO-001-1.1","Reliability Coordination — Responsibilities and Authorities","2009-05-13",null,"2017-03-31",null,"Errata"]
[null,null,"IRO","IRO-001-3","Reliability Coordination – Responsibilities and Authorities",null,null,"2016-01-26","Implementation Plan","Project 2006-06"]
[null,null,"IRO","IRO-002-0","Reliability Coordination – Facilities",null,null,"2007-01-01",null,null,"Replaced with IRO-002-1 (IRO-002-0 was never enforceable)"]
[null,null,"IRO","IRO-002-1","Reliability Coordination — Facilities","2007-06-18",null,"2011-09-30",null,null,"Replaced with IRO-002-2"]
[null,null,"IRO","IRO-002-2","Reliability Coordination — Facilities","2011-10-01",null,"2017-03-31",null,"IROL"]
[null,null,"IRO","IRO-002-3","Reliability Coordination — Analysis Tools",null,null,"2016-01-26","Implementation Plan","Project 2006-06"]
[null,null,"IRO","IRO-002-4","Reliability Coordination – Monitoring and Analysis","2017-04-01",null,"2017-09-30","Implementation Plan","Project 2014-03","IRO-002-4 replaces IRO-002-2"]
[null,null,"IRO","IRO-002-5","Reliability Coordination – Monitoring and Analysis","2017-10-01",null,"2019-12-31","Implementation Plan","Project 2016-01","IRO-002-5 replaces IRO-002-4"]
[null,null,"IRO","IRO-003-0","Reliability Coordination – Wide-Area View",null,null,"2006-08-01",null,null,"Replaced with IRO-003-1 (IRO-003-0 was never enforceable)"]
[null,null,"IRO","IRO-003-1","Reliability Coordination – Wide-Area View",null,null,"2007-01-01",null,null,"Replaced with IRO-003-2 (IRO-003-1 was never enforceable)"]
[null,null,"IRO","IRO-003-2","Reliability Coordination — Wide-Area View","2007-06-18",null,"2017-03-31",null,"Compliance"]
[null,null,"IRO","IRO-004-0","Reliability Coordination — Operations Planning",null,null,"2006-11-01",null,null,"Replaced with IRO-004-1 (IRO-004-0 was never enforceable)"]
[null,null,"IRO","IRO-004-1","Reliability Coordination — Operations Planning","2007-06-18",null,"2011-09-30",null,null,"Replaced with IRO-004-2"]
[null,null,"IRO","IRO-004-2","Reliability Coordination — Operations Planning","2011-10-01",null,"2017-03-31","Implementation Plan","IROL"]
[null,null,"IRO","IRO-005-0","Reliability Coordination — Current Day Operations",null,null,"2006-11-01",null,null,"Replaced with IRO-005-1 (IRO-005-0 was never enforceable)"]
[null,null,"IRO","IRO-005-2a","Reliability Coordination — Current Day Operations","2011-05-26",null,"2011-09-30",null,null,"Replaced with IRO-005-3a (Interpretation of R9 (formerly R12))"]
[null,null,"IRO","IRO-005-2","Reliability Coordination — Current Day Operations","2009-01-22",null,"2011-05-25",null,null,"Replaced with IRO-005-2a (Interpretation of R12)"]
[null,null,"IRO","IRO-005-3a","Reliability Coordination — Current Day Operations","2011-10-01",null,"2012-09-12",null,null,"Replaced by IRO-005-3.1a (Errata)"]
[null,null,"IRO","IRO-005-3","Reliability Coordination — Current Day Operations",null,null,"2011-05-25",null,null,"Replaced with IRO-005-3a (Interpretation of R9 (formerly R12))"]
[null,null,"IRO","IRO-005-1","Reliability Coordination — Current Day Operations","2007-06-18",null,"2009-01-21",null,null,"Replaced with IRO-005-2"]
[null,null,"IRO","IRO-005-3.1a","Reliability Coordination — Current Day Operations","2012-09-13",null,"2017-03-31","Implementation Plan","Project 2008-18"]
[null,null,"IRO","IRO-005-3.1(i)a","Reliability Coordination — Current Day Operations",null,null,"2014-11-13",null,null,"Version developed but never filed for approval."]
[null,null,"IRO","IRO-005-4","Reliability Coordination — Current Day Operations",null,null,"2016-01-26","Implementation Plan","Project 2006-06"]
[null,null,"IRO","IRO-006-0","Reliability Coordination — Transmission Loading Relief",null,null,"2005-08-08",null,null,"Replaced with IRO-006-1 (IRO-006-0 was never enforceable)"]
[null,null,"IRO","IRO-006-1","Reliability Coordination — Transmission Loading Relief",null,null,"2006-09-29",null,null,"Replaced with IRO-006-2 (IRO-006-1 was never enforceable)"]
[null,null,"IRO","IRO-006-2","Reliability Coordination — Transmission Loading Relief",null,null,"2006-09-29",null,null,"Replaced with IRO-006-3 (IRO-006-2 was never enforceable)"]
[null,null,"IRO","IRO-006-4.1","Reliability Coordination — Transmission Loading Relief (TLR)","2009-12-10",null,"2011-06-30",null,null,"Replaced with IRO-006-5"]
[null,null,"IRO","IRO-006-WECC-1","Qualified Transfer Path Unscheduled Flow (USF) Relief","2011-07-01",null,"2014-06-30"]
[null,null,"IRO","IRO-006-3","Reliability Coordination — Transmission Loading Relief","2007-06-18",null,"2009-04-22",null,null,"Replaced with IRO-006-4 (Phase I revisions - divide reliability and commercial aspects)"]
[null,null,"IRO","IRO-006-4","Reliability Coordination — Transmission Loading Relief (TLR)","2009-04-23",null,"2009-12-09",null,null,"Replaced with IRO-006-4.1 (Errata)"]
[null,null,"IRO","IRO-006-EAST-1","Transmission Loading Relief Procedure for the Eastern Interconnection","2011-07-01",null,"2016-03-31","Implementation Plan","Project 2006-08"]
[null,null,"IRO","IRO-006-TRE-1","IROL and SOL Mitigation in the ERCOT Region","2012-07-01",null,"2019-01-29","Implementation Plan","TRE","Inactive per FERC Letter Order dated January 29, 2019."]
[null,null,"IRO","IRO-006-WECC-2","Qualified Transfer Path Unscheduled Flow (USF) Relief","2014-07-01",null,"2019-09-30",null,"WECC","Replaces IRO-006-WECC-1"]
[null,null,"IRO","IRO-008-1","Reliability Coordinator Operational Analyses and Real-time Assessments","2011-10-01",null,"2017-03-31","Implementation Plan","IROL"]
[null,null,"IRO","IRO-009-1","Reliability Coordinator Actions to Operate Within IROLs","2011-10-01",null,"2015-12-31","Implementation Plan","IROL"]
[null,null,"IRO","IRO-010-1a","Reliability Coordinator Data Specification and Collection","2011-10-01",null,"2017-03-31","Implementation Plan","IROL","0"]
[null,null,"IRO","IRO-010-1","Reliability Coordinator Data Specification and Collection",null,null,"2009-08-05",null,null,"Replaced with IRO-010-1a"]
[null,null,"IRO","IRO-014-1","Procedures, Processes, or Plans to Support Coordination Between Reliability Coordinators","2007-06-18",null,"2017-03-31","Implementation Plan","Coordinate-Operations"]
[null,null,"IRO","IRO-014-2","Coordination Among Reliability Coordinators",null,null,"2016-01-26","Implementation Plan","Project 2006-06"]
[null,null,"IRO","IRO-015-1","Notifications and Information Exchange Between Reliability Coordinators","2007-06-18",null,"2017-03-31","Implementation Plan","Coordinate Operations"]
[null,null,"IRO","IRO-016-1","Coordination of Real-time Activities Between Reliability Coordinators","2007-06-18",null,"2017-03-31","Implementation Plan","Coordinate Operations"]
[null,null,"IRO","IRO-018-1","Reliability Coordinator Real-time Reliability Monitoring and Analysis Capabilities",null,null,"2018-03-31","Implementation Plan","Project 2009-02","IRO-018-1(i) will be enforceable 4/1/2018, therefore IRO-018-1 will never be enforceable."]
[null,null,"IRO","IRO-STD-006-0","Qualified Path Unscheduled Flow Relief (WECC)","2007-06-18",null,"2011-06-30",null,null,"Replaced with IRO-006-WECC-1"]
[null,null,"MOD","MOD-001-1","Available Transmission System Capability",null,null,"2010-09-16",null,null,"Replaced with MOD-001-1a (Interpretation of R2 and R8)"]
[null,null,"MOD","MOD-001-0","Documentation of Total Transfer Capability and Available Transfer Capability Calculation Methodologies",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-001-2","Available Transmission System Capability",null,null,"2019-05-09","Implementation Plan","Project 2012-05","Petition for approval was withdrawn as part of Project 2018-03 SER Retirements."]
[null,null,"MOD","MOD-002-0","Review of Transmission Service Provider Total Transfer Capability and Available Transfer Capability Calculations and Results",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-003-0","Regional Procedure for Input on Total Transfer Capability and Available Transfer Capability Methodologies and Values",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-004-0","Documentation of Regional Reliability Organization Capacity Benefit Margin Methodologies",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-005-0","Procedure for Verifying Capacity Benefit Margin Values",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-006-0.1","Procedures for the Use of Capacity Benefit Margin Values","2009-05-13",null,"2011-03-31",null,null,"Replaced with MOD-004-1"]
[null,null,"MOD","MOD-006-0","Procedures for the Use of Capacity Benefit Margin Values","2007-06-18",null,"2009-05-12",null,null,"Replaced with MOD-006-0.1 (Errata)"]
[null,null,"MOD","MOD-007-0","Documentation of the Use of Capacity Benefit Margin","2007-06-18",null,"2011-03-31",null,null,"Replaced with MOD-004-1"]
[null,null,"MOD","MOD-008-0","Documentation and Content of Each Regional Transmission Reliability Margin Methodology",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-009-0","Procedure for Verifying Transmission Reliability Margin Values",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-010-0","Steady-State Data for Modeling and Simulation of the Interconnected Transmission System","2007-06-18",null,"2016-06-30","Implementation Plan","000 - Version 0 Reliability Standards","MOD-010-0 retires midnight of the day immediately prior to the Effective Date of MOD-032-1, Requirement R2, in the particular Jurisdiction in which the new standard is becoming effective."]
[null,null,"MOD","MOD-011-0","Maintenance and Distribution of Steady-State Data Requirements and Reporting Procedures",null,null,"2016-06-30","Implementation Plan","000 - Version 0 Reliability Standards","MOD-011-0 retires midnight of the day immediately prior to the Effective Date of MOD-032-1, Requirement R2, in the particular Jurisdiction in which the new standard is becoming effective."]
[null,null,"MOD","MOD-012-0","Dynamics Data for Modeling and Simulation of the Interconnected Transmission System","2007-06-18",null,"2016-06-30","Implementation Plan","000 - Version 0 Reliability Standards","MOD-012-0 retires midnight of the day immediately prior to the Effective Date of MOD-032-1, Requirement R2, in the particular Jurisdiction in which the new standard is becoming effective."]
[null,null,"MOD","MOD-013-0","Maintenance and Distribution of Dynamics Data Requirements and Reporting Procedures",null,null,"2006-11-02",null,null,"Replaced with MOD-013-1 (MOD-013-0 was never enforceable)"]
[null,null,"MOD","MOD-013-1","Maintenance and Distribution of Dynamics Data Requirements and Reporting Procedures",null,null,"2016-06-30","Implementation Plan","Phase III-IV","MOD-013-1 retires midnight of the day immediately prior to the Effective Date of MOD-032-1, Requirement R2, in the particular Jurisdiction in which the new standard is becoming effective."]
[null,null,"MOD","MOD-014-0","Development of Steady-State System Models",null,null,"2016-06-30","Implementation Plan","000 - Version 0","MOD-014-0 retires midnight of the day immediately prior to the Effective Date of MOD-032-1, Requirement R2, in the particular Jurisdiction in which the new standard is becoming effective."]
[null,null,"MOD","MOD-015-0.1","Development of Dynamics System Models",null,null,"2016-06-30","Implementation Plan","000 Version-0","This standard was not approved by FERC in Order 693. MOD-015-0.1 retires midnight of the day immediately prior to the Effective Date of MOD-032-1, Requirement R2, in the particular Jurisdiction in which the new standard is becomin"]
[null,null,"MOD","MOD-015-0","Development of Dynamics System Models",null,null,"2016-06-30","Implementation Plan","000 Version-0","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"MOD","MOD-016-0","Documentation of Data Reporting Requirements for Actual and Forecast Demands, Net Energy for Load, and Controllable Demand-Side Management",null,null,"2006-11-02",null,null,"Replaced with MOD-013-1 (MOD-016-0 was never enforceable)"]
[null,null,"MOD","MOD-016-1","Documentation of Data Reporting Requirements for Actual and Forecast Demands, Net Energy for Load, and Controllable Demand-Side Management","2007-06-18",null,"2009-05-12",null,null,"Replaced with MOD-016-1.1 (Errata)"]
[null,null,"MOD","MOD-016-1.1","Documentation of Data Reporting Requirements for Actual and Forecast Demands, Net Energy for Load, and Controllable Demand-Side Management","2009-05-13",null,"2016-06-30","Implementation Plan","Phase III-IV"]
[null,null,"MOD","MOD-017-0","Aggregated Actual and Forecast Demands and Net Energy for Load","2007-06-18",null,"2009-05-12",null,null,"Replaced with MOD-017-0.1 (Errata)"]
[null,null,"MOD","MOD-017-0.1","Aggregated Actual and Forecast Demands and Net Energy for Load","2009-05-13",null,"2016-06-30","Implementation Plan","000 Version-0"]
[null,null,"MOD","MOD-018-0","Treatment of Nonmember Demand Data and How Uncertainties are Addressed in the Forecasts of Demand and Net Energy for Load","2007-06-18",null,"2016-06-30","Implementation Plan","000 Version-0"]
[null,null,"MOD","MOD-019-0","Reporting of Interruptible Demands and Direct Control Load Management","2007-06-18",null,"2009-05-12",null,null,"Replaced with MOD-019-0.1 (Errata)"]
[null,null,"MOD","MOD-019-0.1","Reporting of Interruptible Demands and Direct Control Load Management","2009-05-13",null,"2016-06-30","Implementation Plan","000 Version-0"]
[null,null,"MOD","MOD-021-0.1","Documentation of the Accounting Methodology for the Effects of Controllable Demand-Side Management in Demand and Energy Forecasts","2009-12-10",null,"2011-03-31",null,null,"Replaced with MOD-021-1"]
[null,null,"MOD","MOD-021-0","Documentation of the Accounting Methodology for the Effects of Controllable Demand-Side Management in Demand and Energy Forecasts","2007-06-18",null,"2009-12-09",null,null,"Replaced with MOD-021-0.1 (Errata)"]
[null,null,"MOD","MOD-021-1","Documentation of the Accounting Methodology for the Effects of Demand-Side Management in Demand and Energy Forecasts","2011-04-01",null,"2016-06-30","Implementation Plan","Project 2010-12"]
[null,null,"MOD","MOD-024-1","Verification of Generator Gross and Net Real Power Capability",null,null,"2016-06-30","Implementation Plan","Phase III-IV","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"MOD","MOD-025-RFC-01","Verification and Data Reporting of Generator Gross and Net Reactive Power Capability",null,null,"2012-11-07",null,null,"The NERC Board of Trustees withdrew approval of MOD-025-RFC-01 at its meeting on November 7, 2012."]
[null,null,"MOD","MOD-025-1","Verification of Generator Gross and Net Reactive Power Capability",null,null,"2016-06-30","Implementation Plan","Phase III-IV","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"MOD","MOD-028-1 ","Area Interchange Methodology","2011-04-01",null,"2013-09-30",null,null,"Replaced with MOD-028-2"]
[null,null,"MOD","MOD-029-1","Rated System Path Methodology",null,null,"2010-09-16",null,null,"Replaced with MOD-029-1a (Interpretation of R5 and R6)"]
[null,null,"MOD","MOD-029-1a","Rated System Path Methodology","2011-04-01",null,"2017-03-31","Implementation Plan","Project 2006-07","Medium VRFs for Requirements [R1-R5 and R7] were approved by FERC on June 24, 2013 (see N. Am. Elec. Reliability Corp., 143 FERC ¶ 61,269 at P 7)."]
[null,null,"MOD","MOD-030-2","Flowgate Methodology","2011-04-01",null,"2017-03-31","Implementation Plan","Project 2006-07"]
[null,null,"MOD","MOD-030-1","Flowgate Methodology",null,null,"2009-11-24",null,null,"Withdrawn. FERC approved NERC's petition to withdraw its request for approval (Order 729)"]
[null,null,"MOD","MOD-031-1","Demand and Energy Data","2016-07-01",null,"2016-09-30","Implementation Plan ","Project 2010-04"]
[null,null,"NUC","NUC-001-1","Nuclear Plant Interface Coordination",null,null,"2010-03-31",null,null,"Replaced with NUC-001-2"]
[null,null,"NUC","NUC-001-2","Nuclear Plant Interface Coordination","2010-04-01",null,"2013-03-31",null,null,"Replaced with NUC-001-2.1 (Please note:the dates are still being established)"]
[null,null,"NUC","NUC-001-2.1(i)","Nuclear Plant Interface Coordination",null,null,"2014-11-13",null,null,"Version developed but never filed for approval."]
[null,null,"NUC","NUC-001-2.1","Nuclear Plant Interface Coordination","2013-04-01",null,"2015-12-31","Implementation Plan","Project 2009-08","Approved by the Standards Committee"]
[null,null,"PER","PER-001-0.1","Operating Personnel Responsibility and Authority","2009-12-10",null,"2012-09-12",null,null,"Replaced by PER-001-0.2 (Errata)"]
[null,null,"PER","PER-001-0.2","Operating Personnel Responsibility and Authority","2012-09-13",null,"2017-03-31","Implementation Plan","Version-0 Reliability Standards"]
[null,null,"PER","PER-001-0","Operating Personnel Responsibility and Authority","2007-06-18",null,"2009-12-09","Implementation Plan","Project 2007-03","Replaced with PER-001-0.1 (Errata)"]
[null,null,"PER","PER-002-0","Operating Personnel Training","2007-06-18",null,"2013-03-31"]
[null,null,"PER","PER-003-0","Operating Personnel Credentials","2007-06-18",null,"2012-09-30","Project_2007-04_PER-003-1_Implementation_Plan_Clean","Project-2007-04-Certifying-System-Operators","Replaced with PER-003-1"]
[null,null,"PER","PER-003-1","Operating Personnel Credentials","2012-10-01",null,"2019-06-30","Project 2007-04-Certifying System Operators-PER-003-1_Implementation_Plan","Project-2007-04-Certifying-System-Operators"]
[null,null,"PER","PER-004-0","Reliability Coordination — Staffing",null,null,"2007-01-01",null,null,"Replaced with PER-004-1 (PER-004-0 was never enforceable)"]
[null,null,"PER","PER-004-1","Reliability Coordination — Staffing","2007-06-18",null,"2011-03-31",null,null,"Replaced with PER-004-2"]
[null,null,"PER","PER-004-2","Reliability Coordination — Staffing","2011-04-01",null,"2019-06-30","Implementation Plan","Project 2006-01","Please note: The effective date in the standard refers to the retirements in PER-004-1."]
[null,null,"PER","PER-005-1","System Personnel Training","2011-04-01",null,"2016-06-30","Implementation Plan","Project 2006-01"]
[null,null,"PRC","PRC-001-0","System Protection Coordination",null,null,"2007-01-01",null,"Project-2007-06_2-System-Protection-Coordination","Replaced with PRC-001-1 (PRC-001-0 was never enforceable)"]
[null,null,"PRC","PRC-001-1","System Protection Coordination","2007-06-18",null,"2013-03-31",null,"Project-2007-06_2-System-Protection-Coordination","Replaced with PRC-001-1.1 (Please note:the dates are still being established)"]
[null,null,"PRC","PRC-001-1.1(i)","System Protection Coordination","2017-04-01",null,"2015-05-28","Implementation Plan","Project 2010-05.2"]
[null,null,"PRC","PRC-001-1.1","System Protection Coordination","2013-04-01",null,"2015-05-28","Implementation Plan","Project-2007-06_2-System-Protection-Coordination","Approved by the Standards Committee"]
[null,null,"PRC","PRC-001-2","System Protection Coordination",null,null,"2016-01-26","Implementation Plan","Project 2007-03"]
[null,null,"PRC","PRC-002-0","Define and Document Disturbance Monitoring Equipment Requirements",null,null,"2007-01-01","Implementation Plan","Project_2007-11_Disturbance_Monitoring","Replaced with PRC-002-1 (PRC-002-0 was never enforceable)"]
[null,null,"PRC","PRC-002-1","Define Regional Disturbance Monitoring and Reporting Requirements",null,null,"2016-06-30","Implementation Plan","Phase III-IV","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"PRC","PRC-002-NPCC-01","Disturbance Monitoring","2013-10-20",null,"2016-07-01","Implementation Plan",null,"This standard has a phased implementation. Please see the Implementation Plan for further compliance date information. This standard was approved by FERC on 10/20/2011."]
[null,null,"PRC","PRC-003-0","Regional Procedure for Transmission Protection System Misoperations",null,null,"2006-05-01",null,null,"Replaced with PRC-003-1 (PRC-003-0 was never enforceable)"]
[null,null,"PRC","PRC-003-1","Regional Procedure for Analysis of Misoperations of Transmission and Generation Protection Systems",null,null,"2016-06-30","Implementation Plan","Phase III-IV","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"PRC","PRC-004-0","Analysis and Reporting of Transmission Protection System Misoperations",null,null,"2006-08-01",null,null,"Replaced with PRC-004-1 (PRC-004-0 was never enforceable)"]
[null,null,"PRC","PRC-004-1a","Analysis and Mitigation of Transmission and Generation Protection System Misoperations","2011-09-26",null,"2012-03-31","Implementation Plan","Project2010-05 Protection System Misoperations","Replaced with PRC-004-2a"]
[null,null,"PRC","PRC-004-1","Analysis and Mitigation of Transmission and Generation Protection System Misoperations","2007-06-18",null,"2011-09-25",null,"Project2009-17 Interpretation PRC-004_PRC-005","Replaced with PRC-004-1a (Interpretation of R1 and R3)"]
[null,null,"PRC","PRC-004-2a","Analysis and Mitigation of Transmission and Generation Protection System Misoperations","2012-04-01",null,"2013-11-24","Project 2010-12_Implementation_Plan_Clean","Project 2010-12","Replaced with PRC-004-2.1a"]
[null,null,"PRC","PRC-004-2","Analysis and Mitigation of Transmission and Generation Protection System Misoperations",null,null,"2011-09-25","Implementation_Plan_2010","Project2010-12_Order-693_Directives","Replaced with PRC-004-2a upon FERC approval of the interpretation of R1 and R3"]
[null,null,"PRC","PRC-004-WECC-1","Protection System and Remedial Action Scheme Misoperation","2011-10-01",null,"2017-03-31",null,"WECC"]
[null,null,"PRC","PRC-004-2.1a","Analysis and Mitigation of Transmission and Generation Protection System Misoperations","2013-11-25",null,"2015-05-28","Implementation Plan","Project 2014-01"]
[null,null,"PRC","PRC-004-2.1(i)a","Analysis and Mitigation of Transmission and Generation Protection System Misoperations","2015-05-29",null,"2016-06-30","Implementation Plan","Project 2014-01"]
[null,null,"PRC","PRC-004-3(i)","Protection System Misoperation Identification and Correction","2016-07-01",null,"2016-06-30","Implementation_Plan","Project Page","The Implementation Plan for PRC-004-4 provides that PRC-004-4 becomes enforceable on the effective date for PRC-004-3 while simultaneously retiring PRC-004-3. Because of this, PRC-004-3(i) will never become enforceable."]
[null,null,"PRC","PRC-004-3","Protection System Misoperation Identification and Correction","2016-07-01",null,"2016-06-30","Implementation Plan","Project 2010-05.1","The Implementation Plan for PRC-004-4 provides that PRC-004-4 becomes enforceable on the effective date for PRC-004-3 while simultaneously retiring PRC-004-3. Because of this, PRC-004-3 will never become enforceable."]
[null,null,"PRC","PRC-004-4(i)","Protection System Misoperation Identification and Correction","2016-07-01",null,"2017-04-01","Implementation Plan","Project 2014-01"]
[null,null,"PRC","PRC-004-4","Protection System Misoperation Identification and Correction",null,null,"2016-06-30","Implementation Plan","Project 2014-01","PRC-004-4 was superseded by PRC-004-4(i) and will never be enforceable."]
[null,null,"PRC","PRC-004-5","Protection System Misoperation Identification and Correction","2017-04-02",null,"2017-04-01","Implementation Plan","Project 2008-02.2","PRC-004-5 was superseded by PRC-004-5(i) and will never be enforceable."]
[null,null,"PRC","PRC-005-0","Transmission Protection System Maintenance and Testing",null,null,"2006-05-01",null,null,"Replaced with PRC-005-1 (PRC-005-0 was never enforceable)"]
[null,null,"PRC","PRC-005-1a","Transmission and Generation Protection System Maintenance and Testing","2011-09-26",null,"2012-03-13",null,null,"Replaced with PRC-005-1b (Interpretation of R1, R1.1, and R1.2)"]
[null,null,"PRC","PRC-005-1","Transmission and Generation Protection System Maintenance and Testing","2007-06-18",null,"2011-09-25",null,null,"Replaced with PRC-005-1a (Interpretation of R1 and R2)"]
[null,null,"PRC","PRC-005-1b","Transmission and Generation Protection System Maintenance and Testing","2012-03-14",null,"2013-11-24",null,null,"Replaced with PRC-005-1.1b"]
[null,null,"PRC","PRC-005-2(ii)","Protection System Maintenance","2017-04-01",null,"2015-12-31","Implementation Plan","Project 2010-05.2","Retired by PRC-005-6; PRC-005-2(ii) was never enforceable"]
[null,null,"PRC","PRC-005-2(i)","Protection System Maintenance","2015-05-29",null,"2016-12-31","Implementation Plan","Project 2014-01","To be retired 12/31/2016 by PRC-005-6 Implementation Plan."]
[null,null,"PRC","PRC-005-2","Protection System Maintenance","2015-04-01",null,"2015-05-28","Implementation Plan","Project 2007-17","The enforcement date for PRC-005-2 has been corrected from the date first posted. The enforcement date for PRC-005-2 will be April 1, 2015, which is the first date entities must be compliant with part of the standard. The implemen"]
[null,null,"PRC","PRC-005-3(ii)","Protection System and Automatic Reclosing Maintenance","2017-04-01",null,"2015-12-31","Implementation Plan","Project 2007-03","Retired by PRC-005-6; PRC-005-3(ii) was never enforceable."]
[null,null,"PRC","PRC-005-3(i)","Protection System and Automatic Reclosing Maintenance",null,null,"2015-12-31","Implementation Plan","Project 2014-01","Retired by PRC-005-6; PRC-005-3(i) was never enforceable."]
[null,null,"PRC","PRC-005-3","Protection System and Automatic Reclosing Maintenance",null,null,"2015-12-31","Implementation Plan","Project 2007-17.2","Retired by PRC-005-6; PRC-005-3 was never enforceable."]
[null,null,"PRC","PRC-005-4","Protection System, Automatic Reclosing, and Sudden Pressure Relaying Maintenance",null,null,"2015-12-31","Implementation Plan","Project 2007-03","Retired by PRC-005-6; PRC-005-4 was never enforceable."]
[null,null,"PRC","PRC-005-5","Protection System, Automatic Reclosing, and Sudden Pressure Relaying  Maintenance",null,null,"2015-12-31","Implementation Plan","Project 2014-01","Approved by Board of Trustees; replaced and retired by PRC-005-6; PRC-005-5 was never enforceable."]
[null,null,"PRC","PRC-006-0","Development and Documentation of Regional Reliability Organizations’ Underfrequency Load Shedding Programs",null,null,"2013-09-30",null,null,"This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information. Replaced with PRC-006-1."]
[null,null,"PRC","PRC-006-1","Automatic Underfrequency Load Shedding","2013-10-01",null,"2015-09-30","Implementation Plan","Project 2007-01","Parts 4.1 through 4.6 of Requirement R4 will be enforceable one year following the receipt of the generation data required in Reliability Standard PRC-024-1 (once approved and enforceable), but no sooner than October 1, 2013."]
[null,null,"PRC","PRC-006-SERC-01","Automatic Underfrequency Load Shedding Requirements","2014-04-01",null,"2017-12-31","Implementation Plan","SERC"]
[null,null,"PRC","PRC-006-2","Automatic Underfrequency Load Shedding","2015-10-01",null,"2017-09-30","Implementation Plan","Project 2008-02","Replaces PRC-006-1"]
[null,null,"PRC","PRC-006-SPP-01","Southwest Power Pool (SPP) Automatic Underfrequency Load Shedding",null,null,"2013-11-07","Implementation Plan","SPP","The NERC BOT withdrew its approval of this standard at its meeting on November 7, 2013."]
[null,null,"PRC","PRC-007-0","Assuring Consistency of Entity Underfrequency Load Shedding Programs with Regional Reliability Organization’s Underfrequency Load Shedding Program Requirements","2007-06-18",null,"2013-09-30","Implementation Plan","Project 2007-01","Replaced with PRC-006-1"]
[null,null,"PRC","PRC-009-0","Analysis and Documentation of Underfrequency Load Shedding Performance Following an Underfrequency Event","2007-06-18",null,"2013-09-30","Implementation Plan","000 Version-0","Replaced with PRC-006-1"]
[null,null,"PRC","PRC-010-0","Technical Assessment of the Design and Effectiveness of Undervoltage Load Shedding Program","2007-06-18",null,"2017-03-31","Implementation Plan","000 - Version 0"]
[null,null,"PRC","PRC-010-1","Undervoltage Load Shedding","2017-04-01",null,"2017-04-01","Implementation Plan","Project 2008-02","Replaces PRC-010-0"]
[null,null,"PRC","PRC-012-0","Special Protection System Review Procedure",null,null,"2017-03-31","Implementation Plan","000 - Version 0 Reliability Standards","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"PRC","PRC-013-0","Special Protection System Database",null,null,"2017-03-31","Implementation Plan","000 - Version 0 Reliability Standards","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"PRC","PRC-014-0","Special Protection System Assessment",null,null,"2017-03-31","Implementation Plan","000 - Version 0 Reliability Standards","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"PRC","PRC-015-0","Special Protection System Data and Documentation","2007-06-18",null,"2017-03-31","Implementation Plan","000 Version-0"]
[null,null,"PRC","PRC-016-0.1","Special Protection System Misoperations","2009-05-13",null,"2017-03-31","Implementation Plan","000 Version-0"]
[null,null,"PRC","PRC-016-0","Special Protection System Misoperations","2007-06-18",null,"2009-05-12",null,null,"Replaced with PRC-016-0.1 (Errata)"]
[null,null,"PRC","PRC-017-0","Special Protection System Maintenance and Testing","2007-06-18",null,"2017-03-31","Implementation Plan","000 Version-0"]
[null,null,"PRC","PRC-019-1","Coordination of Generating Unit or Plant Capabilities, Voltage Regulating Controls,  and Protection","2016-07-01",null,"2016-06-30","Implementation Plan","Project 2007-09","Please see the Implementation Plan for specific compliance dates and timeframes. The standard will become inactive 6/30/16."]
[null,null,"PRC","PRC-020-1","Under-Voltage Load Shedding Program Database",null,null,"2017-03-31",null,"Phase III - IV Planning Standards","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"PRC","PRC-020-2","Under-Voltage Load Shedding Program Database",null,null,"2014-11-13","Implementation Plan","Project 2010-05.2","Version developed but never filed for approval."]
[null,null,"PRC","PRC-021-1","Under-Voltage Load Shedding Program Data","2007-06-18",null,"2017-03-31",null,"Phase III-IV"]
[null,null,"PRC","PRC-021-2","Under-Voltage Load Shedding Program Data",null,null,"2014-11-13","Implementation Plan","Project 2010-05.2","Version developed but never filed for approval."]
[null,null,"PRC","PRC-022-1","Under-Voltage Load Shedding Program Performance","2007-06-18",null,"2017-03-31",null,"Phase III-IV"]
[null,null,"PRC","PRC-023-1","Transmission Relay Loadability","2010-07-01",null,"2012-06-30","Implementation Plan","Project 2010-13.1","Replaced with PRC-023-2 R1"]
[null,null,"PRC","PRC-023-2","Transmission Relay Loadability","2012-07-01",null,"2014-09-30","Implementation Plan","Project 2010-13.3","R1, Criterion 6 remains active through the implementation plan of PRC-025-1"]
[null,null,"PRC","PRC-023-3","Transmission Relay Loadability","2014-10-01",null,"2017-03-31","Implementation Plan","Project 2010-13.2"]
[null,null,"PRC","PRC-024-1","Generator Frequency and Voltage Protective Relay Settings","2016-07-01",null,"2016-06-30","Implementation Plan","Generator Frequency and Voltage Protective Relay Settings","Please see the Implementation Plan for specific compliance dates and timeframes. The standard become inactive 6/30/16."]
[null,null,"PRC","PRC-025-1","Generator Relay Loadability","2014-10-01",null,"2018-06-30","Implementation Plan","Project 2010-13.2","See Implementation Plan. For applicable relays where the entity has determined replacement or removal is not necessary, the entity shall be compliant by 10/1/2019. For applicable relays where the entity has determined replacement "]
[null,null,"PRC","PRC-STD-001-1","Certification of Protective Relay Applications and Settings (WECC)","2007-06-18",null,"2011-09-30",null,null,"Replaced with PRC-004-WECC-1"]
[null,null,"PRC","PRC-STD-003-1","Protective Relay and Remedial Action Scheme Misoperation (WECC)","2007-06-18",null,"2011-09-30",null,null,"Replaced with PRC-004-WECC-1"]
[null,null,"PRC","PRC-STD-005-1","Transmission Maintenance (WECC)","2007-06-18",null,"2011-06-30",null,null,"Replaced with FAC-501-WECC-1"]
[null,null,"TOP","TOP-001-0","Reliability Responsibilities and Authorities",null,null,"2007-01-01",null,null,"Replaced with TOP-001-1 (TOP-001-0 was never enforceable)"]
[null,null,"TOP","TOP-001-1a","Reliability Responsibilities and Authorities","2011-11-21",null,"2017-03-31",null,"Project 2009-31"]
[null,null,"TOP","TOP-001-1","Reliability Responsibilities and Authorities","2007-06-18",null,"2011-11-20",null,null,"Replaced with TOP-001-1a (Interpretation of R8)"]
[null,null,"TOP","TOP-001-2","Transmission Operations",null,null,"2016-01-26","Implementation Plan","Project 2007-03"]
[null,null,"TOP","TOP-001-3","Transmission Operations","2017-04-01",null,"2018-06-30","Implementation Plan","Project 2014-03","TOP-001-3 replaces TOP-001-1a"]
[null,null,"TOP","TOP-002-0","Normal Operations Planning",null,null,"2007-08-07",null,null,"This standard was never enforceable"]
[null,null,"TOP","TOP-002-1","Normal Operations Planning",null,null,"2007-01-01",null,null,"Replaced with TOP-002-2 (TOP-002-1 was never enforceable)"]
[null,null,"TOP","TOP-002-2.1b","Normal Operations Planning","2012-09-13",null,"2017-03-31",null,"Project 2009-31"]
[null,null,"TOP","TOP-002-2a","Normal Operations Planning","2009-12-02",null,"2011-10-19",null,null,"Replaced with TOP-002-2b (Interpretation of R10)"]
[null,null,"TOP","TOP-002-2b","Normal Operations Planning","2011-10-20",null,"2012-09-12",null,null,"Replaced by TOP-002-2.1b (Errata)"]
[null,null,"TOP","TOP-002-2","Normal Operations Planning","2007-06-18",null,"2009-12-01",null,null,"Replaced with TOP-002-2a (Interpretation of R11)"]
[null,null,"TOP","TOP-002-3","Operations Planning",null,null,"2016-01-26","Implementation Plan","Project 2007-03"]
[null,null,"TOP","TOP-003-0","Planned Outage Coordination","2007-06-18",null,"2011-09-30",null,null,"Replaced with TOP-003-1"]
[null,null,"TOP","TOP-003-1","Planned Outage Coordination","2011-10-01",null,"2017-03-31","Implementation Plan","IROL"]
[null,null,"TOP","TOP-003-2","Operational Reliability Data",null,null,"2016-01-26","Implementation Plan","Project 2007-03"]
[null,null,"TOP","TOP-004-0","Transmission Operations",null,null,"2005-04-01",null,null,"Replaced with TOP-004-1 (TOP-004-0 was never enforceable)"]
[null,null,"TOP","TOP-004-2","Transmission Operations","2009-01-22",null,"2017-03-31","Implementation Plan","Project 2007-03"]
[null,null,"TOP","TOP-004-1","Transmission Operations","2007-06-18",null,"2009-01-21",null,null,"Replaced with TOP-004-2 – a conformed version that merged the two versions of TOP-004-1"]
[null,null,"TOP","TOP-005-0","Operational Reliability Information",null,null,"2006-11-01",null,null,"Replaced with TOP-005-1 (TOP-005-0 was never enforceable)"]
[null,null,"TOP","TOP-005-1.1a","Operational Reliability Information","2011-05-26",null,"2011-09-30",null,null,"Replaced with TOP-005-2a (Interpretation of R2 (formerly R3))"]
[null,null,"TOP","TOP-005-1.1","Operational Reliability Information","2009-05-13",null,"2011-05-25",null,null,"Replaced with TOP-005-1.1a (Interpretation of R3)"]
[null,null,"TOP","TOP-005-2a","Operational Reliability Information","2011-10-01",null,"2017-03-31","Implementation Plan","IROL"]
[null,null,"TOP","TOP-005-2","Operational Reliability Information",null,null,"2011-05-25",null,null,"Replaced with TOP-005-2a (Interpretation of R2 (formerly R3))"]
[null,null,"TOP","TOP-005-1","Operational Reliability Information","2007-06-18",null,"2009-05-12",null,null,"Replaced with TOP-005-1.1 (Errata)"]
[null,null,"TOP","TOP-005-3a","Operational Reliability Information",null,null,"2014-11-13","Implementation Plan","Project 2010-05.2","Version developed but never filed for approval."]
[null,null,"TOP","TOP-006-0","Monitoring System Conditions",null,null,"2007-01-01","Implementation Plan",null,"Replaced with TOP-006-1 (TOP-006-0 was never enforceable)"]
[null,null,"TOP","TOP-006-1","Monitoring System Conditions","2007-06-18",null,"2011-09-30","Implementation Plan","Real-time Operations Project 2007-03","Replaced with TOP-006-2"]
[null,null,"TOP","TOP-006-3","Monitoring System Conditions",null,null,"2015-03-18","Implementation Plan","Interpretation 2010-INT-01 Rapid Revision of TOP-006-2 for FMPP"]
[null,null,"TOP","TOP-006-2","Monitoring System Conditions","2011-10-01",null,"2017-03-31","Implementation Page","Project Page"]
[null,null,"TOP","TOP-007-0","Reporting System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) Violations","2007-06-18",null,"2017-03-31","Implementation Page","Project 2007-03 Real-time Transmission Operations"]
[null,null,"TOP","TOP-007-WECC-1","System Operating Limits","2011-07-01",null,"2014-06-17",null,null,"Replaced with TOP-007-WECC-1a"]
[null,null,"TOP","TOP-007-WECC-1a","System Operating Limits","2014-06-18",null,"2017-03-10",null,"WECC"]
[null,null,"TOP","TOP-008-0","Response to Transmission Limit Violations",null,null,"2007-01-01",null,"Real-time_Operations_Project_2007-03","Replaced with TOP-006-1 (TOP-008-0 was never enforceable)"]
[null,null,"TOP","TOP-008-1","Response to Transmission Limit Violations","2007-06-18",null,"2017-03-31"]
[null,null,"TOP","TOP-010-1","Real-time Reliability Monitoring and Analysis Capabilities",null,null,"2018-03-31","Implementation Plan","Project 2009-02","TOP-010-1(i) will be enforceable 4/1/2018, therefore TOP-010-1 will never be enforceable."]
[null,null,"TOP","TOP-STD-007-0","Operating Transfer Capability (WECC)","2007-06-18",null,"2011-06-30",null,null,"Replaced with TOP-007-WECC-1"]
[null,null,"TPL","TPL-001-0.1","System Performance Under Normal (No Contingency) Conditions (Category A)","2009-05-13",null,"2015-12-31",null,"000 Version-0","Will be replaced by TPL-001-4 (R2 through R6 and R8). The inactive date for TPL-001-0.1 is 12/31/2015. Please see the details link for TPL-001-4 for more information."]
[null,null,"TPL","TPL-001-1","System Performance Under Normal (No Contingency) Conditions (Category A)",null,null,"2012-07-06",null,null,"FERC remanded this standard in an Order issued on April 19, 2012, effective July 6, 2012."]
[null,null,"TPL","TPL-001-2","Transmission System Planning Performance Requirements",null,null,"2013-12-23","Implementation Page","Project Page","Will be replaced by TPL-001-4 (R2 through R6 and R8) on 1/1/16. Please see the details link for TPL-001-4 for more information."]
[null,null,"TPL","TPL-001-3","System Performance Under Normal (No Contingency) Conditions (Category A)",null,null,"2014-12-31","Implementation Page","Project Page","Superseded by FERC Approval of TPL-001-4. TPL-001-3 was created after the Board of Trustees approved the revised footnote ‘b’ in TPL-002-2b, which was balloted and appended to: TPL-001-0.1, TPL-002-0b, TPL-003-0a, and TPL-004-0."]
[null,null,"TPL","TPL-001-0","System Performance Under Normal (No Contingency) Conditions (Category A)","2007-06-18",null,"2009-05-12",null,null,"Replaced with TPL-001-0.1 (Errata)"]
[null,null,"TPL","TPL-001-0.1(i)","System Performance Under Normal (No Contingency) Conditions (Category A)",null,null,"2015-12-31","Implementation Plan","Project 2010-05.2"]
[null,null,"TPL","TPL-002-0a","System Performance Following Loss of a Single Bulk Electric System Element (Category B)","2010-04-23",null,"2011-10-23",null,null,"Replaced with TPL-002-0b (Interpretation of R1.3 and R1.3.10)"]
[null,null,"TPL","TPL-002-0b","System Performance Following Loss of a Single Bulk Electric System Element (Category B)","2011-10-24",null,"2015-12-31",null,"Project 2007-24","Will be replaced by TPL-001-4 (R2 through R6 and R8). The inactive date for TPL-002-0b is 12/31/2015. Please see the details link for TPL-001-4 for more information."]
[null,null,"TPL","TPL-002-0","System Performance Following Loss of a Single Bulk Electric System Element (Category B)","2007-06-18",null,"2010-04-22","Implementation Plan","Project Page","Replaced with TPL-002-0a (Ameren and MISO Request for Interpretation of TPL-002-0, Requirements 1.3.2 and 1.3.12)"]
[null,null,"TPL","TPL-002-1b","System Performance Following Loss of a Single Bulk Electric System Element (Category B)",null,null,"2012-07-06",null,"Project2010-11-TPL","FERC remanded this standard in an Order issued on April 19, 2012, effective July 6, 2012."]
[null,null,"TPL","TPL-002-2b","System Performance Following Loss of a Single Bulk Electric System Element (Category B)",null,null,"2014-12-31","Implementation Plan","Project2010-11-TPL","Superseded by FERC Approval of TPL-001-4."]
[null,null,"TPL","TPL-002-0(i)b","System Performance Following Loss of a Single Bulk Electric System Element (Category B)",null,null,"2015-12-31","Implementation Plan","Project 2010-05.2"]
[null,null,"TPL","TPL-003-0a","System Performance Following Loss of Two or More Bulk Electric System Elements (Category C)","2010-04-23",null,"2013-06-19","TPL003-0(i)b-Implementation_Plan_for_Revised_Definition_of_RAS_11132014","Project-2010-05.2","Replaced with TPL-003-0b"]
[null,null,"TPL","TPL-003-0","System Performance Following Loss of Two or More Bulk Electric System Elements (Category C)","2007-06-18",null,"2010-04-22","Prjct201005.2-Implementation_Plan","Project-2010-05.2-Special-Protection-Systems","Replaced with TPL-003-0a (Ameren and MISO Request for Interpretation of TPL-003-0, Requirements 1.3.2 and 1.3.12)"]
[null,null,"TPL","TPL-003-1a","System Performance Following Loss of Two or More Bulk Electric System Elements (Category C)",null,null,"2012-07-06",null,"Project2010-11-TPL-Table-1","FERC remanded this standard in an Order issued on April 19, 2012, effective July 6, 2012."]
[null,null,"TPL","TPL-003-2a","System Performance Following Loss of Two or More Bulk Electric System Elements (Category C)",null,null,"2014-12-31",null,"Project2010-11-TPL","Superseded by FERC Approval of TPL-001-4. TPL-003-2a was created after the Board of Trustees approved the revised footnote ‘b’ in TPL-002-2b, which was balloted and appended to: TPL-001-0.1, TPL-002-0b, TPL-003-0a, and TPL-004-0."]
[null,null,"TPL","TPL-003-2b","System Performance Following Loss of Two or More Bulk Electric System Elements (Category C)",null,null,"2013-12-23",null,"Project2010-11-TPL-Table","Superseded by FERC Approval of TPL-001-4."]
[null,null,"TPL","TPL-003-0b","System Performance Following Loss of Two or More Bulk Electric System Elements (Category C)","2013-06-20",null,"2015-12-31","Implementation Plan","000 Version-0","Will be replaced by TPL-001-4 (R2 through R6 and R8). The inactive date for TPL-003-0b is 12/31/2015.Please see the details link for TPL-001-4 for more information."]
[null,null,"TPL","TPL-003-0(i)b","System Performance Following Loss of Two or More Bulk Electric System Elements (Category C)",null,null,"2015-12-31","Implementation Plan","Project 2010-05.2"]
[null,null,"TPL","TPL-004-0","System Performance Following Extreme Events Resulting in the Loss of Two or More Bulk Electric System Elements (Category D)","2007-06-18",null,"2013-06-19","Version 0 Reliability Standards - Implementation Plan","Version-0 Reliability Standards","Replaced with TPL-004-0a"]
[null,null,"TPL","TPL-004-1","System Performance Following Extreme Events Resulting in the Loss of Two or More Bulk Electric System Elements (Category D)",null,null,"2012-07-06",null,null,"FERC remanded this standard in an Order issued on April 19, 2012, effective July 6, 2012."]
[null,null,"TPL","TPL-004-2a","System Performance Following Extreme Events Resulting in the Loss of Two or More Bulk Electric System Elements (Category D)",null,null,"2013-12-23",null,"TPL-004-2a-Project Page","Superseded by FERC Approval of TPL-001-4."]
[null,null,"TPL","TPL-004-2","System Performance Following Extreme Events Resulting in the Loss of Two or More Bulk Electric System Elements (Category D)",null,null,"2014-12-31",null,null,"Superseded by FERC Approval of TPL-001-4. TPL-004-2 was created after the Board of Trustees approved the revised footnote ‘b’ in TPL-002-2b, which was balloted and appended to: TPL-001-0.1, TPL-002-0b, TPL-003-0a, and TPL-004-0."]
[null,null,"TPL","TPL-004-0a","System Performance Following Extreme Events Resulting in the Loss of Two or More Bulk Electric System Elements (Category D)","2013-06-20",null,"2015-12-31","Version 0 Reliability Standards Implementation Plan","000 Version-0","Will be replaced by TPL-001-4 (R2 through R6 and R8). The inactive date for TPL-004-0a is 12/31/2015. Please see the details link for TPL-001-4 for more information."]
[null,null,"TPL","TPL-004-0(i)a","System Performance Following Extreme Events Resulting in the Loss of Two or More Bulk Electric System Elements (Category D)",null,null,"2015-12-31","Implementation Plan","Project 2010-05.2"]
[null,null,"TPL","TPL-005-0","Regional and Interregional Self-Assessment Reliability Reports",null,null,"2014-12-31","Version-0 Reliability Standards Implementation Plan","Version-0 Reliability Standards Project Page","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"TPL","TPL-006-0.1","Data From the Regional Reliability Organization Needed to Assess Reliability",null,null,"2014-12-31",null,"Reliability Standards Errata Project Page","This standard has not been filed with FERC for approval because TPL-006-0 has not been approved by FERC."]
[null,null,"TPL","TPL-006-0","Data From the Regional Reliability Organization Needed to Assess Reliability",null,null,"2009-04-15","Version-0 Reliability Standards Implementation Plan","Version-0 Reliability Standards Project Page","This Standard was not approved by FERC in Order 693. See Standards Under Development page or Reliability Standards Development Plan for more information."]
[null,null,"TPL","TPL-007-1","Transmission System Planned Performance for Geomagnetic Disturbance Events","2017-07-01",null,"2019-06-30","Implementation Plan","Project 2013-03"]
[null,null,"TPL","TPL-007-2","Transmission System Planned Performance for Geomagnetic Disturbance Events","2019-07-01",null,"2019-06-30","Implementation Plan","Project 2013-03","TPL-007-3 will supersede TPL-007-2 in the U.S. All phased-in compliance dates are carried forward unchanged."]
[null,null,"VAR","VAR-001-0","Voltage and Reactive Control",null,null,"2007-01-01",null,null,"Replaced with VAR-001-1 (VAR-001-0 was never enforceable)"]
[null,null,"VAR","VAR-001-1","Voltage and Reactive Control","2007-06-18",null,"2011-09-30",null,null,"Replaced with VAR-001-2"]
[null,null,"VAR","VAR-001-2","Voltage and Reactive Control","2011-10-01",null,"2013-12-31","Implementation Plan","Project 2010-12","Replaced with VAR-001-3"]
[null,null,"VAR","VAR-001-1a","Voltage and Reactive Control",null,null,"2009-05-21",null,null,"FERC approved withdraw and remand of the interpretation"]
[null,null,"VAR","VAR-001-3","Voltage and Reactive Control","2014-01-01",null,"2014-09-30","Implementation Plan","Project 2010-12"]
[null,null,"VAR","VAR-001-4.1","Voltage and Reactive Control","2015-11-13",null,"2017-09-25","Implementation Plan","Project 2013-04","Replaces VAR-001-4"]
[null,null,"VAR","VAR-001-4.2","Voltage and Reactive Control","2017-09-26",null,"2018-12-31","Implementation Plan","Project 2016-EPR-02","VAR-001-4.2 replaces VAR-001-4.1. VAR-001-4 became effective October 1, 2014; VAR-001-4.1 replaced VAR-001-4 on 11/13/2015 due to an errata approved by FERC; VAR-001-4.2 replaced VAR-001-4.1 on 9/26/2017 due to an errata approved "]
[null,null,"VAR","VAR-001-4","Voltage and Reactive Control","2014-10-01",null,"2015-11-12","Implementation Plan","Project 2013-04"]
[null,null,"VAR","VAR-002-1.1a","Generator Operation for Maintaining Network Voltage Schedules","2009-05-13",null,"2010-09-15",null,null,"Replaced with VAR-002-1.1b (Interpretation of VAR-002-1a)"]
[null,null,"VAR","VAR-002-1.1b","Generator Operation for Maintaining Network Voltage Schedules","2010-09-16",null,"2013-06-30",null,"Project 2008-11","Replaced with VAR-002-2b"]
[null,null,"VAR","VAR-002-1","Generator Operation for Maintaining Network Voltage Schedules","2007-08-02",null,"2008-08-26",null,null,"Replaced with VAR-002-1a (Interpretation of VAR-002-1, Requirements 1 and 2)"]
[null,null,"VAR","VAR-002-2b","Generator Operation for Maintaining Network Voltage Schedules","2013-07-01",null,"2014-09-30","Implementation Plan","Project 2011-INT-02"]
[null,null,"VAR","VAR-002-WECC-1","Automatic Voltage Regulators (AVR)","2011-07-01",null,"2015-03-31",null,"WECC"]
[null,null,"VAR","VAR-002-1a","Generator Operation for Maintaining Network Voltage Schedules","2008-08-27",null,"2009-05-12",null,null,"Replaced with VAR-002-1.1a (Errata)"]
[null,null,"VAR","VAR-002-3","Generator Operation for Maintaining Network Voltage Schedules","2014-10-01",null,"2015-05-28","Implementation Plan","Project 2013-04"]
[null,null,"VAR","VAR-002-4","Generator Operation for Maintaining Network Voltage Schedules","2015-05-29",null,"2017-09-25","Implementation Plan","Project 2014-01","Replaces VAR-002-3"]
[null,null,"VAR","VAR-002-WECC-2","Automatic Voltage Regulators (AVR)","2015-04-01",null,"2018-09-05","Implementation Plan","WECC","Replaces VAR-002-WECC-1."]
[null,null,"VAR","VAR-501-WECC-1","Power System Stabilizer (PSS)","2011-07-01",null,"2015-03-31",null,"WECC"]
[null,null,"VAR","VAR-501-WECC-2","Power System Stabilizer (PSS)","2015-04-01",null,"2017-06-30","Implementation Plan","WECC"]
[null,null,"VAR","VAR-501-WECC-3","Power System Stabilizer (PSS)","2017-07-01",null,"2017-09-25","Implementation Plan","Regional Reliability Standards Under Development","Requirement R3 has an effective date of July 1, 2017 for first-time service after regulatory approval; R3 has an effective date of July 1, 2022 for units placed in service prior to final regulatory approval."]
[null,null,"VAR","VAR-STD-002a-1","Automatic Voltage Regulators (WECC)","2007-06-18",null,"2011-06-30",null,null,"Replaced with VAR-002-WECC-1"]
[null,null,"VAR","VAR-STD-002b-1","Power System Stabilizer (WECC)","2007-06-18",null,"2011-06-30",null,null,"Replaced with VAR-501-WECC-1"]