## US Mandatory Standards Subject
United States - Mandatory Standards Subject to Enforcement
Family | Standard Version | Title | Effective Date of Standard | Phased-in Compliance | Inactive Date of Standard | Implementation Plan | Project Page | Public Notes
BAL | BAL-001-2 | Real Power Balancing Control Performance | 2016-07-01 |  |  | Implementation Plan | Project 2010-14.1 | Replaced BAL-001-1
BAL | BAL-001-TRE-2 | Primary Frequency Response in the ERCOT Region | 2020-07-01 |  |  | Implementation Plan | Texas RE
BAL | BAL-002-3 | Disturbance Control Standard – Contingency Reserve for Recovery from a Balancing Contingency Event | 2019-04-01 |  |  | Implementation Plan | Project 2017-06 | Replaces BAL-002-2(i).
BAL | BAL-002-WECC-3 | Contingency Reserve | 2021-06-28 |  |  | Implementation Plan | WECC
BAL | BAL-003-2 | Frequency Response and Frequency Bias Setting | 2020-12-01 |  |  | Implementation Plan | Project 2017-01
BAL | BAL-004-WECC-3 | Automatic Time Error Correction | 2018-10-01 |  |  | Implementation Plan | WECC
BAL | BAL-005-1 | Balancing Authority Control | 2019-01-01 |  |  | Implementation Plan | Project 2010-14.2.1 | BAL-005-1 will replace BAL-005-0.2b and BAL-006-2
BAL | BAL-502-RF-03 | Planning Resource Adequacy Analysis, Assessment and Documentation | 2018-01-01 |  |  | Implementation Plan | RF | Replaces BAL-502-RFC-02
CIP | CIP-002-5.1a | Cyber Security — BES Cyber System Categorization | 2016-12-27 |  |  | Implementation Plan | Project 2015-INT-01 | CIP-002-5.1a replaced CIP-002-5.1
CIP | CIP-003-8 | Cyber Security — Security Management Controls | 2020-04-01 |  | 2026-03-31 | Implementation Plan | Project 2016-02
CIP | CIP-004-6 | Cyber Security — Personnel & Training | 2016-07-01 | X | 2023-12-31 | Implementation Plan | Project 2014-02 | Located under Key Resources: CIP V5 Effective Dates
CIP | CIP-005-7 | Cyber Security — Electronic Security Perimeter(s) | 2022-10-01 |  |  | Implementation Plan | Project 2019-03
CIP | CIP-006-6 | Cyber Security — Physical Security of BES Cyber Systems | 2016-07-01 | X |  | Implementation Plan | Project 2014-02 | See Implementation Plan for Compliance dates. See also CIP V5 Effective Dates here under Key Resources: http://www.nerc.com/pa/CI/Pages/Transition-Program.aspx
CIP | CIP-007-6 | Cyber Security — System Security Management | 2016-07-01 | X |  | Implementation Plan | Project 2014-02 | See Key Resources: http://www.nerc.com/pa/CI/Pages/Transition-Program.aspx
CIP | CIP-008-6 | Cyber Security — Incident Reporting and Response Planning | 2021-01-01 | X |  | Implementation Plan | Project 2018-02
CIP | CIP-009-6 | Cyber Security — Recovery Plans for BES Cyber Systems | 2016-07-01 | X |  | Implementation Plan | Project 2014-02 | Located under Key Resources: CIP V5 Effective Dates
CIP | CIP-010-4 | Cyber Security — Configuration Change Management and Vulnerability Assessments | 2022-10-01 |  |  | Implementation Plan | Project 2019-03
CIP | CIP-011-2 | Cyber Security — Information Protection | 2016-07-01 | X | 2023-12-31 | Implementation Plan | Project 2014-02
CIP | CIP-012-1 | Cyber Security – Communications between Control Centers | 2022-07-01 |  |  | Implementation Plan | Project 2016-02
CIP | CIP-013-2 | Cyber Security - Supply Chain Risk Management | 2022-10-01 |  |  | Implementation Plan | Project 2019-03
CIP | CIP-014-3 | Physical Security | 2022-06-16 | X
COM | COM-001-3 | Communications | 2017-10-01 |  |  | Implementation Plan | Project 2015-07 | Replaces COM-001-2.1
COM | COM-002-4 | Operating Personnel Communications Protocols | 2016-07-01 |  |  | Implementation Plan | Project 2007-02 | Replaces COM-002-3
EOP | EOP-004-4 | Event Reporting | 2019-04-01 |  |  | Implementation Plan | Project 2015-08 | Replaces EOP-004-3
EOP | EOP-005-3 | System Restoration from Blackstart Resources | 2019-04-01 |  |  | Implementation Plan | Project 2015-08 | Replaced EOP-005-2
EOP | EOP-006-3 | System Restoration Coordination | 2019-04-01 |  |  | Implementation Plan | Project 2015-08 | Replaces EOP-006-2
EOP | EOP-008-2 | Loss of Control Center Functionality | 2019-04-01 |  |  | Implementation Plan | Project 2015-08 | Replaces EOP-008-1
EOP | EOP-010-1 | Geomagnetic Disturbance Operations | 2015-04-01 | X |  | Implementation Plan | Project 2013-03 | A FERC order was issued on June 19, 2014, approving EOP-010-1. Requirement 2 of Reliability Standard EOP-010-1 will not become effective until the first day following retirement of Reliability Standard IRO-005-3.1a.
EOP | EOP-011-2 | Emergency Preparedness and Operations | 2023-04-01 |  |  | Implementation Plan | Project 2019-06 | Retirement Date TBD
FAC | FAC-001-3 | Facility Interconnection Requirements | 2019-01-01 |  | 2023-12-31 | Implementation Plan | Project 2010-14.2.1 | FAC-001-3 replaces FAC-001-2
FAC | FAC-002-3 | Facility Interconnection Studies | 2021-04-01 |  | 2023-12-31 | Implementation Plan | Project 2017-07
FAC | FAC-003-4 | Transmission Vegetation Management | 2016-10-01 |  | 2024-03-31 | Implementation Plan | Project 2010-07.1 | Replaces FAC-003-3
FAC | FAC-008-5 | Facility Ratings | 2021-10-01 |  |  | Implementation Plan | Project 2018-03
FAC | FAC-010-3 | System Operating Limits Methodology for the Planning Horizon | 2017-04-01 | X | 2024-03-31 | Implementation Plan | Project 2010-05.2 | Entities with newly classified “Remedial Action Scheme” (RAS) resulting from the application of the revised definition must be fully compliant with all Reliability Standards applicable RAS twenty-four (24) months from the Effectiv
FAC | FAC-011-3 | System Operating Limits Methodology for the Operations Horizon | 2017-04-01 |  | 2024-03-31 | Implementation Plan | Project 2010-05.2 | Entities with newly classified “Remedial Action Scheme” (RAS) resulting from the application of the revised definition must be fully compliant with all Reliability Standards applicable RAS twenty-four (24) months from the Effectiv
FAC | FAC-014-2 | Establish and Communicate System Operating Limits | 2009-04-29 |  | 2024-03-31 | Implementation Plan | Project 2008-04 | Replaces FAC-014-1
FAC | FAC-501-WECC-2 | Transmission Maintenance | 2018-07-01 |  |  | Implementation Plan | WECC
INT | INT-006-5 | Evaluation of Interchange Transactions | 2021-04-01 |  |  | Implementation Plan | Project 2018-03 | 0
INT | INT-009-3 | Implementation of Interchange | 2021-04-01 |  |  | Implementation Plan | Project 2018-03
IRO | IRO-001-4 | Reliability Coordination – Responsibilities | 2017-04-01 |  |  | Implementation Plan | Project 2014-03 | IRO-001-4 replaces IRO-001-1.1
IRO | IRO-002-7 | Reliability Coordination – Monitoring and Analysis | 2021-04-01 |  |  | Implementation Plan | Project 2018-03
IRO | IRO-006-5 | Reliability Coordination — Transmission Loading Relief (TLR) | 2011-07-01 |  |  | Implementation Plan | Project 2006-08 | Replaces IRO-006-4.1
IRO | IRO-006-EAST-2 | Transmission Loading Relief Procedure for the Eastern Interconnection | 2016-04-01 |  |  | Implementation Plan | Project 2015-06 | Replaces IRO-006-EAST-1
IRO | IRO-006-WECC-3 | Qualified Path Unscheduled Flow (USF) Relief | 2019-10-01 |  |  | Implementation Plan | WECC
IRO | IRO-008-2 | Reliability Coordinator Operational Analyses and Real-time Assessments | 2017-04-01 |  | 2024-03-31 | Implementation Plan | Project 2014-03 | IRO-008-2 replaces IRO-008-1
IRO | IRO-009-2 | Reliability Coordinator Actions to Operate Within IROLs | 2016-01-01 |  |  | Implementation Plan | Project 2015-06 | Replaces IRO-009-1
IRO | IRO-010-4 | Reliability Coordinator Data Specification and Collection | 2023-04-01 |  |  | Implementation Plan | Project 2019-06
IRO | IRO-014-3 | Coordination Among Reliability Coordinators | 2017-04-01 |  |  | Implementation Plan | Project 2014-03 | IRO-014-3 replaces IRO-014-1
IRO | IRO-017-1 | Outage Coordination | 2017-04-01 |  |  | Implementation Plan | Project 2014-03
IRO | IRO-018-1(i) | Reliability Coordinator Real-time Reliability Monitoring and Analysis Capabilities | 2018-04-01 |  |  | Implementation Plan | Project 2009-02 | Replaces IRO-018-1
MOD | MOD-001-1a | Available Transmission System Capability | 2011-04-01 |  |  | Implementation Plan | Project 2012-05 | On September 16, 2010, FERC issued an order (in Docket No. RD10-5-000) approving an interpretation of MOD-001-1, creating MOD-001-1a. The effective date of April 1, 2011 did not change.
MOD | MOD-004-1 | Capacity Benefit Margin | 2011-04-01 |  |  | Implementation Plan | Project 2006-07
MOD | MOD-008-1 | Transmission Reliability Margin Calculation Methodology | 2011-04-01 |  |  | Implementation Plan | Project 2006-07
MOD | MOD-025-2 | Verification and Data Reporting of Generator Real and Reactive Power Capability and Synchronous Condenser Reactive Power Capability | 2016-07-01 |  |  | Implementation Plan | Project 2007-09 | Please see the Implementation Plan for specific compliance dates and timeframes.
MOD | MOD-026-1 | Verification of Models and Data for Generator Excitation Control System or Plant Volt/Var Control Functions | 2014-07-01 | X |  | Implementation Plan | Project 2007-09 | Please see the Implementation Plan for specific compliance dates and timeframes.
MOD | MOD-027-1 | Verification of Models and Data for Turbine/Governor and Load Control or Active Power/Frequency Control Functions | 2014-07-01 | X |  | Implementation Plan | Project 2007-09
MOD | MOD-028-2 | Area Interchange Methodology | 2013-10-01 |  |  | Implementation Plan | Project 2011-INT-01 | Replaces MOD-028-1
MOD | MOD-029-2a | Rated System Path Methodology | 2017-04-01 |  |  | Implementation Plan | Project 2010-05.2 | Entities with newly classified “Remedial Action Scheme” (RAS) resulting from the application of the revised definition must be fully compliant with all Reliability Standards applicable RAS twenty-four (24) months from the Effectiv
MOD | MOD-030-3 | Flowgate Methodology | 2017-04-01 |  |  | Implementation Plan | Project 2010-05.2 | Entities with newly classified “Remedial Action Scheme” (RAS) resulting from the application of the revised definition must be fully compliant with all Reliability Standards applicable RAS twenty-four (24) months from the Effectiv
MOD | MOD-031-3 | Demand and Energy Data | 2021-04-01 |  |  | Implementation Plan | Project 2017-07
MOD | MOD-032-1 | Data for Power System Modeling and Analysis | 2015-07-01 | X |  | Implementation Plan | Project 2010-03 | Please see the implementation plan for specific compliance dates and timeframes.
MOD | MOD-033-2 | Steady-State and Dynamic System Model Validation | 2021-04-01 |  |  | Implementation Plan | Project 2017-07
NUC | NUC-001-4 | Nuclear Plant Interface Coordination | 2021-04-01 |  |  | Implementation Plan | Project 2017-07
PER | PER-003-2 | Operating Personnel Credentials | 2019-07-01 |  |  | Implementation Plan | Project 2017-02
PER | PER-005-2 | Operations Personnel Training | 2016-07-01 |  |  | Implementation Plan | Project 2010-01 | Replaces PER-005-1
PER | PER-006-1 | Specific Training for Personnel | 2021-04-01 |  |  | Implementation Plan | Project 2007-06.2
PRC | PRC-002-2 | Disturbance Monitoring and Reporting Requirements | 2016-07-01 | X | 2024-03-31 | Implementation Plan | Project 2007-11 | See Implementation Plan for phased-in compliance dates.
PRC | PRC-004-6 | Protection System Misoperation Identification and Correction | 2021-04-01 |  |  | Implementation Plan | Project 2018-03
PRC | PRC-005-1.1b | Transmission and Generation Protection System Maintenance and Testing | 2013-11-25 |  | 2027-03-31 | Implementation Plan | Project 2010-07
PRC | PRC-005-6 | Protection System, Automatic Reclosing, and Sudden Pressure Relaying Maintenance | 2016-01-01 |  |  | Implementation Plan | Project 2007-17.4 | Please see the implementation plan for guidance on phased-in enforcement dates.
PRC | PRC-006-5 | Automatic Underfrequency Load Shedding | 2021-04-01 |  |  | Implementation Plan | WECC
PRC | PRC-006-NPCC-2 | Automatic Underfrequency Load Shedding | 2020-04-01 | X |  | Implementation Plan | NPCC
PRC | PRC-006-SERC-03 | Automatic Underfrequency Load Shedding Requirements | 2022-04-01 |  |  | Implementation Plan | SERC
PRC | PRC-008-0 | Implementation and Documentation of Underfrequency Load Shedding Equipment Maintenance Program | 2007-06-18 |  | 2027-03-31 | Implementation Plan | 000 - Version 0 Reliability Standards
PRC | PRC-010-2 | Undervoltage Load Shedding | 2017-04-02 |  |  | Implementation Plan | Project 2008-02.2 | Replaces PRC-010-1
PRC | PRC-011-0 | Undervoltage Load Shedding System Maintenance and Testing | 2007-06-18 |  | 2027-03-31 | Implementation Plan | 000 - Version 0 Reliability Standards
PRC | PRC-012-2 | Remedial Action Schemes | 2021-01-01 |  |  | Implementation Plan | Project 2010-05.3 | PRC-012-2 will replace PRC-015-1 and PRC-016-1. PRC-012-1, PRC-013-1 and PRC-014-1 are withdrawn the date PRC-012-2 goes into effect.
PRC | PRC-017-1 | Remedial Action Scheme Maintenance and Testing | 2017-04-01 |  | 2027-03-31 | Implementation Plan | Project 2010-05.2
PRC | PRC-019-2 | Coordination of Generating Unit or Plant Capabilities, Voltage Regulating Controls, and Protection | 2016-07-01 |  |  | Implementation Plan | Project 2014-01 | Please see the Implementation Plan for Version 1 for specific compliance dates and timeframes.
PRC | PRC-023-4 | Transmission Relay Loadability | 2017-04-01 |  | 2024-03-31 | Implementation Plan | Project 2010-05.2 | Entities with newly classified “Remedial Action Scheme” (RAS) resulting from the application of the revised definition must be fully compliant with all Reliability Standards applicable RAS twenty-four (24) months from the Effectiv
PRC | PRC-024-3 | Frequency and Voltage Protection Settings for Generating Resources | 2022-10-01 |  |  | Implementation Plan | Project 2018-04
PRC | PRC-025-2 | Generator Relay Loadability | 2018-07-01 | X |  | Implementation Plan | Project 2016-04 | Will replace PRC-025-1
PRC | PRC-026-1 | Relay Performance During Stable Power Swings | 2018-01-01 | X | 2024-03-31 | Implementation Plan | Project 2010-13.3 | Requirement R1 is effective 1/1/2018. Requirements R2, R3 and R4 are effective 1/1/2020.
PRC | PRC-027-1 | Coordination of Protection Systems for Performance During Faults | 2021-04-01 |  |  | Implementation Plan | Project 2007-06
TOP | TOP-001-5 | Transmission Operations | 2021-04-01 |  | 2024-03-31 | Implementation Plan | Project 2018-03
TOP | TOP-002-4 | Operations Planning | 2017-04-01 |  |  | Implementation Plan | Project 2014-03 | TOP-002-4 replaces TOP-002-2.1b
TOP | TOP-003-5 | Operational Reliability Data | 2023-04-01 |  |  | Implementation Plan | Project 2019-06
TOP | TOP-010-1(i) | Real-time Reliability Monitoring and Analysis Capabilities | 2018-04-01 |  |  | Implementation Plan | Project 2009-02 | Replaces TOP-010-1
TPL | TPL-001-4 | Transmission System Planning Performance Requirements | 2015-01-01 |  | 2023-06-30 | Implementation Plan | Project 2010-11 | This is a new requirement and does not retire any previous versions.
TPL | TPL-007-4 | Transmission System Planned Performance for Geomagnetic Disturbance Events | 2020-10-01 | X |  | Implementation Plan | Project 2019-01 | This Variance shall be applicable in those Canadian jurisdictions where the Variance has been approved for use by the applicable governmental authority or has otherwise become effective in the jurisdiction.
VAR | VAR-001-5 | Voltage and Reactive Control | 2019-01-01 |  |  | Implementation Plan | WECC
VAR | VAR-002-4.1 | Generator Operation for Maintaining Network Voltage Schedules | 2017-09-26 |  |  | Implementation Plan | Project 2016-EPR-02 | VAR-002-4.1 replaces VAR-002-4. VAR-002-4 became effective 5/29/2015; VAR-002-4.1 replaced VAR-002-4 9/26/2017 due to an errata approved by FERC.
VAR | VAR-501-WECC-3.1 | Power System Stabilizer (PSS) | 2017-09-26 |  |  |  | WECC | VAR-501-WECC-3 became effective 7/1/2017; VAR-501-WECC-3.1 replaced VAR-501-WECC-3 on 9/26/2017 due to an errata approved by FERC. Requirement R3 has an effective date of July 1, 2017 for first-time service after regulatory approv