This form must be used to submit comments on the proposed Relay Loadability standard.  Comments must be submitted by September 29, 2006.  You must submit the completed form by e-mail to sarcomm@nerc.com with the words “Relay Loadability Comments” in the subject line.  If you have questions please contact Richard Schneider at richard.schneider@nerc.net or 609-452-8060.

| Individual Commenter Information (Complete this page for comments from one organization or individual.) |
| --- |
| Name: |
| Organization: |
| Telephone: |
| E-mail: |
| NERC Region |  | Registered Ballot Body Segment |
| ERCOT ECAR FRCC MAAC MAIN MRO NPCC SERC SPP WECC NA — Not Applicable |  | 1 — Transmission Owners |
|  |  | 2 — RTOs, ISOs, Regional Reliability Councils |
|  |  | 3 — Load-serving Entities |
|  |  | 4 — Transmission-dependent Utilities |
|  |  | 5 — Electric Generators |
|  |  | 6 — Electricity Brokers, Aggregators, and Marketers |
|  |  | 7 — Large Electricity End Users |
|  |  | 8 — Small Electricity End Users |
|  |  | 9 — Federal, State, Provincial Regulatory, or other Government Entities |

| Group Comments (Complete this page if comments are from a group.) Group Name: Lead Contact: Contact Organization: Contact Segment: Contact Telephone: Contact E-mail: |
| --- |
| Additional Member Name | Additional Member Organization | Region* | Segment* |

* If more than one Region or Segment applies, indicate the best fit for the purpose of these comments.  Regional acronyms and segment numbers are shown on prior page.

### Background Information:

Protective relays have often contributed to system disturbances including the Northeast Blackout of 1965, and the Blackout of August 14, 2003.  The 2003 blackout analyses showed that relay loadability played a pivotal role in accelerating and spreading the early part of the cascade in Ohio and Michigan.  Although the U.S.-Canada Power System Outage Task Force focused on the role played by “zone 3” relays, it was later found that other phase-distance and over-current relays also contributed to the cascade.

The purpose of the proposed Standard is to ensure that protection systems and settings will neither limit transmission loadability, nor contribute to cascading outages.

NERC’s System Protection and Control Task Force produced a reference document to assist entities in understanding the standard.  You are encouraged to read the reference document with the standard before responding to the comments on the Transmission Relay Loadability standard.  If you have comments on the SPCTF’s Transmission Relay Loadability reference document, please e-mail those comments in a separate Word document to sarcomm@nerc.com with the words “Relay Loadability Comments” in the subject line.

Please Enter All Comments in Simple Text Format.

- Do you feel that the requirements stated in this standard accurately address the industry action generally referred to as the “NERC Recommendation 8a Review” and the “Protection System Review Program – Beyond Zone 3”.  Recommendation 8a called for all transmission owners to evaluate the zone 3 relay settings on all transmission lines operating at 230 kV and above for the purpose of verifying that each zone 3 relay is not set to trip on load under extreme emergency conditions.  These activities included a review of all transmission protection systems relative to provided criteria and correction of those systems that did not conform to the criteria.  The criteria established for those review activities are the genesis of this standard.

Yes

No

Comments

- Do you believe the Transmission Relay Loadability Standard Reference Document should be incorporated as an ‘Attachment’ to the standard and made mandatory or provided as a ‘Voluntary Reference’ outside the standard to support implementing the standard?  Explain why.

Reference should be made a mandatory part of the standard

Reference should be made available as a voluntary reference without mandatory compliance

Explanation for selection:

- Are you aware of any regional differences that would be required as a result of this standard?

Yes

No

If yes, please identify the regional difference.

- Are you aware of any conflicts between the proposed standard and any regulatory function, rule order, tariff, rate schedule, legislative requirement or agreement?

Yes

No

If yes, please identify the conflict, being as specific as possible.

- Do you agree with the proposed effective dates?

Yes

No

If no, please identify which effective date should be modified and identify why.

- Do you agree with the proposed violation risk factors?

Yes

No

If no, please identify which requirement’s risk factors you disagree with and identify what you think the risk factor should be and why.

- If you have other comments or specific suggestions for improvements to this standard that you have not already made, please provide them here: