## P81 Phase 1
Standard Version | Requirement Name | Status | Requirement Text
BAL-005-0.2b | R2. | Kept in Final SAR for Retirement | Each Balancing Authority shall maintain Regulating Reserve that can be controlled by AGC to meet the Control Performance Standard.
CIP-001-2a | R4. | Kept in Final SAR for Retirement | Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load Serving Entity shall establish communications contacts, as applicable, with local Federal Bureau of Investigation (FBI) or Royal Canadian Mounted Police (RCMP) officials and develop reporting procedures as appropriate to their circumstances.
CIP-003-3 | R1.2. | Kept in Final SAR for Retirement | The cyber security policy is readily available to all personnel who have access to, or are responsible for, Critical Cyber Assets.
CIP-003-3 | R3. | Kept in Final SAR for Retirement | Exceptions — Instances where the Responsible Entity cannot conform to its cyber security policy must be documented as exceptions and authorized by the senior manager or delegate(s).
CIP-003-3 | R3.1. | Kept in Final SAR for Retirement | Exceptions to the Responsible Entity’s cyber security policy must be documented within thirty days of being approved by the senior manager or delegate(s).
CIP-003-3 | R3.2. | Kept in Final SAR for Retirement | Documented exceptions to the cyber security policy must include an explanation as to why the exception is necessary and any compensating measures.
CIP-003-3 | R3.3. | Kept in Final SAR for Retirement | Authorized exceptions to the cyber security policy must be reviewed and approved annually by the senior manager or delegate(s) to ensure the exceptions are still required and valid. Such review and approval shall be documented.
CIP-003-3 | R4.2. | Kept in Final SAR for Retirement | The Responsible Entity shall classify information to be protected under this program based on the sensitivity of the Critical Cyber Asset information.
CIP-003-4 | R1.2. | Kept in Final SAR for Retirement | The cyber security policy is readily available to all personnel who have access to, or are responsible for, Critical Cyber Assets.
CIP-003-4 | R3. | Kept in Final SAR for Retirement | Exceptions — Instances where the Responsible Entity cannot conform to its cyber security policy must be documented as exceptions and authorized by the senior manager or delegate(s).
CIP-003-4 | R3.1. | Kept in Final SAR for Retirement | Exceptions to the Responsible Entity’s cyber security policy must be documented within thirty days of being approved by the senior manager or delegate(s).
CIP-003-4 | R3.2. | Kept in Final SAR for Retirement | Documented exceptions to the cyber security policy must include an explanation as to why the exception is necessary and any compensating measures.
CIP-003-4 | R3.3. | Kept in Final SAR for Retirement | Authorized exceptions to the cyber security policy must be reviewed and approved annually by the senior manager or delegate(s) to ensure the exceptions are still required and valid. Such review and approval shall be documented.
CIP-003-4 | R4.2. | Kept in Final SAR for Retirement | The Responsible Entity shall classify information to be protected under this program based on the sensitivity of the Critical Cyber Asset information.
CIP-005-3a | R2.6. | Kept in Final SAR for Retirement | Appropriate Use Banner —Where technically feasible, electronic access control devices shall display an appropriate use banner on the user screen upon all interactive access attempts. The Responsible Entity shall maintain a document identifying the content of the banner.
CIP-005-4a | R2.6. | Kept in Final SAR for Retirement | Appropriate Use Banner —Where technically feasible, electronic access control devices shall display an appropriate use banner on the user screen upon all interactive access attempts. The Responsible Entity shall maintain a document identifying the content of the banner.
CIP-007-3 | R7.3. | Kept in Final SAR for Retirement | The Responsible Entity shall maintain records that such assets were disposed of or redeployed in accordance with documented procedures.
CIP-007-4 | R7.3. | Kept in Final SAR for Retirement | The Responsible Entity shall maintain records that such assets were disposed of or redeployed in accordance with documented procedures.
COM-001-1.1 | R6. | Kept in Final SAR for Information Only | Each NERCNet User Organization shall adhere to the requirements in Attachment 1-COM-001, “NERCNet Security Policy.”
EOP-004-1 | R1. | Kept in Final SAR for Retirement | Each Regional Reliability Organization shall establish and maintain a Regional reporting procedure to facilitate preparation of preliminary and final disturbance reports.
EOP-005-2 | R3.1. | Kept in Final SAR for Retirement | If there are no changes to the previously submitted restoration plan, the Transmission Operator shall confirm annually on a predetermined schedule to its Reliability Coordinator that it has reviewed its restoration plan and no changes were necessary.
EOP-009-0 | R2. | Kept in Final SAR for Information Only | The Generator Owner or Generator Operator shall provide documentation of the test results of the startup and operation of each blackstart generating unit to the Regional Reliability Organizations and upon request to NERC.
FAC-002-1 | R2. | Kept in Final SAR for Retirement | The Planning Authority, Transmission Planner, Generator Owner, Transmission Owner, Load-Serving Entity, and Distribution Provider shall each retain its documentation (of its evaluation of the reliability impact of the new facilities and their connections on the interconnected transmission systems) for three years and shall provide the documentation to the Regional Reliability Organization(s) and NERC on request (within 30 calendar days).
FAC-008-1 | R1.3.5. | Kept in Final SAR for Information Only | Other assumptions.
FAC-008-1 | R2. | Kept in Final SAR for Retirement | The Transmission Owner and Generator Owner shall each make its Facility Ratings Methodology available for inspection and technical review by those Reliability Coordinators, Transmission Operators, Transmission Planners, and Planning Authorities that have responsibility for the area in which the associated Facilities are located, within 15 business days of receipt of a request.
FAC-008-1 | R3. | Kept in Final SAR for Retirement | If a Reliability Coordinator, Transmission Operator, Transmission Planner, or Planning Authority provides written comments on its technical review of a Transmission Owner’s or Generator Owner’s Facility Ratings Methodology, the Transmission Owner or Generator Owner shall provide a written response to that commenting entity within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the Facility Ratings Methodology and, if no change will be made to that Facility Ratings Methodology, the reason why.
FAC-008-3 | R4. | Kept in Final SAR for Retirement | Each Transmission Owner shall make its Facility Ratings methodology and each Generator Owner shall each make its documentation for determining its Facility Ratings and its Facility Ratings methodology available for inspection and technical review by those Reliability Coordinators, Transmission Operators, Transmission Planners and Planning Coordinators that have responsibility for the area in which the associated Facilities are located, within 21 calendar days of receipt of a request.
FAC-008-3 | R5. | Kept in Final SAR for Retirement | If a Reliability Coordinator, Transmission Operator, Transmission Planner or Planning Coordinator provides documented comments on its technical review of a Transmission Owner’s Facility Ratings methodology or Generator Owner’s documentation for determining its Facility Ratings and its Facility Rating methodology, the Transmission Owner or Generator Owner shall provide a response to that commenting entity within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the Facility Ratings methodology and, if no change will be made to that Facility Ratings methodology, the reason why.
FAC-010-2.1 | R5. | Added to Final SAR for Retirement | If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Planning Authority shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.
FAC-011-2 | R5. | Added to Final SAR for Retirement | If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Reliability Coordinator shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.
FAC-013-2 | R3. | Kept in Final SAR for Retirement | If a recipient of the Transfer Capability methodology provides documented concerns with the methodology, the Planning Coordinator shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the Transfer Capability methodology and, if no change will be made to that Transfer Capability methodology, the reason why.
INT-007-1 | R1.2. | Kept in Final SAR for Retirement | All reliability entities involved in the Arranged Interchange are currently in the NERC registry.
IRO-016-1 | R2. | Kept in Final SAR for Retirement | The Reliability Coordinator shall document (via operator logs or other data sources) its actions taken for either the event or for the disagreement on the problem(s) or for both.
MOD-004-1 | R1. | Deferred to Subsequent Phase | The Transmission Service Provider that maintains CBM shall prepare and keep current a “Capacity Benefit Margin Implementation Document” (CBMID) that includes, at a minimum, the following information:
MOD-004-1 | R1.1. | Deferred to Subsequent Phase | The process through which a Load-Serving Entity within a Balancing Authority Area associated with the Transmission Service Provider, or the Resource Planner associated with that Balancing Authority Area, may ensure that its need for Transmission capacity to be set aside as CBM will be reviewed and accommodated by the Transmission Service Provider to the extent Transmission capacity is available.
MOD-004-1 | R1.2. | Deferred to Subsequent Phase | The procedure and assumptions for establishing CBM for each Available Transfer Capability (ATC) Path or Flowgate.
MOD-004-1 | R1.3. | Deferred to Subsequent Phase | The procedure for a Load-Serving Entity or Balancing Authority to use Transmission capacity set aside as CBM, including the manner in which the Transmission Service Provider will manage situations where the requested use of CBM exceeds the amount of CBM available.
MOD-004-1 | R2. | Deferred to Subsequent Phase | The Transmission Service Provider that maintains CBM shall make available its current CBMID to the Transmission Operators, Transmission Service Providers, Reliability Coordinators, Transmission Planners, Resource Planners, and Planning Coordinators that are within or adjacent to the Transmission Service Provider’s area, and to the Load Serving Entities and Balancing Authorities within the Transmission Service Provider’s area, and notify those entities of any changes to the CBMID prior to the effective date of the change.
MOD-004-1 | R3. | Deferred to Subsequent Phase | Each Load-Serving Entity determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by:
MOD-004-1 | R3.1. | Deferred to Subsequent Phase | Using one or more of the following to determine the GCIR: Loss of Load Expectation (LOLE) studies; Loss of Load Probability (LOLP) studies; Deterministic risk-analysis studies; Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities
MOD-004-1 | R3.2. | Deferred to Subsequent Phase | Identifying expected import path(s) or source region(s).
MOD-004-1 | R4. | Deferred to Subsequent Phase | Each Resource Planner determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by:
MOD-004-1 | R4.1. | Deferred to Subsequent Phase | Using one or more of the following to determine the GCIR: Loss of Load Expectation (LOLE) studies; Loss of Load Probability (LOLP) studies; Deterministic risk-analysis studies; Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities
MOD-004-1 | R4.2. | Deferred to Subsequent Phase | Identifying expected import path(s) or source region(s).
MOD-004-1 | R5. | Deferred to Subsequent Phase | At least every 13 months, the Transmission Service Provider that maintains CBM shall establish a CBM value for each ATC Path or Flowgate to be used for ATC or Available Flowgate Capability (AFC) calculations during the 13 full calendar months (months 2-14) following the current month (the month in which the Transmission Service Provider is establishing the CBM values). This value shall:
MOD-004-1 | R5.1. | Deferred to Subsequent Phase | Reflect consideration of each of the following if available: Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Service Provider's area; Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Service Provider’s area; Any reserve margin or resource adequacy requirements for loads within the Transmission Service Provider’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities
MOD-004-1 | R5.2. | Deferred to Subsequent Phase | Be allocated as follows: For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners; For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Service Provider
MOD-004-1 | R6. | Deferred to Subsequent Phase | At least every 13 months, the Transmission Planner shall establish a CBM value for each ATC Path or Flowgate to be used in planning during each of the full calendar years two through ten following the current year (the year in which the Transmission Planner is establishing the CBM values). This value shall:
MOD-004-1 | R6.1. | Deferred to Subsequent Phase | Reflect consideration of each of the following if available: Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Planner’s area; Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Planner’s area; Any reserve margin or resource adequacy requirements for loads within the Transmission Planner’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities
MOD-004-1 | R6.2. | Deferred to Subsequent Phase | Be allocated as follows: For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners; For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Planner.
MOD-004-1 | R7. | Deferred to Subsequent Phase | Less than 31 calendar days after the establishment of CBM, the Transmission Service Provider that maintains CBM shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the Transmission Service Provider’s system of the amount of CBM set aside.
MOD-004-1 | R8. | Deferred to Subsequent Phase | Less than 31 calendar days after the establishment of CBM, the Transmission Planner shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the system being planned by the Transmission Planner of the amount of CBM set aside.
MOD-004-1 | R9. | Deferred to Subsequent Phase | The Transmission Service Provider that maintains CBM and the Transmission Planner shall each provide (subject to confidentiality and security requirements) copies of the applicable supporting data, including any models, used for determining CBM or allocating CBM over each ATC Path or Flowgate to the following:
MOD-004-1 | R10. | Deferred to Subsequent Phase | The Load-Serving Entity or Balancing Authority shall request to import energy over firm Transfer Capability set aside as CBM only when experiencing a declared NERC Energy Emergency Alert (EEA) 2 or higher.
MOD-004-1 | R11. | Deferred to Subsequent Phase | When reviewing an Arranged Interchange using CBM, all Balancing Authorities and Transmission Service Providers shall waive, within the bounds of reliable operation, any Real-time timing and ramping requirements.
MOD-004-1 | R12. | Deferred to Subsequent Phase | The Transmission Service Provider that maintains CBM shall approve, within the bounds of reliable operation, any Arranged Interchange using CBM that is submitted by an “energy deficient entity” under an EEA 2 if:
MOD-004-1 | R12.1. | Deferred to Subsequent Phase | The CBM is available
MOD-004-1 | R12.2. | Deferred to Subsequent Phase | The EEA 2 is declared within the Balancing Authority Area of the “energy deficient entity,” and
MOD-004-1 | R12.3. | Deferred to Subsequent Phase | The Load of the “energy deficient entity” is located within the Transmission Service Provider’s area.
MOD-004-1 | R9.1. | Deferred to Subsequent Phase | Each of its associated Transmission Operators within 30 calendar days of their making a request for the data.
MOD-004-1 | R9.2. | Deferred to Subsequent Phase | To any Transmission Service Provider, Reliability Coordinator, Transmission Planner, Resource Planner, or Planning Coordinator within 30 calendar days of their making a request for the data.
NUC-001-2 | R9.1. | Kept in Final SAR for Retirement | Administrative elements:
NUC-001-2 | R9.1.1. | Kept in Final SAR for Retirement | Definitions of key terms used in the agreement.
NUC-001-2 | R9.1.2. | Kept in Final SAR for Retirement | Names of the responsible entities, organizational relationships, and responsibilities related to the NPIRs.
NUC-001-2 | R9.1.3. | Kept in Final SAR for Retirement | A requirement to review the agreement(s) at least every three years.
NUC-001-2 | R9.1.4. | Kept in Final SAR for Retirement | A dispute resolution mechanism.
PRC-008-0 | R1. | Kept in Final SAR for Information Only | The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall have a UFLS equipment maintenance and testing program in place. This UFLS equipment maintenance and testing program shall include UFLS equipment identification, the schedule for UFLS equipment testing, and the schedule for UFLS equipment maintenance.
PRC-008-0 | R2. | Kept in Final SAR for Information Only | The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall implement its UFLS equipment maintenance and testing program and shall provide UFLS maintenance and testing program results to its Regional Reliability Organization and NERC on request (within 30 calendar days).
PRC-009-0 | R1. | Kept in Final SAR for Information Only | The Transmission Owner, Transmission Operator, Load-Serving Entity and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall analyze and document its UFLS program performance in accordance with its Regional Reliability Organization’s UFLS program. The analysis shall address the performance of UFLS equipment and program effectiveness following system events resulting in system frequency excursions below the initializing set points of the UFLS program. The analysis shall include, but not be limited to:
PRC-009-0 | R1.1. | Kept in Final SAR for Information Only | A description of the event including initiating conditions.
PRC-009-0 | R1.2. | Kept in Final SAR for Information Only | A review of the UFLS set points and tripping times.
PRC-009-0 | R1.3. | Kept in Final SAR for Information Only | A simulation of the event.
PRC-009-0 | R1.4. | Kept in Final SAR for Information Only | A summary of the findings.
PRC-009-0 | R2. | Kept in Final SAR for Information Only | The Transmission Owner, Transmission Operator, Load-Serving Entity, and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall provide documentation of the analysis of the UFLS program to its Regional Reliability Organization and NERC on request 90 calendar days after the system event.
PRC-010-0 | R2. | Kept in Final SAR for Retirement | The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall provide documentation of its current UVLS program assessment to its Regional Reliability Organization and NERC on request (30 calendar days).
PRC-022-1 | R2. | Kept in Final SAR for Retirement | Each Transmission Operator, Load-Serving Entity, and Distribution Provider that operates a UVLS program shall provide documentation of its analysis of UVLS program performance to its Regional Reliability Organization within 90 calendar days of a request.
TOP-001-1a | R3. | Kept in Final SAR for Information Only | Each Transmission Operator, Balancing Authority, and Generator Operator shall comply with reliability directives issued by the Reliability Coordinator, and each Balancing Authority and Generator Operator shall comply with reliability directives issued by the Transmission Operator, unless such actions would violate safety, equipment, regulatory or statutory requirements. Under these circumstances the Transmission Operator, Balancing Authority or Generator Operator shall immediately inform the Reliability Coordinator or Transmission Operator of the inability to perform the directive so that the Reliability Coordinator or Transmission Operator can implement alternate remedial actions.
TOP-005-2a | R1. | Kept in Final SAR for Information Only | As a condition of receiving data from the Interregional Security Network (ISN), each ISN data recipient shall sign the NERC Confidentiality Agreement for “Electric System Reliability Data.”
VAR-001-2 | R5. | Added to Final SAR for Retirement | Each Purchasing-Selling Entity and Load Serving Entity shall arrange for (self-provide or purchase) reactive resources – which may include, but is not limited to, reactive generation scheduling; transmission line and reactive resource switching;, and controllable load– to satisfy its reactive requirements identified by its Transmission Service Provider.
VAR-002-WECC-1 | R2. | Deferred to Subsequent Phase | Generator Operators and Transmission Operators shall have documentation identifying the number of hours excluded for each requirement in R1.1 through R1.10.
VAR-501-WECC-1 | R2. | Deferred to Subsequent Phase | Generator Operators shall have documentation identifying the number of hours excluded for each requirement in R1.1 through R1.12.