## Standards_Efficiency_Review_Pha
First Name | Last Name | Organization/Entity | Do you believe there is an opportunity for efficiency gain outlined in the SAR? | Do you agree a clarification of expectations is needed for the core BES reliability-related tasks and associated &ldquo;data specification&rdquo;? | Do you agree with the secondary purpose of the SAR, which is evaluating the retirement of duplicative operational data exchange requirements dispersed in other standards? | Do you recommend any specific language revisions to the SAR?
Todd | Bennett | AECI | Yes | Yes | Yes | Yes, I have a comment rather than specific language to suggest for the SAR. You will find that reliability related tasks are referenced in the Control Center definition, which is then referenced by the System Operator definition. This may impact other standards unintentionally, specifically CIP-002.
David | Jendras | Ameren | Yes, Ameren agrees with and supports EEI comments | Yes, Ameren agrees with and supports EEI comments | Yes, Ameren agrees with and supports EEI comments | Yes, Ameren agrees with and supports EEI comments
Thomas | Foltz | American Electric Power | Yes, We believe there is an opportunity for efficiency gain for IR0-010-2 and TOP-003-3, as both of these standards include obligations driven more by proving compliance rather than by a need for additional data. We also agree that it would be beneficial to not specify the minimum list of items to include in a data specification. In general, we believe TOP-003 should provide a mechanism to resolve conflict when entities are not receiving the data they believe they need rather than requiring a document of data specifications. | No, Please see our response to Question #3, as we believe Questions #2 and #3 are so closely related. | No, While AEP agrees with the apparent primary purpose of this SAR, we are concerned by the secondary purpose and are unsure why the drafters believe such changes would be beneficial. AEP does not see the benefit of providing a prescribed data list when, the data needs are inherently embedded within the NERC standards and requirement that pertain to Operational Planning Analysis, Real Time Monitoring, and Real Time assessments. Again, while we agree with the concept of removing “minimal data specifications” from within standards, we still believe that the needed data is standard-specific, and as such, any references to that data need to remain within each standard. We see no benefit to requiring generic data specifications that would exist outside of those standards. In addition, every entity’s data needs may be different depending on operating area, the model(s) used for their analysis, etc. Specifying minimum data requirement lists implies a perception that without NERC providing such a list, that an entity would otherwise not know what data they need, and thus be unable to perform the analyses needed to maintain the reliability of the BES. However, we still believe that any references to what data is needed should remain with each standard, as those data needs are standard-specific. Might it be worth considering instead, developing technical rational references for any necessary standards regarding the data required to perform reliability related tasks analysis? We believe the SAR could be more beneficial by providing more specifics regarding its secondary purpose, and in providing insight how those additional standards would be potentially impacted. We realize that it wouldn’t be clear until a later time exactly what changes may be needed, however, any insight that could be provided in the meanwhile would help industry provide feedback and insight on the secondary purpose of the SAR. For example, we believe it would be beneficial for the SAR to provide more insight regarding the “whys” of the secondary purpose, such as insight into why drafters believe such changes would be beneficial.
Brad | Larson | American Transmission Co. | Yes, The team should review the stated purpose of IRO-010-2 and TOP-003-3 and ensure the requirements align with that purpose and do not add unnecessary compliance burden. | No, The core BES reliability-related tasks expectation should be outlined in both the NERC Organizational Registration and Certification Program and/or CMEP controls review process. The diverse nature of entities’ implementation of relability-related task does not lead to add clarification around expectation related to a data specification. | Yes, Any retirement of duplicative standards aid in compliance efficient for entities. However, the SAR should limit scope of any changes to the purpose of IRO-010-2 and TOP-003-3 | No
Jack | Cashin | APPA | Yes, APPA supports the NERC goal of a risk-based approach to standards and believes the Phase 2 Operational Data Simplification Standard Authorization Request (SAR) furthers this organizational goal. Moreover, the SAR has the potential to lead to a standard that will increase the efficiency and effectiveness of the compliance and enforcement process. Registered entities, including public power utilities deal today with an array of data specifications that still often require compliance with the current zero-defect requirements both for performance and retention. This often requires unnecessary review of voluminous telemetry data associated with data for which no unreported outages occurred. Such review is inefficient and not risk based. The SAR goal of seeking greater efficiency is indeed an opportunity. | Yes, The SAR project will increase (as mentioned in the answer to question number 1) the efficient and effective (specification) collection, retention and review of operational data. APPA has been very supportive of Standards Efficiency Review Phase 2 efforts to address specific standards that has the potential to open greater efficiencies for other standards. APPA utilities believe the current IRO-010 and TOP-003 standards provide a single source for entities to get the data they need for Operational Planning Analysis, Real-time Assessments, Real-time Monitoring, and Balancing Authority Analysis. The SAR also will give scope to those data sources and their transmission methods. Importantly, the project purposes to simplify the administrative burdens associated with the noted IRO and TOP standards. This purpose is consistent with providing the needed, appropriate data to other registered entities that use that data to ensure reliability. Those entities know best and base their data needs on maintaining reliability. The project seeks to meet those needs by providing clarity on the scope of data needs and requests made by Reliability Coordinators, Transmission Operators and Balancing Authorities. Such clarity will then be present whether the data need at issue is about identification of next most limiting equipment, weather-related operational constraints, or real-time operating data. Important to public power is that the SAR addresses the key issue that the overall Standards Efficiency Review was meant to address – moving standards to being risk based and moving away from an overly-prescriptive approach. The data specification should be flexible enough to evolve with risks and technologies, as well as being flexible enough to apply in the varying operational environments across the continent. APPA believes that clarification of the scope of the four BES reliability-related tasks identified in the SAR will allow the data specification to meet the needs of system operators to ensure reliability. In turn it will alleviate unnecessary administrative duties associated with data collection. Moreover, scope clarification regarding types of data and the methods for conveying that data will also be extremely helpful to making the standards more efficient and effective. | Yes, This SAR directly supports the overall Standards Efficiency Review project goal by identifying “potential candidate requirements that are not essential for reliability, could be simplified or consolidated, and could thereby reduce regulatory obligations and/or compliance burden.” To the extent that the industry determines that requirements dispersed in other standards appropriately align with the changes to the IRO-010 and/or TOP-003 data specifications, those requirements can be proposed for retirement. | Yes, Cost impact while not mentioned in the SAR is always important to utilities. The SAR could also add information on the overall lessening of cost impact due to the proposed changes.
Kelsi | Rigby | Arizona Public Service Company | Yes, Yes, the opportunity to move away from a zero-defect paradigm for data that is necessary and important is critical. Reliability Entities should not spend inordinate amounts of time and resources trying to perfect the sending and receiving of data. The data should be clearly requested. Attempts should be made to send it. Parties should work to resolve discrepancies. But only if one party refuses to send data or cooperate in resolving discrepancies should there be a consideration of non-compliance. | Yes, Yes, although it is quite clear at this time. Given the shift to the method, a drafting team should perform a thorough review to be certain the language allows for all necessary reliability-related data. | Yes, Yes, so long as one requirement allows for the requesting and receiving of data it deems necessary, there should not be a need for another requirement to explicitly call it out as well. | No
David | Rudolph | Basin Electric Power Cooperative | Yes | Yes | Yes | No
Andrea | Jessup | Bonneville Power Administration | Yes, BPA appreciates the effort to resolve teo different and overlapping mechanisms for identifying data that entitied must provide to each other. | Yes | Yes | No
Stacy | Lee | City of College Station | Yes | Yes | Yes | No
Warren | Rust | Colorado Springs Utilities | Yes | Yes | Yes | No
Warren | Rust | Colorado Springs Utilities | Yes | Yes | Yes | No
Kim | Thomas | Duke Energy | Yes, None. | Yes, None. | Yes, Duke Energy does not believe all Standards referenced in the SAR have duplicative operational data exchange requirements. For example, time-based versus event based Standard requirements – examples: TOP-001-4 R9 and VAR-002-4.1 R3 are event based. | No, None.
Mark | Gray | Edision Electric Institute | Yes, EEI agrees with the SDT that there are opportunities for efficiency gain as outlined in the SAR. | Yes, EEI agrees with the SDT that clarifying the expectations for the core BES reliability related tasks and associated data specifications would benefit the industry and provide greater consistency. | Yes, EEI agrees with the secondary purpose of the SAR. | Yes, While EEI is supportive of the proposed SAR as written, we offer the following suggested changes and additions for SDT consideration: Purpose or Goal Statement: (Suggestion to better focus the Purpose Statement) The primary purpose of this project is to simplify and reduce administrative burdens identified by the SER Phase 2 Team associated with the current IR0-010-2 and TOP-003-3 standards and limit unnecessary data requirements that do not contribute to BES reliability and resiliency. As written the standards create a zero-defect expectation for each Registered Entity receiving a data specification to demonstrate perfect performance on every item in the data specification for an entire audit period. This can result in unnecessary administrative burdens for the Registered Entity to demonstrate compliance, including excessive data retention. If instead a risk-based approach was developed and performance was triggered upon an event or unresolved data conflicts between entities, then the purpose of the standards would be achieved in an effective and efficient manner triggered upon an event or unresolved data conflicts between entities.
Douglas | Webb | Evergy (Westar / KCP&L) | Yes, Evergy (Westar Energy and Kansas City Power & Light Co.) endorses the response to Question 1 by the Edison Electric Institute (EEI). | Yes, Evergy (Westar Energy and Kansas City Power & Light Co.) endorses the response to Question 2 by the Edison Electric Institute (EEI). | Yes, Evergy (Westar Energy and Kansas City Power & Light Co.) endorses the response to Question 3 by the Edison Electric Institute (EEI). | Yes, Evergy (Westar Energy and Kansas City Power & Light Co.) endorses the response to Question 4 by the Edison Electric Institute (EEI).
Daniel | Gacek | Exelon | No, The data specification process created by RCs for DP/GO/GOP/TO/TOP to provide required data is already an efficient process. | No, The RC data specifications provide sufficient clarity. | No, The standards listed as example of duplicative standard do not appear to be duplicative. | Yes, The problem statement is not clear. Not clear if the SAR targets the RC data specification model or the actual requirements of the standards. The SAR needs to clarify how this would be a “risk-based approach.”
Mark | Garza | FirstEnergy | Yes | Yes | Yes | Yes
Scott | McGough | Georgia System Operations Corp | Yes | Yes, GSOC suggests to include a definition of Real-time monitoring. | Yes, GSOC suggests the SAR be fortified to direct the retirement of IRO-10-2 R3, Part 3.3, TOP-003-3 R5, Part 5.3 and TOP-001-4 R20 and R21, R23 and R24. The “mutually agreeable security protocols” requirements should be retired, since CIP-012 now requires security measures for that data exchange. Additionally, with the new FERC directive to include assurance for data availability in CIP-012 (see the new CIP-012 SAR), there is no reason to keep prescriptive requirements for redundant and diversely routed communications (TOP-001-4, R20-R21, R23-R24). | Yes, On page 3, Real-time monitoring is capitalized as “Real-time Monitoring.” It is not a defined NERC term and should not have a capital “M” on the word monitoring. On page 3 of the SAR, GSOC suggests to expand “administrative burden” to read “administrative burden, including administration and testing of technical systems supporting the requirements.”
terry | volkmann | Glencoe Light and Power | Yes | Yes | Yes | No
Stace | Kegley | Grand River Dam Authority | Yes | Yes | Yes | No
Lenise | Kimes | Hetch Hetchy Water and Power | Yes | Yes | Yes | No
Cyntia | Doré | Hydro-Québec Production | Yes | Yes | Yes | Yes, Sometimes the requirements are written in a very broad way, which requires a lot of effort in order to correctly meet the requirement.
HAMAD | SHAHBAZ | IESO | Yes | No, In lieu of BES reliability-related tasks, we suggest that the scope be revised to focus on data collected or provided in support of: Real-time monitoring (RTM) and Real-time Assessments (RTA) in support of the standards below:• Operational Planning Analysis (OPA) for the RC and TOP (see IRO-008-2, R1 and TOP-002-4, R1) . • Operating Plans for the next-day for the BA (see TOP-002-4, R4). • Real-time Assessments (RTA) for the RC, TOP and BA (see IRO-008-2 and TOP-001-4). • Real-time monitoring (RTM) for the RC, TOP and BA (see IRO-002-6 and TOP-001-4). | Yes, The standards IRO-010 and TOP-003 should not be the clearing house for all information exchanged between entities. For example, Blackstart Resource information requirements may be a better fit with EOP-005. This would retain the review of Blackstart Resource information requirements with EOP-005 as a whole and negate the need to perform off-cycle reviews and/or revisions to IRO-010 and TOP-003 when changes are made to EOP-005. | No, The current standards IRO-010-2 and TOP-003-3 already define the relevant functions needing real-time data to develop their Operational Planning Assessments and Operating Plans as the RC, TOP and BA.
Scott | Berry | Indiana Municipal Power Agency | Yes | Yes | Yes | No
Colleen | Campbell | IPL | Yes | Yes, Yes, and include a clearly defined table with minimum expectations for the requirements | Yes, Will reduce the likelihood of misinterpretations with data quality status reporting | Yes, Clarification around this statement: "As written the standards create a zero-defect expectation for each Registered Entity receiving a data specification to demonstrate perfect performance on every item in the data specification for an entire audit period" as this indicates that the SAR intent may be to reduce the expectations for data requirements.
Bobbi | Welch | ISO/RTO Council (IRC) Standards Review Committee (SRC | Yes, The IRC SRC agrees there is an opportunity for efficiency gains as outlined in the SAR. The IRC SRC recommends the SAR Drafting Team (SDT) retain the existing, mutually agreeable approach outlined in IRO-010 and TOP-003 as we believe this process allows for flexibility. If, as stated on page 1 of the SAR, the standards as written could be viewed as requiring a “zero defect” expectation, then the IRC SRC supports a Project Scope that would allow standards to be revised to permit entities to set mutually agreeable expectations using a risk-based approach and dispute resolution process to recognize there are times when an entity is unable to meet the obligations. Finally, the IRC SRC recommends the SDT consider a possible merging of IRO-010 with TOP-003. | No, The IRC SRC agrees there is room for improvement; however, we do not support use of core BES reliability-related tasks (RRT) as the way to accomplish this as it could lead to: • Potential conflicts with PER-005-2 (as BES reliability-related tasks is a PER-005-2 concept) • Increased administrative burden to map each data request to a BES RRT, the functional entity(ies) that perform(s) it and the data necessary to perform it. In addition, each data point could be specified multiple times if used for multiple BES RRTs. o The SAR anticipates this will require coordination with pre-qualified organizations to develop Implementation Guidance and/or NERC staff to develop other ERO guidance to simplify the administrative burden. • Decreased flexibility as tasks are currently left up to each entity to define In lieu of BES reliability-related tasks (RRT), the IRC SRC recommends the scope be revised to focus on data collected or provided in support of: Real-time monitoring (RTM) and Real-time Assessments (RTA) in support of the standards below: • Operational Planning Analysis (OPA) for the RC and TOP (see IRO-008-2, R1 and TOP-002-4, R1) • Operating Plans for the next-day for the BA (TOP-002-4, R4) • Real-time Assessments (RTA) for the RC, TOP and BA (see IRO-008-2 and TOP-001-4) • Real-time monitoring (RTM) for the RC, TOP and BA (see IRO-002-6 and TOP-001-4) | Yes, The IRC SRC agrees with the retirement of duplicative operational data exchange requirements or the prohibition from including duplicative items in the data specification as noted above. Rather, evaluate each data/information requirement for its “best fit” location. IRO-010 and TOP-003 should not be the clearing house for all information exchanged between entities. Example: Blackstart Resource information requirements may be a better fit with EOP-005. This would retain the review of Blackstart Resource information requirements with EOP-005 as a whole and negate the need to perform off-cycle reviews and/or revisions to IRO-010 and TOP-003 when changes are made to EOP-005. In this regard, the IRC SRC recommends another goal of the SAR be to eliminate the risk of double jeopardy on entities where the failure to provide data results in the violation of more than one standard. | Yes, The IRC SRC recommends the following language revisions be made to the SAR. • Replace “core BES reliability-related tasks” with “Operational Planning Analyses (OPA), Balancing Authority Operating Plans for the next-day, Real-time Assessments (RTA) and Real-time Monitoring (RTM)” • Modify the bulleted list on page 3 of the SAR as follows: o Operational Planning Analysis (IRO-008-2 and TOP-002-4) o Balancing Authority Operating Plans for the next-day (TOP-002-4, R4) o Real-time Assessments (IRO-008-2 and TOP-001-4) o Real-time Monitoring (IRO-002-5 and TOP-001-4) o Balancing Authority Analysis Functions (BAL-001-2, BAL-002-3, BAL-003-1.1 and BAL-005-1) The following sentences should be stricken from the SAR as overly broad in increasing scope, administrative burden, costs for system enhancements and risk on the providing entity to serve as the watchdog over commercially sensitive information whereas the existing standards, IRO-010-2 and TOP-003-3 already define the relevant functions needing real-time data to develop their Operational Planning Assessments and Operating Plans as the RC, TOP and BA. • Delete - “This may require enhancing the standards to allow any Registered Entity with responsibilities to perform core BES reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks.” (see Purpose or Goal, last sentence, page 2) • Delete - “The revisions should allow any Registered Entity with operational responsibilities to core reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks, while protecting public disclosure of commercially sensitive information.” (see Detailed Description, page 3) Maintain flexibility - As noted in our response to question #1, we agree with the statement in the SAR that “flexibility for differences in operational environments and emerging technology must be maintained.” Therefore, we recommend striking: • Delete - “… typically provided systematically via SCADA/ICCP or if it should contain other data and methods of transfer such as phone, instant messaging, internet-based systems, etc.” (see Purpose or Goal, first complete paragraph on page 2)
Gail | Elliott | ITC a Fortis company | ITC Standards Under Development received no response to this question | ITC Standards Under Development received no response to this question | ITC Standards Under Development received no response to this question | ITC Standards Under Development received no response to this question
Stewart | Dover | Lafayette Utilities System | Yes, LAFA supports the purpose of this SAR and the development of a risk-based approach to entity compliance. | Yes | Yes, LAFA believes there are potential requirements that are not essential for reliability, could be simplified or consolidated, and could thereby reduce regulatory obligations and/or compliance burden. | Yes, LAFA believes the drafting team should consider adding a Cost Impact Assessment to the SAR.
Joseph | DePoorter | Madison Gas and Electric Company | Yes | Yes | Yes | No
Liz | Wiles | MEAN/NMPP Energy | Yes | No | Yes | Yes, The following sentences should be stricken from the SAR as overly broad in increasing scope, administrative burden, costs for system enhancements and risk on the providing entity to serve as the watchdog over commercially sensitive information whereas the existing standards, IRO-010-2 and TOP-003-3 already define the relevant functions needing real-time data to develop their Operational Planning Assessments and Operating Plans as the RC, TOP and BA. 1. Delete - “This may require enhancing the standards to allow any Registered Entity with responsibilities to perform core BES reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks.” (see Purpose or Goal, last sentence, page 2) . 2. Delete - “The revisions should allow any Registered Entity with operational responsibilities to core reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks, while protecting public disclosure of commercially sensitive information.” (see Detailed Description, page 3)
Alexandra | Puetz | Minnesota Power | Yes | Yes | Yes | No
Theresa | Allard | Minnkota Power Cooperative | Yes | Yes | Yes | No
Bobbi | Welch | MISO | Yes, MISO supports comments submitted by the IRC SRC and MRO NSRF. In addition, MISO would like to underscore its support for a mutually agreeable process using a risk-based approach (to recognize there are times when an entity may be unable to provide the data) and dispute resolution (to address those times when entities are unable to agree on the data to be provided). This would allow NERC to focus on exceptions; i.e. what is not working well, as opposed to assessing what is. | No, MISO supports comments submitted by the IRC SRC and MRO NSRF. | Yes, MISO supports comments submitted by the IRC SRC and MRO NSRF. | Yes, MISO supports comments submitted by the IRC SRC and MRO NSRF.
Jamie | Monette | MN Power | Yes | Yes | Yes | No
NSRF | NSRF | MRO / NSRF | Yes, These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF agrees there is an opportunity for efficiency gains as outlined in the SAR. The MRO NSRF recommends the SAR Drafting Team (SDT) retain the existing, mutually agreeable approach outlined in IRO-010 and TOP-003 as we believe this process allows for flexibility. If, as stated on page 1 of the SAR, the standards as written could be viewed as requiring a “zero defect” expectation, then the MRO NSRF supports a Project Scope that would allow standards to be revised to permit entities to set mutually agreeable expectations using a risk-based approach and dispute resolution process to recognize there are times when an entity is unable to meet the obligations. The MRO NSRF recommends the SDT consider a possible merging of IRO-010 with TOP-003. | No, These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF agrees there is room for improvement; however, we do not support use of core BES reliability-related tasks (RRT) as the way to accomplish this as it could lead to: • Potential conflicts with PER-005-2 (as BES reliability-related tasks is a PER-005-2 concept) • Increased administrative burden to map each data request to a BES RRT, the functional entity(ies) that perform(s) it and the data necessary to perform it. In addition, each data point could be specified multiple times if used for multiple BES RRTs. o The SAR anticipates this will require coordination with pre-qualified organizations to develop Implementation Guidance and/or NERC staff to develop other ERO guidance to simplify the administrative burden. • Decreased flexibility as tasks are currently left up to each entity to define In lieu of BES reliability-related tasks (RRT), the MRO NSRF recommends the scope be revised to focus on data collected or provided in support of: Real-time monitoring (RTM) and Real-time Assessments (RTA) in support of the standards below: • Operational Planning Analysis (OPA) for the RC and TOP (see IRO-008-2, R1 and TOP-002-4, R1) • Operating Plans for the next-day for the BA (TOP-002-4, R4) • Real-time Assessments (RTA) for the RC, TOP and BA (see IRO-008-2 and TOP-001-4) • Real-time monitoring (RTM) for the RC, TOP and BA (see IRO-002-6 and TOP-001-4) | Yes, These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF agrees with the retirement of duplicative operational data exchange requirements or the prohibition from including duplicative items in the data specification as noted above. Rather, evaluate each data/information requirement for its “best fit” location. IRO-010 and TOP-003 should not be the clearing house for all information exchanged between entities. Example: Blackstart Resource information requirements may be a better fit with EOP-005. This would retain the review of Blackstart Resource information requirements with EOP-005 as a whole and negate the need to perform off-cycle reviews and/or revisions to IRO-010 and TOP-003 when changes are made to EOP-005. In this regard, the MRO NSRF recommends another goal of the SAR be to eliminate the risk of double jeopardy on entities where the failure to provide data results in the violation of more than one standard. | Yes, These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF recommends the following language revisions be made to the SAR. • Replace “core BES reliability-related tasks” with “Operational Planning Analyses (OPA), Balancing Authority Operating Plans for the next-day, Real-time Assessments (RTA) and Real-time Monitoring (RTM)” • Modify the bulleted list on page 3 of the SAR as follows: o Operational Planning Analysis (IRO-008-2 and TOP-002-4) o Balancing Authority Operating Plans for the next-day (TOP-002-4, R4) o Real-time Assessments (IRO-008-2 and TOP-001-4) o Real-time Monitoring (IRO-002-5 and TOP-001-4) The following sentences should be stricken from the SAR as overly broad in increasing scope, administrative burden, costs for system enhancements and risk on the providing entity to serve as the watchdog over commercially sensitive information whereas the existing standards, IRO-010-2 and TOP-003-3 already define the relevant functions needing real-time data to develop their Operational Planning Assessments and Operating Plans as the RC, TOP and BA. • Delete - “This may require enhancing the standards to allow any Registered Entity with responsibilities to perform core BES reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks.” (see Purpose or Goal, last sentence, page 2) • Delete - “The revisions should allow any Registered Entity with operational responsibilities to core reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks, while protecting public disclosure of commercially sensitive information.” (see Detailed Description, page 3) Maintain flexibility - As noted in our response to question #1, we agree with the statement in the SAR that “flexibility for differences in operational environments and emerging technology must be maintained.” Therefore, we recommend striking: • Delete - “ …typically provided systematically via SCADA/ICCP or if it should contain other data and methods of transfer such as phone, instant messaging, internet-based systems, etc.” (see Purpose or Goal, first complete paragraph on page 2)
Bobbi | Welch | MRO NERC Standards Review Forum (NSRF) | Yes, “These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF agrees there is an opportunity for efficiency gains as outlined in the SAR. The MRO NSRF recommends the SAR Drafting Team (SDT) retain the existing, mutually agreeable approach outlined in IRO-010 and TOP-003 as we believe this process allows for flexibility. If, as stated on page 1 of the SAR, the standards as written could be viewed as requiring a “zero defect” expectation, then the MRO NSRF supports a Project Scope that would allow standards to be revised to permit entities to set mutually agreeable expectations using a risk-based approach and dispute resolution process to recognize there are times when an entity is unable to meet the obligations. The MRO NSRF recommends the SDT consider a possible merging of IRO-010 with TOP-003. | No, “These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF agrees there is room for improvement; however, we do not support use of core BES reliability-related tasks (RRT) as the way to accomplish this as it could lead to: • Potential conflicts with PER-005-2 (as BES reliability-related tasks is a PER-005-2 concept) • Increased administrative burden to map each data request to a BES RRT, the functional entity(ies) that perform(s) it and the data necessary to perform it. In addition, each data point could be specified multiple times if used for multiple BES RRTs. o The SAR anticipates this will require coordination with pre-qualified organizations to develop Implementation Guidance and/or NERC staff to develop other ERO guidance to simplify the administrative burden. • Decreased flexibility as tasks are currently left up to each entity to define In lieu of BES reliability-related tasks (RRT), the MRO NSRF recommends the scope be revised to focus on data collected or provided in support of: Real-time monitoring (RTM) and Real-time Assessments (RTA) in support of the standards below: • Operational Planning Analysis (OPA) for the RC and TOP (see IRO-008-2, R1 and TOP-002-4, R1) • Operating Plans for the next-day for the BA (TOP-002-4, R4) • Real-time Assessments (RTA) for the RC, TOP and BA (see IRO-008-2 and TOP-001-4) • Real-time monitoring (RTM) for the RC, TOP and BA (see IRO-002-6 and TOP-001-4) | Yes, “These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF agrees with the retirement of duplicative operational data exchange requirements or the prohibition from including duplicative items in the data specification as noted above. Rather, evaluate each data/information requirement for its “best fit” location. IRO-010 and TOP-003 should not be the clearing house for all information exchanged between entities. Example: Blackstart Resource information requirements may be a better fit with EOP-005. This would retain the review of Blackstart Resource information requirements with EOP-005 as a whole andnegate the need to perform off-cycle reviews and/or revisions to IRO-010 and TOP-003 when changes are made to EOP-005. In this regard, the MRO NSRF recommends another goal of the SAR be to eliminate the risk of double jeopardy on entities where the failure to provide data results in the violation of more than one standard. | Yes, “These comments represent the MRO NSRF membership as a whole but would not preclude members from submitting individual comments”. The MRO NSRF recommends the following language revisions be made to the SAR. • Replace “core BES reliability-related tasks” with “Operational Planning Analyses (OPA), Balancing Authority Operating Plans for the next-day, Real-time Assessments (RTA) and Real-time Monitoring (RTM)” • Modify the bulleted list on page 3 of the SAR as follows: o Operational Planning Analysis (IRO-008-2 and TOP-002-4) o Balancing Authority Operating Plans for the next-day (TOP-002-4, R4) o Real-time Assessments (IRO-008-2 and TOP-001-4) o Real-time Monitoring (IRO-002-5 and TOP-001-4) The following sentences should be stricken from the SAR as overly broad in increasing scope, administrative burden, costs for system enhancements and risk on the providing entity to serve as the watchdog over commercially sensitive information whereas the existing standards, IRO-010-2 and TOP-003-3 already define the relevant functions needing real-time data to develop their Operational Planning Assessments and Operating Plans as the RC, TOP and BA. • Delete - “This may require enhancing the standards to allow any Registered Entity with responsibilities to perform core BES reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks.” (see Purpose or Goal, last sentence, page 2) • Delete - “The revisions should allow any Registered Entity with operational responsibilities to core reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks, while protecting public disclosure of commercially sensitive information.” (see Detailed Description, page 3) Maintain flexibility - As noted in our response to question #1, we agree with the statement in the SAR that “flexibility for differences in operational environments and emerging technology must be maintained.” Therefore, we recommend striking: • Delete - “ …typically provided systematically via SCADA/ICCP or if it should contain other data and methods of transfer such as phone, instant messaging, internet-based systems, etc.” (see Purpose or Goal, first complete paragraph on page 2)
Marty | Hostler | Northern California Power Agency | Yes, NCPA concurs with the Transmission Access Policy Study Group comments for this SAR. | Yes, NCPA concurs with the Transmission Access Policy Study Group comments for this SAR. | Yes, NCPA concurs with the Transmission Access Policy Study Group comments for this SAR. | No, However, NCPA Requests NERC provide the following information to others. Comments: BAs and RCs on the current Project 2019-06 Cold Weather SAR Drafting Team insist that current IRO and TOP Standards do not provide them the authority to obtain data they claim they need. NCPA requests NERC Staff provide the Team and potential SAR commenters (via a web posting), with NERC History lesson(s). The NERC citations below are part of TAPS’ response to this SAR. NERC’s Dec 31, 2009 IRO-010-1a petition: “[t]he requirements in the standard specify a formal request as the method for the Reliability Coordinator to explicitly identify the data and information it needs for reliability; and require the entities with the data to provide it as requested. This method is sound because the Reliability Coordinator is the only entity that knows what data it needs to properly perform its reliability tasks, and the most efficient format for accepting this data.” NERC’s April 6, 2020 comments on FERC’s NOPR regarding the Phase 1 SER retirements: “Reliability Standards MOD-032-1, IRO-010-2, and TOP-003-3 provide the entities responsible for the reliable modeling, planning, and operation of the BPS with the authority to obtain the information they need from Generator Owners and Transmission Owners to complete their reliability tasks, which may include next most limiting equipment information. Now that these broader data specification standards are in place, NERC has identified no reliability need to maintain additional requirements expressly requiring the provision of this data in the FAC-008 standard.” Consequently, NERC has already informed FERC and other that the standards it cited give RCs, TOPs, and BAs the authority to get the information they need to carry out their reliability tasks. That is equally the case whether the information at issue is identification of next most limiting equipment, weather-related operational constraints, or real-time operating data. Either some entities forgot or are ignoring history.
Ruida | Shu | NPCC | Yes | No, In lieu of BES reliability-related tasks, we suggest that the scope be revised to focus on data collected or provided in support of: Real-time monitoring (RTM) and Real-time Assessments (RTA) in support of the standards below: • Operational Planning Analysis (OPA) for the RC and TOP (see IRO-008-2, R1 and TOP-002-4, R1) • Operating Plans for the next-day for the BA (see TOP-002-4, R4) • Real-time Assessments (RTA) for the RC, TOP and BA (see IRO-008-2 and TOP-001-4) • Real-time monitoring (RTM) for the RC, TOP and BA (see IRO-002-6 and TOP-001-4) | Yes, The standards IRO-010 and TOP-003 should not be the clearing house for all information exchanged between entities. For example, Blackstart Resource information requirements may be a better fit with EOP-005. This would retain the review of Blackstart Resource information requirements with EOP-005 as a whole and negate the need to perform off-cycle reviews and/or revisions to IRO-010 and TOP-003 when changes are made to EOP-005. | No, The current standards IRO-010-2 and TOP-003-3 already define the relevant functions needing real-time data to develop their Operational Planning Assessments and Operating Plans as the RC, TOP and BA.
Sing | Tay | OG&E | Yes, OGE agrees there is an opportunity for efficiency gains as outlined in the SAR. | No, Refer to comments sent to Chris Larson. | Yes, Refer comments sent to Chris Larson. | Yes, Refer to comments sent to Chris Larson.
Doug | Peterchuck | OPPD | Yes | Yes | Yes | Yes, Review applicable Registered Entity language, specifically if TOP-003 R1 is needed for a TOP. If the requirement is still needed, can language be simplified. Can the administration burden be cleaned up within TOP-003 R3-R5? Can it be simplified?
Scott | Dunwoody | Orange & Rockland Utilities | Yes | Yes | Yes | No
Derek | Book | Platte River Power Authority | Yes | Yes | Yes | No
Tyson | Archie | Platte River Power Authority | Yes | Yes | Yes | No
Matt | Thompson | PRPA | Yes, Yes, but... is there any way to just make changes to the implementation and auditing guidence to lessen the strict nature of the existing IRO-10 and TOP-003 standards, instead of a full blown project to change the standards completely. This would allow the entities to keep manageing their data specifications as they have been, without having to reinvent the wheel with a largely new/reworked standard. | Yes | Yes | No
Anthony | Jablonski | ReliabilityFirst | No, RF does not agree with the SAR language, “As written the standards create a zero-defect expectation for each Registered Entity receiving a data specification to demonstrate perfect performance on every item in the data specification for an entire audit period. Additionally, it is not clear what should be included in a data specification.” RF believes the SDT did not want to prescribe a data specification and wisely left it up to the RC, BA and TOP to decide on what information was needed to perform the various operational assessments. An entity that has an issue with the data specification or it is not clear to them should work with that respective entity to fully understand their obligations. The requirements speak to this with the mutually-agreed upon format, process for resolving data conflicts and security protocols language. Lastly, we do not believe it is an undue burden for an entity to show compliance as they can provide logs or show the compliance monitoring team through a walkthrough or have an attestation from the RC, BA or TOP stating they have received everything they requested. | No, RF believes the language of the Standards now allows great flexibility for the RC, BA and TOP registered entities to develop data specifications detailed to their operational needs. Expectations should be spelled out within those data specifications and all entities should work with their RC, BA, and TOP to fully understand those. | Yes, If this SAR does proceed, of course duplicative requirements should be evaluated to achieve as must consistency as possible across the Standards. | No, RF does not believe a change to the Standards is warranted. RF believes more collaboration between the entities would be more effective.
Joshua | Andersen | Salt River Project | Yes | Yes | Yes | No
Dana | Perry | Sandy Creek Services LLC | Yes | Yes | Yes | Yes
MATTHEW | NUTSCH | SEATTLE CITY LIGHT | Yes | Yes | Yes | No
Patrick | Flynn | Southern Company | Yes | Yes | Yes | No
Marsha | Morgan | Southern Company | Yes | Yes | Yes | No
Paul | Mehlhaff | Sunflower Electric Power Corporation | Yes | Yes | Yes | Yes, It may be helpful to define the term "core."
Jennie | Wike | Tacoma Public Utilities | Yes, Tacoma Power supports the proposed scope for development of a risk-based approach where performance is triggered by an event or unresolved data conflicts between Registered Entities. Tacoma Power concurs there is an opportunity to gain efficiency utilizing this approach. Instead of eliminating or merging existing Standard Requirements, Tacoma Power recommends focusing the scope of the Phase 2 SER on clarifying and refining the expectations for what type of information should be included in the “data specification” currently outlined in IRO-010 and TOP-003. The goal of this clarification is to identify what information is necessary to maintain reliable BES operations and therefore must be retained as records or evidence of compliance, instead of applying a blanket retention to any and all information requested by an entity. This clarification could be documented in an Implementation Guidance document or revisions to the Technical Rationale. | Yes, As noted in a previous comment, Tacoma Power supports clarifying the expectations for what information is necessary for reliable BES operation and therefore, should be documented as part of the “data specification” Standard Requirements. Tacoma Power supports clarification on the following items: 1. What should be retained as evidence of coordination and whether each instance of coordination should be documented. For example, email responses to outside entities, upload confirmations to the RC website, etc. This clarification could be documented in an Implementation Guidance document. 2. Overlap of information requested as part of IRO-010 and other Standards. The goal of this comment is not to limit the information that the RC can request from entities, but to significantly decrease the amount of information/paperwork that has to be retained for compliance. For example, EOP-005-3 R3 requires submission of a System Restoration Plan to the RC for review. However, this information is also currently being requested as part of the IRO-010 Data Request, and as a result, Tacoma Power tracks this submission against two Standards. This same issue happens with EOP-010-1 R1.2 and EOP-011-1 R2 and R3.. Instead of deleting the EOP requirements, we recommend clarifying in IRO-010 that information requested under this Standard should not include data provided by other mechanisms (e.g. EOP-005, EOP-010, and EOP-011 communications). 3. Defining “reliability-related tasks” before consolidating the list of the core tasks. This terminology may have different meanings depending on the perspectives of the various registered functions (TO vs BA vs RC vs PC). The definition used in this efficiency review should also align (or not conflict) with the PER-005 definition of “reliability-related tasks.” No changes are needed to the SAR as a result of these comments – the current scope captures the recommendations provided above. | Yes, Tacoma Power could support the secondary purpose of the SAR (i.e. evaluating removing other data exchange requirements dispersed in other Standards) if any redundancies in Requirements are identified, which is why we answered “yes” to this question. However, Tacoma Power was not able to identify any additional duplications. Any obvious redundancies in Requirements were captured in Phase 1 of the SER. Tacoma Power recommends that the SDT weigh the potential benefits of this effort against the time it will take to surgically remove these requirements from internal processes and procedures. | No
Rachel | Coyne | Texas Reliability Entity Inc. | Texas RE agrees there could be efficiencies gained by clarifying certain actions in the standards. Texas RE is concerned, however, that the SAR drafting teams approach is simply assuming these requirements will be handled by the data specification requirements. There are no obligations for what exactly needs to be in those data specification requirements, nor does the SAR describe that changing that will occur. The Project 2014-03 drafting team stated several times that FERC has made it clear that the assumption cannot be made on something based on other requirements that dictate certain actions. This SAR appears to be assuming that actions will be taken on data based on a data specification in which there are no requirements. | No, Texas RE does not agree that there are only the four reliability-related tasks specified in the SAR. “Core BES reliability-related tasks” are defined in the SAR by only four tasks, all of them operational, and contained only in the eight standards specified. Other reliability-related tasks do exist but do not fit in the four categories described in the SAR. | No, Texas RE is concerned that the requirements being proposed for retirement have to do with conditions that are not part of the OPA and RTA as the data specifications requirements are intended. | Texas RE would like to reiterate its concern with the SAR drafting proposing that only the four reliability-related tasks are necessary for operations. There are several tasks that benefit reliability that do not fit into those categories. Texas RE encourages the SAR drafting team to strongly consider reliability implications when it reviews standards for retirement.
Rebecca | Baldwin | Transmission Access Policy Study Group | Yes, TAPS strongly supports the purpose of this SAR and the development of a risk-based approach to entity compliance. TAPS members are typically on the receiving end of data specifications and currently experience uncertainty on the effort needed to demonstrate compliance with the current zero-defect requirements. While we acknowledge that the ERO has discretion to take a risk-based approach to compliance _monitoring_, registered entities must comply with every applicable Requirement. Under the currently-effective data specification standards, entities that receive data specifications could be expected to demonstrate perfect performance with respect to every item in each data specification. This need to generate and retain evidence to demonstrate perfect compliance can result in excessive administrative inefficiencies for our members. For example, currently, an auditor could request evidence that certain real-time data was sent every 3 seconds on a randomly-selected date during the audit period, or a registered entity could be asked to show voluminous telemetry data demonstrating that no unreported outages occurred. A properly-crafted risk-based approach would significantly reduce the burden on registered entities, while still protecting reliability. | Yes, TAPS members strongly support the proposed “top-down” approach to clarify the tasks in the standards. TAPS members believe the current IRO-010 and TOP-003 standards provide a one-stop source for entities to get the data they need for Operational Planning Analysis, Real-time Assessments, Real-time Monitoring, and Balancing Authority Analysis—the BES reliability-related tasks that drive IRO-010 and TOP-003 data specifications. As NERC said in its petition for approval of (among others) IRO-010-1a, which used the same top-down approach as IRO-010-2 and TOP-003-3: [t]he requirements in the standard specify a formal request as the method for the Reliability Coordinator to explicitly identify the data and information it needs for reliability; and require the entities with the data to provide it as requested. This method is sound because _the Reliability Coordinator is the only entity that knows what data it needs to properly perform its reliability tasks, and the most efficient format for accepting this data_. Docket No. RM10-15, at 35 (Dec. 31, 2009) (emphasis added). Much more recently, NERC stated in its April 6, 2020 comments on FERC’s NOPR regarding the Phase 1 SER retirements (RM19-16 and RM19-17, at 9 (emphasis added)): Reliability Standards MOD-032-1, IRO-010-2, and TOP-003-3 provide the entities responsible for the reliable modeling, planning, and operation of the BPS with the authority to obtain the information they need from Generator Owners and Transmission Owners to complete their reliability tasks, which may include next most limiting equipment information. _Now that these broader data specification standards are in place, NERC has identified no reliability need to maintain additional requirements expressly requiring the provision of this data in the FAC-008 standard_. TAPS agrees with NERC that the standards it cites give RCs, TOPs, and BAs the authority to get the information they need to carry out their reliability tasks. That is equally the case whether the information at issue is identification of next most limiting equipment, weather-related operational constraints, or real-time operating data. We are concerned that much of the history behind the data specification concept is being forgotten; and as a result, drafting teams are reverting to specifying the information that must be provided on a continent-wide basis. This overly-prescriptive approach would result in reliability standards being revised constantly to chase moving targets with every new technology or risk that emerges. These standards can be precise with respect to the information to be requested, or they can be accurate; they cannot be both, and accuracy has to be the priority. The data specification should be flexible enough to evolve with risks and technologies, as well as being flexible enough to apply in the varying operational environments across the continent. TAPS believes that clarification of the scope of the four BES reliability-related tasks identified in the SAR would allow the data specification to simply reflect what each RC, BA or TOP needs to perform those tasks based on its particular operational environment, and that doing so should alleviate the concerns behind recent attempts to add a detrimental amount of specificity to the standards. Based on confusion among stakeholders, it appears that clarification of acceptable types of data (i.e., whatever the requesting entity needs) and formats/methods of transfer (i.e., anything—SCADA/ICCP, telephone, email, etc.—so long as it is mutually agreeable) is also necessary. | Yes, This SAR is a recommendation from the Standards Efficiency Review project and directly supports the overall project goal by identifying “potential candidate requirements that are not essential for reliability, could be simplified or consolidated, and could thereby reduce regulatory obligations and/or compliance burden.” To the extent that the industry determines that requirements dispersed in other standards appropriately fall within the ambit of IRO-010 and/or TOP-003 data specifications, those requirements can be proposed for retirement. | Yes, The drafting team should consider adding a Cost Impact Assessment to the SAR.
Toni | Orth | US Bureau of Reclamation | Yes, Reclamation interprets the proposed scope of this project will shift the administrative burden from entities responding to data specifications to the entities creating the data specifications. Reclamation supports a method by which the request is created with sufficient quality to preclude problems arising from lack of clarity during the response. If the proposal requires the creators of data specifications to tailor the scope of each data specification to each receiving entity and gives the creators the opportunity to state no new information is requested, this will provide an efficiency gain. Reclamation also supports the SAR’s intent to improve efficiencies by clarifying what evidence should be collected to demonstrate compliance, how long it should be retained, and how exceptions should be handled to avoid a “zero defect” environment. Reclamation recommends specific, meaningful Measures be developed for the resulting standards. | Yes, Reclamation supports NERC’s efforts to clarify expectations, so long as requirements are in place to ensure the expectations are properly communicated from the receiving entity to the providing entity. | Yes, As stated in the SAR, when future revisions are made to TOP-001, Reclamation recommends similar requirements be consolidated to reduce the administrative burden of documenting compliance with multiple similar requirements; specifically: • Combine requirements R1 and R2 (requirements to issue Operating Instructions) • Combine requirements R3 and R5 (requirements to comply with Operating Instructions) • Combine requirements R4 and R6 (requirements to inform of inability to comply with Operating Instructions) • Combine requirements R16 and R17 (requirements to provide System Operators the authority to approve planned outages, etc.) • Combine requirements R19, R20, R22, and R23 (requirements to have data exchange capabilities) • Combine requirements R21 and R24 (requirements for data exchange testing) | Yes, Reclamation recommends the following grammatical changes to the “Requested Information” section of the SAR. Change from: The project will at a minimum require revisions to IRO-010-2, TOP-003-3 and associated definitions in the NERC Glossary to clarify expectations for the “data specification” and associated core BES reliability-related tasks. The revisions should allow any Registered Entity with operational responsibilities to core reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks, while protecting public disclosure of commercially sensitive information. The core BES reliability-related tasks and associated standards are listed below. • Operational Planning Analysis (IRO-008-2 and TOP-002-4) • Real-time Assessments (IRO-008-2 and TOP-001-4) • Real-time Monitoring (IRO-002-5 and TOP-001-4) • Balancing Authority Analysis Functions (BAL-001-2, BAL-002-3, BAL-003-1.1 and BAL-005-1) This may necessitate revisions to the standards included above and any other standard or definition identified by the drafting team during the project as necessary to achieve the purpose of this project. The drafting team should also coordinate with pre-qualified organizations to develop Implementation Guidance and/or NERC staff to develop other ERO guidance to simplify the administrative burden. Once those activities are clarified, the drafting should also evaluate and if necessary, revise other operational data exchange requirements dispersed in other standards including the following: to: The project will, at a minimum, require revisions to IRO-010-2, TOP-003-3, and associated definitions in the NERC Glossary to clarify expectations for the “data specification” and associated core BES reliability-related tasks. The revisions should allow any Registered Entity with operational responsibilities for core reliability-related tasks the ability to request and receive any information it needs from any other Registered Entity to perform those tasks, while protecting public disclosure of commercially sensitive information. The core BES reliability-related tasks and associated standards are listed below. • Operational Planning Analysis (IRO-008-2 and TOP-002-4) • Real-time Assessments (IRO-008-2 and TOP-001-4) • Real-time Monitoring (IRO-002-5 and TOP-001-4) • Balancing Authority Analysis Functions (BAL-001-2, BAL-002-3, BAL-003-1.1 and BAL-005-1) This may necessitate revisions to the standards included above and any other standard or definition identified by the drafting team during the project as necessary to achieve the purpose of this project. The drafting team should also coordinate with pre-qualified organizations to develop Implementation Guidance and/or NERC staff to develop other ERO guidance to simplify the administrative burden. Once those activities are clarified, the drafting team should also evaluate and, if necessary, revise other operational data exchange requirements in other standards including the following…
Emily | Schneider | Valley Electric Association, Inc. | Yes, At this point, IRO-010/TOP-003 could not be less efficient. | Yes, I don't think entities should be allowed to issue data specifications under these standards. Data specifications can be issued generally within the scope of the BA-TOP, RC-BA, RC-GOP, etc. relationship. This standard should be reserved for a specific data request for a single item (or two or three) with a deadline. That is something that is auditable. And, of course, if an RC isn't getting the information from a BA, it can then issue an IRO-010 request. But the administrative burden of trying to track and comply with vague data specifications issued by 6-7 other entities is ridiculous. | Yes | No
kim | moulton | VT Transco LLC | Yes | Yes | Yes | No