## 2_4_16_draft working document
| SPCS Posted Documents with Feedback noted | [7 empty] | Hyperlinks on the NERC SPCS site: | Concensus from comments | agree with Bob? | Bob's follow-up thoughts
Comment
SPCS Posted | Archive or Move | Update | Leave As Reference | File Type | Size | Date | Description
Backup Protection
|  |  | X | Acrobat | 434 KB | 2012-01-10 | Transmission System Phase Backup Protection | Reliability Guideline | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SPCS_Backup%20Protection%20Systems_approved_by_PC.pdf | Agree, leave as reference | YES see line 72
|  | Move to Backup Protection | X | Acrobat | 103 KB | 2005-08-22 | Rationale for the Use of Local and Remote (Zone 3) Protective Relaying Backup Systems - A Report on the Implications and Uses of Zone 3 Relays (February 2, 2005) | Report | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Zone3Final.pdf | Most of this is covered/ repeated in the one above: Little continued value: Archive | NO
Relay Loadability
|  |  | X | Acrobat | 119 KB | 2007-02-06 | Beyond Zone 3- EHV Report |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Beyond_Zone_3-EHV_Report.pdf | This is long superceded by PRC-023. It is historical only. Archive | NO
|  |  | X | Acrobat | 290 KB | 2006-06-12 | Methods to Increase Line Relay Loadability (June 2006) | Technical Document | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Methods_to_Increase_Line_Relay_Loadability_6-7-06_(2).pdf | Agree leave as reference | YES
|  |  | X | Acrobat | 87 KB | 2006-06-12 | Switch-on-to-Fault Schemes in the Context of Line Relay Loadability (June 2006) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SOTF_Tech_Doc_6-07-06_(2).pdf | Agree leave as reference | YES
|  |  | X | Acrobat | 366 KB | 2005-12-13 | Increase Line Loadability by Enabling Load Encroachment Functions of Digital Relays (December 2005) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Load%20Encroachment%20Final%2012-7-05.pdf | Agree leave as reference | YES
|  |  | X | Acrobat | 366 KB | 2005-08-19 | Relay Loadability Exceptions - Determination and Application of Practical Relaying Loadability Ratings (August 2005) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/ExceptionsV1.pdf | Agree leave as reference | YES
|  |  | X | Acrobat | 365 KB | 2005-08-19 | Protection System Review Program - Beyond Zone 3 (August 2005) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Beyondz3-8-12-05.pdf | This is long superceded by PRC-023. It is historical only. Archive | NO
|  |  | X | Acrobat | 125 KB | 2005-08-19 | EHV Transmission System Relay Loadability Review and Requests for Temporary and Technical Exceptions (August 2005) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Zone%203.pdf | This is long superceded by PRC-023. It is historical only. Archive | NO
| X |  |  | Acrobat | 17 KB | 2005-08-19 | Operationally Significant Circuits (August 2005) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/OperationallySignificantCircuits.pdf | This is long superceded by PRC-023. It is historical only. Archive | YES
| X |  |  | Excel | 58 KB | 2006-04-28 | Relay Review Reporting Forms Revised (April 2006) | No reference |  | This is long superceded by PRC-023. It is historical only. Archive | YES
| X | Version 1 |  | Acrobat | 265 KB | 2004-11-19 | Relay Loadability Exceptions Document (November 2004) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Exceptions-Doc-V1-11.pdf | Still pertinent and a good reference document for PRC-023. It could perhaps be reviewed to see if all of it still applies to PRC-023 but most probably does. | NO
|  |  |  | Excel | 265 KB | 2004-11-19 | Summary of Relay Reviews Document (November 2004) | No reference | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Relay-Review-Reporting-Form11-18-04.xls | Delete | ??
| X |  |  | Acrobat | 397 KB | 2004-09-29 | Relay Loadability Exceptions Interim Document | NERC letter to Tos | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Relay-Loadability-Exceptions.pdf | obsoleted by Standard since it is included as the criteria: Agree Archive | YES
| X |  |  | Acrobat | 83 KB | 2004-07-26 | System Protection and Control Task Force's Initial Recommendations Concerning NERC Recommendation 8A Loadability Requirements on Transmission Protective Relaying Systems. | NERC letter to Tosadopted the letter below as policy | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SPCTF%20R_cs_on_8A_7-20-04.pdf | obsoleted by Standard since it is included as the criteria: Agree Archive | YES
|  |  | X | Acrobat | 43 KB | 2004-06-22 | Clarification of the Transmission Line Emergency Ampere Rating to be used to Determine Compliance with Loadability Requirements for Zone 3 Relays (Blackout Recommendation 8a) | Letter from SPCS Chair: | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Clarification1.pdf | obsoleted by Standard since it is included as the criteria: Archive | NO
| Move to Relay Loadabiliity |  | x |  |  | 2013-10-15 | Protection System Response to Power Swings - August 2013 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/SPCS%20Power%20Swing%20Report_Final_20131015.pdf | Agree leave as reference | YES
References
|  |  | X | Acrobat | 1467 KB | 2004-09-17 | Analytical Development of Loadability Characteristics for EHV and UHV Transmission Lines |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Analytical_Development_of_Loadability_Characteristics.pdf | This was just reference material showing that the thermal rating of a line is not always the limiting factor for a Tline rating. It provided reasoning of why we need some of the technical exceptions. I guess it is sort of part of the PRC-023 library. It seems like good reference material to me. Copy of IEEE Transactions? Applicable and or legal to post? Delete or Archive | Yes but copyright?
|  |  | X | Acrobat | 756 KB | 2004-09-17 | Application of Line Loadability Concepts to Operating Studies |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Application_of_Line_Loadability_IEEE.pdf | This was just reference material showing that the thermal rating of a line is not always the limiting factor for a Tline rating. It provided reasoning of why we need some of the technical exceptions. I guess it is sort of part of the PRC-023 library. It seems like good reference material to me. Copy of IEEE Transactions? Applicable and or legal to post? Delete or Archive | Yes but copyright?
|  |  | X | Acrobat | 719 KB | 2004-09-17 | EHV and UHV Line Loadability Dependence on VAR Supply Capability |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/EHV_and_UHV_Line_Loadability.pdf | This was just reference material showing that the thermal rating of a line is not always the limiting factor for a Tline rating. It provided reasoning of why we need some of the technical exceptions. I guess it is sort of part of the PRC-023 library. Archive? Copy of IEEE Transactions? Applicable and or legal to post? Delete or Archive | Yes but copyright?
| X |  |  | Acrobat | 6,947 KB | 2004-09-17 | U.S. - Canada Power System Outage Task Force Full Final Report |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Full_Final_Report.pdf | Agree Archive. This is one of the 2003 Blackout Reports which I'm sure is available on the NERC website in the event analysis section. Recommendations in this report led to PRC-023 creation. It is reference material but is likely readily available elsewhere. | YES
| X |  |  | Acrobat | 78 KB | 2004-09-17 | NERC Actions to Prevent and Mitigate the Impacts of Future Cascading Blackouts (2-10-04) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/NERC_Recommendations_2-10-04.pdf | Agree Archive. This is one of the 2003 Blackout Reports which I'm sure is available on the NERC website in the event analysis section. Recommendations in this report led to PRC-023 creation. It is reference material but is likely readily available elsew | YES
|  |  | X | Acrobat | 1,092 KB | 2004-09-17 | Practical Concepts in Capability and Performance of Transmission Lines |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Practical_Concepts_in_Capability_and_Performance.pdf | This was just reference material showing that the thermal rating of a line is not always the limiting factor for a Tline rating. It provided reasoning of why we need some of the technical exceptions. I guess it is sort of part of the PRC-023 library. It seems like good reference material to me. Copy of some pages from a book? Applicable and or legal to post? Delete or Archive | Yes but copyright?
Autoreclosing
|  |  | X | Acrobat | 1,193 KB | 2010-02-09 | Advantages and Disadvantages of EHV Automatic Reclosing - Technical Reference Document |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SPCS_AutoReclosing_Final_20091209.pdf | Agree leave as reference | YES
Protection System Coordination
| Move under Protection System Coordination | Living Document - Version 2 | X |  |  | 2015-07-30 | Considerations for Power Plant and Transmission System Protection Technical Reference Document – Revision 2 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/SPCS%20Gen%20Prot%20Coordination%20Technical%20Reference%20Document.pdf | Agree leave as reference | YES
| Archive in Section | Version 1 - Living Document | X | Acrobat | 1,584 KB | 2010-08-02 | Power Plant and Transmission System Protection Coordination - Technical Reference Document |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SPCS_AutoReclosing_Final_20091209.pdf | Superceded by above. Archive | NO
| Move under Protection Coordination |  | X | Acrobat | 835 KB | 2010-04-23 | Protection Coordination Workshop Session 7 - Reverse Power (32), Negative Sequence Current (46), Inadvertent Energizing (50/27), Stator Ground Fault (59GN/27TH), Generator Differential (87G), Transformer Differential (87T), and Overall Differential (87U) Protection - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%207_Device%2032%2046%20et%20al_20100317.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 817 KB | 2010-04-23 | Protection Coordination Workshop Session 6 - GSU Phase Overcurrent (51T), GSU Ground Overcurrent (51TG), and Breaker Failure (50BF) Protection - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%206_Device%2051T%2051TG%2050BF_20100317.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 894 KB | 2010-04-15 | Protection Coordination Workshop Session 5 - Volts Per Hertz (24), Undervoltage (27), Overvoltage (59), and Under/Overfrequency (81) Protection - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%205_Device%2024%2027%2059%2081_%2020100317.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 1,039 KB | 2010-04-15 | Protection Coordination Workshop Session 4 - Loss-of-Out-of-of Field (40) and Out of Step Protection (78) - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%204_Device%2040%20and%2078_20100317.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 861 KB | 2010-04-15 | Protection Coordination Workshop Session 3 - Phase Distance (21) and Voltage Voltage-Voltage-Controlled or Voltage Restrained Overcurrent Protection (51V) - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%203_Device%2021%20and%2051V_20100317.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 1,182 KB | 2010-04-15 | Protection Coordination Workshop Session 2 - Power Plant and Transmission System Protection Fundamentals - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%202_Protection%20Fundamentals_20100317.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 833 KB | 2010-04-15 | Protection Coordination Workshop Session 1 - Technical Reference Document - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%201_Protection%20Coordination%20Overview_20100317.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 642 KB | 2010-04-15 | Protection Coordination Workshop - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Phoenix%20Prot%20Coord%20Workshop_Session%200_Cummings%20Welcome.pdf | Agree leave as reference | YES
| Move under Protection Coordination |  | X | Acrobat | 103 KB | 2010-01-28 | Agenda: Power Plant and Transmission System Protection Coordination Workshop - March 17-18, 2010 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Generator_Protection_Coordination_Workshop_Agenda.pdf | Agree leave as reference | YES
Duplicate of line 114 | Copy under Protection Coordination |  | X | Acrobat | 250 KB | 2004-09-17 | NERC SPCTF Presentation to the EPRI Protection Coordination Workshop (Oakland, CA 1/25/04) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Agree leave as reference | YES
| Delete | [5 empty] | Attachments for December 8-9, 2009 Planning Committee Agenda |  | http://www.nerc.com/comm/PC/Pages/Agendas-Highlights-and-Minutes.aspx |  | YES
| Delete |  |  | Acrobat | 1,901 KB | 2009-11-25 | Attach. 1 - A Technical Reference Document: Power Plant and Transmission System Protection Coordination (clean) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Att.%201%20Draft%206.9%20Gen%20Prot%20Coord%2011-19-09%20clean.pdf | Agree Delete | YES
| Delete |  |  | Acrobat | 2,207 KB | 2009-11-25 | Attach. 2 - A Technical Reference Document: Power Plant and Transmission System Protection Coordination (redline) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Att.%202%20Draft%206.9%20Gen%20Prot%20Coord%2011-19-09%20redline%20to%20Draft%206.5.pdf | Agree Delete | YES
| Delete |  |  | Acrobat | 356 KB | 2009-11-25 | Attach. 3 - Comments by FE on draft 6.5 of Att. 2 and SPCS responses |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Att.%203,%20pt%201%20Response%20to%20FE%20Comments%20on%20Gen%20Coord%20Document_20091119.pdf | Agree Delete | YES
| Delete |  |  | Acrobat | 283 KB | 2009-11-25 | Attach. 3 - Comments by ATC on draft 6.5 of Att. 2 and SPCS responses |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Att.%203,%20pt%202%20Response%20to%20ATC%20Comments%20on%20Gen%20Coord%20Document_20091119.pdf | Agree Delete | YES
|  |  | X | Acrobat | 558 KB | 2006-10-30 | The Complexity of Protecting Three-Terminal Transmission Lines (September 2006) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SPCTF-3TerminalLines091906.pdf | Agree leave as Reference | YES
| X |  |  | Acrobat | 50 KB | 2007-06-25 | NERC SPCTF Assessment of Standard PRC-001-0- System Protection Coordination |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Supplemental_Report_on_PRC-001_Approved_by_PC_2.pdf | Agree Archive | YES
| X |  |  | Acrobat | 147 KB | 2007-06-22 | Standard Authorization Request Form for Standard PRC-001-1 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC_001_SAR_Form_3_15_07_2.pdf | Agree Archive | YES
| X |  |  | Acrobat | 77 KB | 2007-06-18 | NERC SPCTF Assessment of Standard PRC-001-0 - System Protection Coordination |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC_001_Report_approved_by_PC_2.pdf | Agree Archive | YES
Protection System Reliability
|  |  | X | Acrobat | 1,151 KB | 2009-01-14 | Technical Paper - Protection System Reliability - Redundancy of Protection System Elements |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Redundancy_Tech_Ref_1-14-09.pdf | Agree leave as Reference | YES
| Move to Protection System Reliability |  | X |  |  | 2015-10-20 | FERC Order No. 754 - Assessment of Protection System Single Points of Failure Based n the Section 1600 Data Request |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/FERC%20Order%20754%20Final%20Report%20-%20SPCS-SAMS.pdf | Agree leave as Reference | YES
|  |  |  | Relay Maintenance | [5 empty] | Combine this section with the Protection System Maintenance Section
|  |  | X | Acrobat | 279 KB | 2007-10-29 | Relay Maintenance Technical Reference |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Relay_Maintenance_Tech_Ref_approved_by_PC.pdf | Great document but some content conflicts with what was done in the Standard? As such Reference or Archive? | ??
| Move to Protection System Maintenance |  | X |  |  | 2014-07-21 | Considerations for Maintenance and Testing of Autoreclosing Schemes - SPCS & SAMS |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/SAMS-SPCS_Order%20758%20Autoreclosing%20Report_Final.pdf | Great document but some content conflicts with what was done in the Standard? As such Reference or Archive? | ??
Breaker Failure Protection
|  |  | X | Acrobat | 251 KB | 2012-01-10 | Use of Circuit Breaker Position Indication in Breaker Failure Protection (Approved by the Planning Committee) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SPCS_Breaker_Failure_Design_approved_by_PC.pdf | Agree leave as Reference | YES
Reliability Fundamentals
|  |  | X | Acrobat | 432 KB | 2011-06-01 | Reliability Guideline: Transmission System Phase Backup Protection |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/SPCS_Backup%20Protection%20Systems_approved_by_PC.pdf | Agree leave as Reference. I think this is the same document as in row 5. It's in the spreadsheet twice. | DELETE SEE line 5
|  | X | X | Acrobat | 223 KB | 2011-01-03 | Reliability Fundamentals of System Protection |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Protection%20System%20Reliability%20Fundamentals_Approved_20101208.pdf | Agree leave as Reference | YES
Standards Support
| Archive under standards support |  |  | Acrobat | 234 KB | 2006-01-13 | Working Paper on a Proposed Transmission Relay Loadability Standard (December 2005) |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Working%20paper%20relay%20loadability%20standard%201-9-06.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
Protection System Misoperations
| X |  |  | Acrobat | 233 KB | 2010-08-17 | SPCS Report on Reliability Standards PRC-003, PRC-004, and PRC-016 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC-003-004-016%20Report.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
Protection System Maintenance
| X |  |  | Acrobat | 75 KB | 2007-06-25 | NERC SPCTF Supplemental Assessment Addressing FERC Order 693 Relative to: PRC-005-1, PRC-008-0, PRC-011-0, and PRC-017-0 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC-003-004-016%20Report.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
| X |  |  | Acrobat | 90 KB | 2007-06-20 | Standard Authorization Request Form for Standards PRC-005-1, PRC-008-0, PRC-011-0, and PRC-017-0 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Maintenance_Standard_Consolidation_SAR_2.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
| X |  |  | Acrobat | 83 KB | 2007-06-18 | NERC SPCTF Assessment of Standards PRC-005-1, PRC-008-0, PRC-011-0, and PRC-017-0 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC-005-008-011-017_Report_Approved_by_PC_2.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
UFLS
|  |  | X | Acrobat | 71 KB | 2007-07-05 | NERC SPCTF Supplemental Assessment Addressing FERC Order 693 Relative to: PRC-006-0, PRC-007-0, and PRC-009-0 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/Supplemental_Report_on_PRC-006-007-009_Approved_by_PC(2).pdf | Agree to Reference, but so dated it could be deleted? | YES but just delete?
[7 empty] | Report on UFLS regional paractices? TIS |  | http://www.nerc.com/docs/docs/pubs/TIS_Reactive_Recom7a_BOTapprvd_050305.pdf |  | ?????
| X |  |  | Acrobat | 99 KB | 2007-06-20 | NERC SPCTF Assessment of Standards PRC-006-0, PRC-007-0, and PRC-009-0 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC_006_007_009_Report_Approved_by_PC_2.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
UVLS
| X |  |  | Acrobat | 275 KB | 2011-01-03 | NERC SPCS Technical Review of UVLS-Related Standards: PRC-010-0, PRC-020-1, PRC-021-1, and PRC-022-1 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC-010_022%20Report_Approved_20101208.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
| X |  |  | Acrobat | 76 KB | 2007-06-25 | NERC SPCTF Assessment of Standard PRC-010-0- Assessment of the Design and Effectiveness of UVLS Program |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%20DL/PRC_010_Report_Approved_by_PC_2.pdf | Agree to Archive, but so dated it could be deleted? | YES but just delete?
Workshops and Webinars
|  |  | X | Acrobat | 169 KB | 2006-10-24 | NERC SPCTF Presentation to the NERC Standards Seminar (Dallas, TX 10/20/2006) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | If found Archive | NO
| Move to SPCS Page - General Presentations |  |  | Acrobat | 100 KB | 2006-03-17 | NERC SPCTF Presentation to the NERC Planning Committee (Mesa, AZ 03/15-16/2006) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | If found Archive | NO
|  |  |  | General Presentations - 2005 | [5 empty] | I think all such presentations should be Archived because they likely have conflicting information during the developement process.
|  |  | X??? | Acrobat | 259 KB | 2005-08-22 | EHV Transmission System Relay Loadability Review presentation to the NERC Stakeholders Committee (8/1/2005) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
|  |  | X | Acrobat | 188 KB | 2005-08-22 | NERC SPCTF Presentation to the Southeastern Electric Exchange (Baltimore, MD 7/1/2005) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
|  |  | X | Acrobat | 149 KB | 2005-08-22 | NERC SPCTF Presentation to the CAPE Users Group (Ypsilanti, MI 6/21/2005) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
| Move to SPCS Page - General Presentations |  |  | Acrobat | 102 KB | 2005-08-22 | NERC SPCTF Presentation to the NERC Planning Committee (Montreal, Quebec, Canada 6/8/2005) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
|  |  | X | Acrobat | 784 KB | 2005-05-25 | NERC SPCTF Presentation to Georgia Tech (4/28/2005) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
|  |  | X | Acrobat | 788 KB | 2005-05-25 | NERC SPCTF Presentation to Texas A&M (4/6/2005) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
| Move to SPCS Page - General Presentations |  |  | Acrobat | 253 KB | 2005-05-25 | NERC SPCTF Presentation to the Planning Committee (Long Beach, CA 03/16-17/2005) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
|  |  |  | General Presentations - 2004 | [6 empty] | NO
|  |  |  | Acrobat | 179 KB | 2004-11-15 | NERC SPCTF Presentation to the Planning Committee (Kansas City, MO 11/9/2004) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
| General Presentations |  | X | Acrobat | 334 KB | 2005-05-25 | NERC SPCTF Presentation to Western Protective Relay Conference (10/20/2004) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
| Move to SPCS Page - General Presentations |  |  | Acrobat | 99 KB | 2004-11-15 | NERC SPCTF Presentation to the Planning Committee (Vancouver, BC 07/20-21/2004) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
|  |  | X | Acrobat | 250 KB | 2004-10-13 | NERC SPCTF Presentation to EEI (Minneapolis, MN 10/11/2004) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
| Move to SPCS Page - General Presentations |  |  | Acrobat | 250 KB | 2004-09-17 | NERC SPCTF Presentation to the IEEE PSRC (Portland, OR 9/15/2004) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
| Copy under Protection Coordination |  | X | Acrobat | 250 KB | 2004-09-17 | NERC SPCTF Presentation to the EPRI Protection Coordination Workshop (Oakland, CA 1/25/04) |  | http://www.nerc.com/comm/PC/Pages/System%20Protection%20and%20Control%20Subcommittee%20(SPCS)/Presentations.aspx | Archive | NO
Other Documents
| New section on RAS |  | X |  |  | 2014-01-22 | Special Protection Systems (SPS) and Remedial Action Schemes (RAS): Assessment of Definition, Regional Practices, and Application of Related Standards |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/SAMS-SPCS_SPS_Technical_Reference_Final_Rev0_1.pdf | Agree leave as reference, but no need for a new section, Yet … | YES
| Replace with Current Scope on SPCS Site | X |  |  |  | 2013-09-25 | SPCS Scope - PC Approved December 14, 2011 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/Scope_SPCS_corrected_20130925%20(2).pdf | Agree to Archive, but so dated it could be deleted? | YES but delete?
| New section on Protection System Commissioning |  | X |  |  | 2013-05-20 | SPCS Commissioning Testing Response_Final |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/SPCS%20Commissioning%20Testing%20Response_Final.pdf | The only thing I could see updating on this document would be if the IEEE PSRC created/finished a commissioning testing document. This would show that all of the items suggested by SPCS are finished. I'm not really sure if this is even necessary. Agree to leave as reference. | Yes
| Replace with Current roster on SPCS Site | X |  |  |  | 2013-05-19 | SPCS Roster 2013-05-17 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/SPCS%20Roster%202013-05-17.pdf | Agree to Archive, but it could be deleted since we haven'e kept all past Rosters? | YES but delete?
| Move to Protection System Maintenance |  |  |  |  | 2013-09-06 | Sudden Pressure Relay and Other Devices that Respond to Non-Electrical Quantities - SPCS Input for Standard Development in Response to FERC Order No. 758 |  | http://www.nerc.com/comm/PC/System%20Protection%20and%20Control%20Subcommittee%20SPCS%2020/SPCS_Order%20758%20Sudden%20Pressure%20Report_Final.pdf | Agree to move: Reference or archive? The standard didn't follow all of the recommendations? | Archive